## Daily Gen
Hourly Generation & Demand
Date: | 2017-04-14
Time | Generation | Demand | Loadshed | Remarks
Hour | MW | MW | MW
1:00 | 8451 | 8451 | 0
2:00 | 8190 | 8190 | 0
3:00 | 8024 | 8024 | 0
4:00 | 7775 | 7775 | 0
5:00 | 7628 | 7628 | 0
6:00 | 7107 | 7107 | 0
7:00 | 6713 | 6713 | 0
8:00 | 6596 | 6596 | 0
9:00 | 6606 | 6606 | 0
10:00 | 6608 | 6608 | 0
11:00 | 6706 | 6706 | 0
12:00 | 6916 | 6916 | 0 | Day peak
13:00 | 6977 | 6977 | 0
14:00 | 6926 | 6926 | 0
15:00 | 7247 | 7247 | 0
16:00 | 6946 | 6946 | 0
17:00 | 6685 | 6685 | 0
18:00 | 6623 | 6623 | 0
18:30 | 0 | 0 | 0
19:00 | 7943 | 7943 | 0
19:30 | 8188 | 8188 | 0
20:00 | 8204 | 8204 | 0
21:00 | 8406 | 8406 | 0 | Evening peak
22:00 | 8415 | 8415 | 0
23:00 | 8440 | 8440 | 0
24:00 | 8264 | 8264 | 0

## forecast
[5 empty] | Power Grid Company of Bangladesh Ltd. | [10 empty] | QF-LDC-07
|  |  | Report on forecasted generation & Demand of national grid on | [7 empty] | 2017-04-15 | Saturday
|  | Date (day): | 2017-04-15 |  | Saturday
| Probable Maximum |  | Generation : |  | (a) At Day Peak Hour : | 8643 | MW |  |  | (b) At Evening Peak Hour : |  | 9573 | MW
Sl. No. | Name of the Power Stations |  | Fuel | Producer | Installed Capacity |  | Present Capacity | Actual Generation |  | Forecasted Available Gen. on |  | Ev. Peak Gen.Shortage |  | Plants under |  | Probable
[8 empty] | On | 2017-04-14 | 2017-04-15 | during | for Fuel | for plant. S/D | Shut down (date)/ |  | Start up
[8 empty] | Day Peak | Ev. Peak | Day Peak | Ev. Peak | Limitation | M/C Problem | Remarks |  | Date
[5 empty] | Nos. of Unit X Capacity (MW) | MW | MW | MW | MW | MW | MW | MW | MW
1 | a) Ghorasal ST: Unit-1, 2 |  | Gas | PDB | 2*55 | 110 | 85 | 38 | 38 | 38 | 38 |  | 47 | # 1 under maint.
| b) Ghorasal ST: Unit-3 |  | Gas | PDB | 1*210 | 210 | 170 | 0 | 0 | 0 | 0 |  |  | Under maint.
| c) Ghorasal ST: Unit-4 |  | Gas | PDB | 1*210 | 210 | 180 | 190 | 190 | 190 | 190
| d) Ghorasal ST: Unit-5 |  | Gas | PDB | 1*210 | 210 | 190 | 0 | 0 | 0 | 0 |  | 190 | 2016-01-10 |  | Long term maint.
| e) Ghorasal ST: Unit-6 |  | Gas | PDB | 1*210 | 210 | 190 | 0 | 0 | 0 | 0 |  | 190 | #6(18/07/10)(18/07/10) |  | Long term maint.
2 | Ghorashal 100MW(Aggreko) |  | Gas | QRPP | 128*0.85 | 100 | 100 | 98 | 98 | 85 | 100
3 | Ghorashal 45MW (Aggreko) |  | Gas | QRPP | 58*0.85 | 45 | 45 | 43 | 44 | 45 | 45
4 | Ghorashal 78.5MW (MAX) |  | Gas | QRPP | 4*21.5 | 78 | 78 | 30 | 73 | 72 | 72
5 | Ghorashal (Regent) |  | Gas | IPP | 34*3.35 | 108 | 108 | 85 | 91 | 94 | 90 |  | 17 | Engine problem
6 | Haripur GT: Unit-1, 2 |  | Gas | PDB | 2*32 | 64 | 40 | 40 | 40 | 40 | 40
7 | Haripur 412 MW CCPP |  | Gas | EGCB | 1*273+1*139 | 412 | 412 | 380 | 395 | 410 | 412
8 | Haripur NEPC (HFO) |  | HFO | IPP | 8*15 | 110 | 110 | 0 | 0 | 110 | 110
9 | Haripur Power CCPP |  | Gas | IPP | 1*235+1*125 | 360 | 360 | 345 | 348 | 356 | 360 | 12
10 | Meghnaghat CCPP |  | Gas | IPP | 2*150+1*150 | 450 | 450 | 425 | 420 | 450 | 450
11 | Meghnaghat (IEL) |  | HFO | RPP | 12*8.9 | 100 | 100 | 7 | 42 | 90 | 100
12 | Meghnaghat CCPP(Summit) |  | HSD | IPP | 2*110+1*110 | 305 | 305 | 240 | 250 | 305 | 305
13 | Madanganj (Summit) |  | HFO | QRPP | 6*17 | 102 | 100 | 48 | 64 | 96 | 100
14 | Madanganj-55 MW |  | HFO | IPP | 5*17.08+1*11.3 | 55 | 55 | 15 | 30 | 55 | 55
15 | Keraniganj (Powerpac) |  | HFO | RPP | 8*13.45 | 100 | 100 | 34 | 50 | 93 | 93 |  | 50 | Engine problem
16 | Narshingdi (Doreen) |  | Gas | SIPP,REB | 8*2.90 | 22 | 22 | 19 | 22 | 19 | 22
17 | Siddhirgonj ST |  | Gas | PDB | 1*210 | 210 | 150 | 0 | 0 | 0 | 0
18 | Siddhirgonj GT: Unit-1& 2 |  | Gas | EGCB | 2*105 | 210 | 210 | 0 | 97 | 0 | 0 | 113 |  | Gas shortage
19 | Siddhirganj (Desh) |  | HSD | QRPP | 96*1.2 | 100 | 100 | 0 | 0 | 100 | 100
20 | Siddhirganj (Dutch Bangla) |  | HFO | RPP | 12*8.9 | 100 | 100 | 50 | 80 | 86 | 92
| Siddhirganj CCPP-335 MW |  | Gas | EGCB |  |  |  | 0 | 0 | 0 | 0 |  |  | On test
21 | Pagla (DPA ) |  | HSD | QRPP | 100*0.5 | 50 | 50 | 0 | 0 | 50 | 50
22 | Gagnagar (Orion) |  | HFO | IPP | 12*8.924 | 102 | 102 | 24 | 102 | 102 | 102
23 | Katpotti 51 MW |  | HFO | IPP | 7*7.9 | 51 | 51 | 12 | 0 | 42 | 42 |  | 51 | Engine problem
24 | Kodda Peaking |  | HFO | BPDB-RPCL | 9*17.06 | 149 | 149 | 50 | 63 | 149 | 149
25 | Northern 55 MW |  | HFO | RPP |  | 55 | 55 | 18 | 56 | 56 | 55
26 | Southern Power |  | HFO | RPP | 3*19.3 | 55 | 55 | 17 | 55 | 55 | 55
27 | CLCPC Keranigonj 108 MW |  | HFO | IPP | 12*8.924 | 108 | 108 | 16 | 32 | 104 | 104
28 | Summit Power,(Madhabdi+Ashulia) |  | Gas | SIPP,REB | 6*3.67+7*8.73 | 80 | 80 | 47 | 51 | 57 | 58 |  | 29 | Engine problem
29 | Summit Power, Maona |  | Gas | SIPP,REB | 4*8.73 | 33 | 33 | 33 | 33 | 33 | 33
30 | Summit Power, Rupganj |  | Gas | SIPP,REB | 4*8.74 | 33 | 33 | 25 | 30 | 30 | 33
31 | Gazipur (RPCL) |  | HFO | IPP | 6*8.9 | 52 | 52 | 42 | 42 | 34 | 43 |  | 10 | Engine problem
32 | Tongi GT |  | Gas | PDB | 1* 105 | 105 | 105 | 0 | 0 | 0 | 0 | 105 |  | Gas shortage
| Dhaka Area Total |  |  |  |  | 4854 | 4633 | 2371 | 2836 | 3446 | 3498 | 230 | 584
33 | a) Chittagong ST: Unit-1 |  | Gas | PDB | 1*210 | 210 | 180 | 0 | 0 | 0 | 0 | 180 |  | Gas shortage
| b) Chittagong ST: Unit-2 |  | Gas | PDB | 1*210 | 210 | 180 | 0 | 0 | 0 | 0 |  | 180 | Under maint.
34 | Raozan 25 MW (RPCL) |  | HFO | IPP | 3*8.9 | 25 | 25 | 26 | 26 | 25 | 25
35 | Patenga 50MW (Barakatullah) |  | HFO | IPP | 8*6.984 | 50 | 50 | 0 | 0 | 29 | 30 |  | 50 | Transformer problem
36 | Kaptai Hydro: Unit-1,2,3,4, 5 |  | Hydro | PDB | 2*40, 3*50 | 230 | 230 | 87 | 124 | 123 | 108 |  | 100 | Unit-2 & 5 Under maint.
37 | Sikalbaha ST |  | Gas | PDB | 1*60 | 60 | 40 | 0 | 0 | 0 | 0 | 40 |  | Gas shortage
| Sikalbaha 225 MW |  | Gas | PDB |  |  |  | 0 | 0 | 0 | 0 |  |  | On test
38 | Sikalbaha Peaking GT |  | Gas | PDB | 1*150 | 150 | 150 | 95 | 117 | 101 | 116 | 33 |  | Gas shortage
39 | Sikalbaha (Energis) |  | HFO | RPP | 4*12.5+2*11.9+1*3+1*1.5 | 51 | 51 | 33 | 42 | 24 | 41
40 | Hathazari peaking |  | HFO | PDB | 11*8.9 | 98 | 98 | 0 | 60 | 51 | 58
41 | Dohazari-Kalaish Peaking |  | HFO | PDB | 6*17 | 102 | 102 | 16 | 80 | 63 | 85
42 | Juldah (Acorn) |  | HFO | QRPP | 8*13.45 | 100 | 100 | 90 | 100 | 90 | 100
43 | Barabkunda (Regent) |  | Gas | SIPP,PDB | 8*2.90 | 22 | 22 | 0 | 0 | 0 | 0 |  | 22 | Transformer problem.
* | Malancha, Ctg. EPZ (United) |  | Gas |  | 5*8.73+3*9.34 |  |  | 40 | 40 | 3 | 37
44 | Chittagong ECPV 108 MW |  | HFO | IPP |  | 108 | 108 | 84 | 97 | 92 | 95 |  | 11 | Engine problem
| Chittagong area Total |  |  |  |  | 1416 | 1336 | 471 | 686 | 601 | 695 | 253 | 363
45 | a) Ashuganj ST: Unit- 2 |  | Gas | APSCL | 2*64 | 64 | 53 | 0 | 0 | 0 | 0 |  | 53 | #1 & 2 Under maint.
| b) Ashuganj ST: Unit- 3 |  | Gas | APSCL | 1*150 | 150 | 135 | 132 | 132 | 132 | 132
| c) Ashuganj ST: Unit- 4 |  | Gas | APSCL | 1*150 | 150 | 129 | 150 | 150 | 150 | 150
| d) Ashuganj ST: Unit- 5 |  | Gas | APSCL | 1*150 | 150 | 134 | 135 | 135 | 120 | 135
46 | Ashuganj CCPP 225 MW |  | Gas | APSCL | 1*142+1*75 | 221 | 221 | 218 | 220 | 200 | 225
| Ashuganj CCPP(North) |  | Gas | APSCL |  |  |  | 7 | 70 | 72 | 169 |  |  | On test
47 | Ashuganj CCPP(South) |  | Gas | APSCL | 1*360 | 360 | 360 | 345 | 355 | 350 | 360
48 | Ashuganj Engines |  | Gas | APSCL | 14*3.968 | 53 | 45 | 29 | 26 | 26 | 32 |  | 19 | Engine problem
49 | Ashuganj (Precision) |  | Gas | RPP | 15*4 | 55 | 55 | 10 | 5 | 30 | 10 | 50 |  | Gas shortage
50 | Ashuganj (Aggrekko) |  | Gas | QRPP | 96*1.10 | 95 | 95 | 0 | 0 | 0 | 0 |  |  | Date expired
51 | Ashuganj (United) |  | Gas | QRPP | 14*4 | 53 | 53 | 4 | 4 | 4 | 53 | 49 |  | Gas shortage
52 | Ashuganj 195MW Modular |  | Gas | IPP | 20*9.7+1*16 | 195 | 195 | 100 | 73 | 67 | 67 | 122 |  | Gas shortage
53 | Ashuganj (Midland) |  | Gas | IPP | 6*9.34 | 51 | 51 | 51 | 51 | 51 | 51
54 | Brahmanbaria (Aggreko) |  | Gas | QRPP | 86*1.10 | 85 | 85 | 85 | 85 | 85 | 85
55 | Titas (Daudkandi) Peaking |  |  | PDB | 6*8.92 | 52 | 52 | 0 | 24 | 0 | 40 |  | 28 | 1 Engine under maint.
56 | Chandpur CCPP |  | Gas | PDB | 1*106+1*57 | 163 | 163 | 88 | 88 | 88 | 88 | 75 |  | Gas shortage
57 | Feni (Doreen) |  | Gas | SIPP,PDB | 8*2.90 | 22 | 22 | 16 | 19 | 19 | 19
58 | Feni, Mohipal (Doreen) |  | Gas | SIPP,REB | 4*2.90 | 11 | 11 | 11 | 11 | 11 | 11
** | Tripura |  |  | Imported Power |  | 100 | 100 | 102 | 154 | 96 | 157
59 | Jangalia (Summit) |  | Gas | SIPP,PDB | 4*8.73 | 33 | 33 | 31 | 33 | 33 | 33
60 | Lakdhanvi-52 MW |  | HFO | (IPP) |  | 52 | 52 | 0 | 0 | 42 | 44 |  | 52 | Engine problem
61 | Summit Power, Comilla |  | Gas | SIPP,REB | 3*3.6+2*6.9 | 25 | 25 | 0 | 8 | 22 | 22
| Comilla Area Total |  |  |  |  | 2140 | 2069 | 1514 | 1643 | 1598 | 1883 | 296 | 152
62 | RPCL CCPP |  | Gas | IPP | 4*35+1*70 | 210 | 202 | 94 | 148 | 158 | 130 | 54 |  | Gas shortage
63 | Tangail (Doreen) |  | Gas | SIPP, PDB | 8*2.90 | 22 | 22 | 22 | 22 | 22 | 22
64 | Jamalpur IPP |  | HFO | IPP | 12*8.9 | 95 | 95 | 91 | 95 | 92 | 95
| Mymensingh Area Total |  |  |  |  | 327 | 319 | 207 | 265 | 272 | 247 | 54 | 0
65 | Fenchugonj CCPP-1 |  | Gas | PDB | 2*32+1*33 | 97 | 80 | 70 | 71 | 71 | 71
66 | Fenchugonj CCPP-2 |  | Gas | PDB | 2*35+1*35 | 104 | 90 | 60 | 60 | 60 | 60
67 | Shahjibazar 330 MW |  | Gas | PDB | 2*110 | 330 | 330 | 168 | 303 | 329 | 330
68 | Fenchugonj (Barakatullah) |  | Gas | RPP | 19*2.90 | 51 | 51 | 52 | 53 | 53 | 50
69 | Fenchuganj (Energyprima) |  | Gas | RPP | 12*3.3+5*2 | 44 | 44 | 40 | 42 | 40 | 40
70 | Hobiganj (Confidence-EP) |  | Gas | SIPP, REB | 4*2.90 | 11 | 11 | 8 | 8 | 8 | 8
71 | Shahjibazar GT: Unit- 8, 9 |  | Gas | PDB | 2*35 | 70 | 66 | 61 | 62 | 66 | 66
72 | Shahjibazar (Shahjibazar) |  | Gas | RPP | 32*2.90 | 86 | 86 | 84 | 84 | 82 | 84
73 | Shahjibazar (Energyprima) |  | Gas | RPP | 27*2.0 | 50 | 50 | 0 | 0 | 0 | 0 |  | 50 | Transformer problem
74 | Sylhet 150 MW GT |  | Gas | PDB | 1*142 | 142 | 142 | 98 | 68 | 50 | 70 | 74 |  | Gas shortage
75 | Sylhet 20 MW GT |  | Gas | PDB | 1*20 | 20 | 20 | 0 | 0 | 0 | 0 | 20 |  | Gas shortage
76 | Sylhet (Energyprima) |  | Gas | RPP | 27*2 | 50 | 50 | 10 | 43 | 42 | 45
77 | Shahjahanulla 25 MW |  | Gas | SIPP, REB | 3*9.34 | 25 | 25 | 24 | 24 | 24 | 24
78 | Summit Bibiana- 2 |  | Gas | IPP | 1*222+1*119 | 341 | 341 | 295 | 320 | 341 | 341
79 | Sylhet (Desh) |  | Gas | RPP | 6*1.95 | 10 | 10 | 9 | 9 | 9 | 10
| Sylhet Area Total |  |  |  |  | 1431 | 1396 | 979 | 1147 | 1175 | 1199 | 94 | 50
80 | Bheramara GT: Unit- 1,2,3 |  | HSD | PDB | 3X20 | 60 | 46 | 0 | 32 | 0 | 32 |  | 30 | # 2 under maint.
81 | Bheramara (Quantum) |  | HSD | RPP | 12*8.5+2*6+2*13 | 105 | 105 | 0 | 0 | 0 | 0 |  | 105 | Long term maintenance
** | Bheramara Interconnector(HVDC ) |  |  | Imported Power |  | 500 | 500 | 483 | 480 | 482 | 492
82 | Khulna ST 110MW |  | HFO | PDB | 1*110 | 110 | 55 | 0 | 0 | 0 | 0 |  | 55 | 2014-04-11
83 | Khulna (KPCL-1) |  | HFO | IPP | 19*6.5 | 110 | 110 | 10 | 57 | 110 | 110
84 | Khulna (KPCL-2) |  | HFO | QRPP | 7*17 | 115 | 115 | 83 | 99 | 99 | 99 |  | 16 | Engine problem
85 | Faridpur Peaking |  | HFO | PDB | 8*6.89 | 54 | 54 | 0 | 38 | 23 | 43
86 | Khulna CCPP |  | HSD | NWZPGCL | 1*158+1*72 | 230 | 230 | 100 | 135 | 130 | 150
87 | Gopalganj Peaking |  | HFO | PDB | 16*6.98 | 109 | 109 | 0 | 73 | 16 | 70
| Bharamara 360 MW |  | Gas | NWZPGCL | 1*280+1*140 |  |  | 0 | 0 | 0 | 0 |  |  | On test
88 | Noapara (Khanjahan Ali) |  | HFO | QRPP | 5*8.5 | 40 | 40 | 40 | 40 | 40 | 40
89 | Khulna (Aggreko) 55MW |  | HSD | QRPP | 71*0.85 | 55 | 55 | 0 | 0 | 40 | 45
| Khulna Area Total |  |  |  |  | 1488 | 1419 | 716 | 954 | 940 | 1081 | 0 | 206
90 | Summit Barisal 110 MW |  | HFO | IPP | 7*17.076 | 110 | 110 | 80 | 110 | 110 | 110
91 | Barisal GT: Unit-1, 2 |  | HSD | PDB | 2*20 | 40 | 30 | 0 | 21 | 0 | 30
92 | Bhola (Venture) |  | Gas | RPP | 1*34.50 | 33 | 33 | 10 | 15 | 9 | 17 |  | 18 | Engine problem
93 | Bhola CCPP GT-1,2,ST |  | Gas | PDB | 2*63+1*68 | 194 | 194 | 77 | 130 | 30 | 194
| Barisal Area Total |  |  |  |  | 377 | 367 | 167 | 276 | 149 | 351 | 0 | 18
94 | a) Baghabari GT |  | Gas | PDB | 1*71 | 71 | 71 | 0 | 0 | 0 | 0 |  |  | Gas shortage
| b) Baghabari GT |  | Gas | PDB | 1*100 | 100 | 100 | 0 | 0 | 0 | 0 |  | 100 | Under maint.
95 | Baghabari Peaking |  | HFO | PDB | 6*8.9 | 52 | 52 | 0 | 32 | 0 | 32
96 | Bera Peaking |  | HFO | PDB | 9*8.29 | 71 | 71 | 0 | 47 | 0 | 50
97 | Amnura |  | HFO | QRPP | 7*7.79 | 50 | 50 | 41 | 33 | 41 | 41 |  | 17 | Engine problem
98 | Katakhali (Northern) |  | HFO | QRPP | 6*8.92 | 50 | 50 | 50 | 50 | 34 | 50
99 | Katakhali Peaking |  | HFO | PDB | 6*8.7 | 50 | 50 | 36 | 38 | 38 | 42
100 | Sirajganj CCPP |  | Gas | NWPGCL | 1*150+1*75 | 210 | 210 | 185 | 180 | 175 | 180 | 30 |  | Gas shortage
101 | Santahar Peaking |  | HFO | PDB | 6*8.7 | 50 | 50 | 0 | 31 | 0 | 32
102 | Bogra (GBB) |  | Gas | RPP | 6*4 | 22 | 22 | 22 | 22 | 22 | 22
103 | Bogra (Energyprima) |  | Gas | RPP | 5*3.3+5*2 | 20 | 10 | 7 | 7 | 7 | 7
104 | Ullapara (Summit) |  | Gas | SIPP,REB | 4*2.90 | 11 | 11 | 8 | 8 | 8 | 11
105 | Rajlanka 52 MW |  | HFO | IPP | 6*8.92 | 52 | 52 | 52 | 52 | 52 | 52
| Chapainawabganj-100 MW |  | HFO | PDB |  |  |  | 0 | 0 |  | 0
| Rajshahi Area Total |  |  |  |  | 809 | 799 | 401 | 500 | 377 | 519 | 30 | 117
106 | a) Barapukuria ST: Unit-1 |  | Coal | PDB | 1*125 | 125 | 100 | 67 | 68 | 69 | 68
| b) Barapukuria ST: Unit-2 |  | Coal | PDB | 1*125 | 125 | 100 | 0 | 0 | 0 | 0 |  |  | Under Maint.
107 | Rangpur GT |  | HSD | PDB | 1*20 | 20 | 20 | 8 | 13 | 0 | 16
108 | Saidpur GT |  | HSD | PDB | 1*20 | 20 | 20 | 15 | 18 | 16 | 16
109 | Thakurgaon (RZ) |  | HSD | RPP | 20*1.5+21*1.1 | 47 | 0 | 0 | 0 | 0 | 0
| Rangpur Area Total |  |  |  |  | 337 | 240 | 90 | 99 | 85 | 100 | 0 | 0
| Total |  |  |  |  | 13179 | 12578 | 6916 | 8406 | 8643 | 9573 | 957 | 1490
| Usable load at Substation end after deducting Auxiliary use & Transmission loss | [6 empty] | 6466.7809 | 7860 | 8081.606 | 8951.1991
A. |  | 2017-04-14 | (Yesterday) |  |  |  |  | Wednesday
1 | Highest Generation : |  |  | 8451 | MW at | 1:00 | hrs | 11 Evening Peak Hour : | [5 empty] | 21:00 | hrs.
2 | Minimum Generation : |  |  | 6596 | MW at | 8:00 | hrs | 12 Max. Demand (Generation end) at evening peak hour : | [5 empty] | 8406 | MW
3 | Day peak Generation : |  |  | 6916 | MW at | 12:00 | hrs | 13 Max. Demand (Substation end) at evening peak hour : | [5 empty] | 7860 | MW
4 | Evening peak Generation : |  |  | 8406 | MW at | 21:00 | hrs | 14 Load Shed (Substation end) at evening peak hour : | [5 empty] | 0 | MW
5 | Total Energy Generation : |  |  | 180.3168 | MKWHr |  |  | 15. Area wise Demand (S/S end), Supply (S/S end) & | [5 empty] | 16 Hourly Load Shed during
| By Gas: | 114.8611 | MKWHr |  | By Oil: | 45.7131 | MKWHr | Load Shed (S/S end) at Evening peak hour in MW : | [5 empty] | Evening Peak hours :
| By Coal: | 1.5958 | MKWHr |  | By Hydro: | 2.6881 | MKWHr | Area | Demand | Supply | Loadshed | (Duration) |  | Time |  | Loadshed
6 | Generation Shortfall : |  | For Gas: | 957 | For Oil: | 0 | MW | Dhaka | 2891 | 2891 | 0
|  |  | For Water Shortage: |  |  | 100 | MW | Chittagong | 882 | 882 | 0 |  |  | 18:00 |  | 0
|  |  | For Plants S/D or M/C prob: |  |  | 1490 | MW | Khulna | 963 | 963 | 0 |  |  | 18:30 |  | 0
7 | Total Gas Supplied : |  |  | 973.99 | MMCFD |  |  | Rajshahi | 883 | 883 | 0 |  |  | 19:00 |  | 0
8 | Fuel Cost : | i) Gas : | Taka | 71305755.884 | ii) Oil : | Taka | 422983125.406 | Comilla | 768 | 768 | 0 |  |  | 19:30 |  | 0
|  | iii) Coal : | Taka | 6210783.544 | Total | Taka | 500499664.834 | Mymensingh | 605 | 605 | 0 |  |  | 20:00 |  | 0
9 | Export Through E-W Interconnectors : |  |  |  | i) Energy | 7.8675 | MKWHr. | Sylhet | 336 | 336 | 0 |  |  | 21:00 |  | 0
| ii) During Peak Demand : |  |  | -780 | MW at | 21:00 | hrs | Barisal | 184 | 184 | 0 |  |  | 22:00 |  | 0
| iii) Maximum : |  |  | 170 | MW at | 24:00 | hrs | Rangpur | 348 | 348 | 0 |  |  | 23:00 |  | 0
10 | Maximum Temperature in Dhaka was |  |  |  | 34.8° C |  |  | Total | 7860 | 7860 | 0
B. |  | 2017-04-15 | (Today) |  |  |  | Saturday |  |  | Probable max. temperature in Dhaka |  |  | 34.8° C
Forecast
1 | Maximum Demand* Evening (Generation end) |  |  |  | 9100 | MW |  | 6 Total Load Shed forecast (Substation end) : |  |  |  |  | 0 | MW
2 | Maximum Generation (Generation end) |  |  |  | 9573 | MW |  | 7 Area wise Load Shed forecast (Substation end) :
3 | Maximum Demand* Day (Generation end) |  |  |  | 7600 | MW
4 | Reserve (Generation end) |  |  |  | 473 | MW |  | Dhaka | Chittagong | Khulna | Rajshahi | Comilla | Mymensingh | Sylhet | Barisal | Rangpur
5 | Total Energy Generation |  |  |  | 180 | MKWHr |  | MW | MW | MW | MW | MW | MW | MW | MW | MW
6 | Actual Minimum Generation up to 8:00 hrs. |  |  |  | 6682 | MW at | 6:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
* Import Through HVDC C/B Interconnector : |  |  |  |  | i) Energy | 11.6436 | MKWHr. | ii) During Peak demand: |  | 480 | MW at | 21:00 | hrs. | iii)Maximum: | 495 | 17:00
* Import Through Comilla C/B Interconnector : |  |  |  |  | i) Energy | 3.815 | MKWHr.
*Cost for HVDC & Tripura energy is not usually included in the total fuel cost.
Water Level of Kaptai Lake at 06:00 hr (ft): |  |  |  |  | (a) Yesterday : | 84.1 |  | (b) Today: | 83.62 |  | (c) Rule Curve: |  | 85.2
|  |  |  | Sub Divisional Engineer | [6 empty] | Executive Engineer
|  |  |  | Network Operation Division | [6 empty] | Network Operation Division

## P1
POWER GRID COMPANY OF BANGLADESH LTD.
|  |  | NATIONAL LOAD DESPATCH CENTER |  |  |  |  | QF-LDC-08
|  |  | DAILY REPORT |  |  |  |  | Page -1
[6 empty] | Reporting Date : | 2017-04-15
Till now the maximum generation is : - |  |  | 9036 MW | 21:00 | Hrs on | 2016-06-30
The Summary of Yesterday's |  | 2017-04-14 | Generation & Demand |  | Today's Actual Min Gen. & Probable Gen. & Demand
Day Peak Generation : |  | 6916 | MW Hour : | 12:00 | Min. Gen. at | 6:00 | 6682 | MW
Evening Peak Generation : |  | 8406 | MW Hour : | 21:00 | Max Generation : |  | 9573 | MW
E.P. Demand (at gen end) : |  | 8406 | MW Hour : | 21:00 | Max Demand (Evening) : |  | 9100 | MW
Maximum Generation : |  | 8451 | MW Hour : | 1:00 | Reserve (Generation end) |  | 473 | MW
Total Gen. (MKWH) : |  | 180.3168 | System L/ Factor : | 88.9% | Load Shed : |  | 0 | MW
EXPORT / IMPORT THROUGH EAST-WEST INTERCONNECTOR
Export from East grid to West grid :- Maximum |  |  | 170 | MW at | 24:00 | Energy | 7.8675 | MKWHR.
Import from West grid to East grid :- Maximum |  |  | - | MW at | - | Energy | - | MKWHR.
| Water Level of Kaptai Lake at 6:00 A M on |  | 2017-04-15
Actual : | 83.62 | Ft.(MSL) , | Rule curve : | 85.2 | Ft.( MSL )
Gas Consumed : | Total | 973.99 | MMCFD. | Oil Consumed (PDB) :
[6 empty] | HSD : |  | Liter
[6 empty] | FO : |  | Liter
Cost of the Consumed Fuel (PDB+Pvt) : |  | Gas : | 71305755.884
|  | Coal : | 6210783.544 | Oil : | 422983125.406 | Total : | 500499664.834
Load Shedding & Other Information
Area | Yesterday |  |  |  | Today
|  |  | Estimated Demand (S/S end) |  | Estimated Shedding (S/S end) |  | Rates of Shedding
| MW |  | MW |  |  | MW | (On Estimated Demand)
Dhaka | 0 | 0:00 | 3393 |  |  | - | -
Chittagong Area | 0 | 0:00 | 949 |  |  | - | -
Khulna Area | 0 | 0:00 | 967 |  |  | - | -
Rajshahi Area | 0 | 0:00 | 931 |  |  | - | -
Comilla Area | 0 | 0:00 | 696 |  |  | - | -
Mymensingh Area | 0 | 0:00 | 528 |  |  | - | -
Sylhet Area | 0 | 0:00 | 343 |  |  | - | -
Barisal Area | 0 | 0:00 | 185 |  |  | - | -
Rangpur Area | 0 | 0:00 | 515 |  |  | - | -
Total | 0 |  | 8507 |  |  | 0
Information of the Generating Units under shut down.
| Planned Shut- Down |  |  | Forced Shut- Down
|  |  |  | 1) Ghorasal ST: Unit-6 (18/07/2010) |  | 10) Sikalbaha ST
| Nil |  |  | 2) Kaptai Unit-2 & 5 |  | 11) Siddhirgonj GT: Unit-1& 2
|  |  |  | 3) Ashuganj ST: Unit- 1,2 |  | 12) Tongi GT
|  |  |  | 4) Khulna ST 110 MW (04/11/2014) |  | 13) Shahjibazar (Energyprima)
5) Ghorasal Unit-1,3,5
6) Baghabari 100 MW
7) Tongi GT
8) Chittagong Unit-1,2
9) Baghabari-71 MW
Additional Information of Machines, lines, Interruption / Forced Load shed etc.
| Description |  |  | Comments on Power Interruption
a) After maintenance Ashuganj 225 MW CCPP ST was synchronized at 08:16.
b) Ashuganj-Sirajganj 230 kV Ckt-2 tripped at 10:45 from Ashuganj end showing dist.relay and was switched
on at 10:53.
c) Ghorasal-Ishurdi 230 kV Ckt-2 tripped at 12:17 from both sides showing DT, PTAW, PD-3 relay at Ghorasal end and
dist.relay at Ishurdi end and was switched on at 12:42.
d) Savar 132/33 kV GT-2 transformer tripped at 17:38 showing differential relay and was switched on at 17:59.
e) Tangail 132/33 kV T1,T2 & T3 transformers tripped at 05:23 (15/04/2017) due to flash over at 33 kV Modhupur |  |  |  | About 135 MW power interruption occurred under Tangail S/S area
feeder and was switched on at 05:40 (15/04/2017). |  |  |  | from 05:23 to 05:40 (15/04/2017).
f) Bogra-Barapukuria 230 kV Ckt-2 was shut down at 07:00 (15/04/2017) for project work.
Page 1 of 7

## P2
EVENING PEAK GENERATION AND DAY LONG ENERGY DATA OF POWER STATIONS
| Date : | 2017-04-14 | [6 empty] | Page -2
[5 empty] | Present | Peak Hour | Energy
| Name of Power Station |  | Unit | Producer | Generation | Generation | Generated |  | Remarks
Capacity
[5 empty] | MW | MW | KWHr
1a | Ghorasal ST: Unit-1, 2 |  | 2*55 | PDB | 85 | 0 | 804000 | Under maint.
38
1b | Ghorasal ST: Unit-3 |  | 1*210 | PDB | 170 | 0 | 0 | Under maint.
1c | Ghorasal ST: Unit-4 |  | 1*210 | PDB | 180 | 190 | 4375665 | 0
1d | Ghorasal ST: Unit-5 |  | 1*210 | PDB | 190 | 0 | 0 | Under maint.
1e | Ghorasal ST: Unit-6 |  | 1*210 | PDB | 190 | 0 |  | Long term maint.
2 | Ghorashal 100MW(Agreko) |  | 128*0.85 | QRPP | 100 | 98 | 2085300 | 0
3 | Ghorashal 45MW(Agreko) |  | 58*0.85 | QRPP | 45 | 44 | 1023450 | 0
4 | Ghorashal 78.5 MW (MAX) |  | 4*21.5 | QRPP | 78 | 73 | 1188544 | 0
5 | Ghorashal (Regent) |  | 34*3.35 | IPP | 108 | 91 | 1914257 | Engine problem
6 |  |  | 1*32 | PDB | 20 | 40 | 936900
| Haripur GT: Unit-1, 2 |  | 1*32 | PDB | 20 | 0
|  |  | 1*32 | PDB | 0 | 0 |  | Under maint.
7 | Haripur EGCB 412 MW CCPP |  | 1*273+1*139 | EGCB | 412 | 395 | 9362000 | Low demand
8 | Haripur NEPC(HFO) |  | 8*15 | IPP | 110 | 0 | 366600 | Reserve
9 | Haripur Power CCPP |  | 1*235+1*125 | IPP | 360 | 348 | 7853000 | 0
10 | Meghnaghat CCPP |  | 2*150+1*150 | IPP | 450 | 420 | 9695000 | Low demand
11 | Meghnaghat (IEL) |  | 12*8.9 | RPP | 100 | 42 | 734400 | Low demand
12 | Meghnaghat CCPP(Summit) |  | 2*110+1*110 | IPP | 305 | 250 | 5995055 | FGMO
13 | Madanganj (Summit) |  | 6*17 | QRPP | 100 | 64 | 1662648 | Engine problem
14 | Madanganj-55 MW |  | 5*17.08+1*11.3 | IPP | 55 | 30 | 618684 | Low demand
15 | Keraniganj (Powerpac) |  | 8*13.45 | RPP | 100 | 50 | 960369 | Low demand
16 | Narsingdi (Doreen) |  | 8 * 2.9 | SIPP, REB | 22 | 22 | 423288 | 0
17 | Siddhirgonj ST |  | 1*210 | PDB | 150 | 0 | 0 | Under maint.
18 | Siddhirgonj GT : Unit-1 & 2 |  | 2*105 | EGCB | 210 | 97 | 421000 | Gas shortage
19 | Siddhirgonj (Desh) |  | 96*1.2 | QRPP | 100 | 0 | 142080 | Reserve
20 | Siddhirgonj (Dutch Bangla) |  | 12*8.9 | RPP | 100 | 80 | 1654080 | Engine problem
| Siddhirganj CCPP-335 MW |  |  | EGCB |  | 0 | 0 | On test.
21 | Pagla (DPA) |  | 100*0.5 | QRPP | 50 | 0 | 68000 | Reserve
22 | Gagnagar (Orion) |  | 12*8.924 | IPP | 102 | 102 | 1305072 | 0
23 | Katpotti 52 MW |  |  | RPP | 51 | 0 | 395040 | Reserve
24 | Kodda Peaking |  | 9*17.06 | BPDB-RPCL | 149 | 63 | 1685280 | Low demand
25 | Northern 55 MW |  |  | RPP | 55 | 56 | 787119 | 0
26 | Southern Power |  |  | RPP | 55 | 55 | 912000 | 0
27 | CLCPC Keranigonj 108 MW |  |  |  | 108 | 32 | 829440 | Low demand
28 | Summit Power,(Madhabdi+Ashulia) |  | 6*3.67+7*8.73 | SIPP, REB | 80 | 51 | 1244400 | Engine problem
29 | Summit Power, Maona |  | 4*8.73 | SIPP, REB | 33 | 33 | 778000 | 0
30 | Summit Power, Rupganj |  | 4*8.74 | SIPP, REB | 33 | 30 | 734900
31 | Gazipur (RPCL) |  | 6*8.9 | IPP | 52 | 42 | 978444 | Engine problem
32 | Tongi GT |  | 1*105 | PDB | 105 | 0 | 0 | Under maintenance.
| Dhaka Area Total |  |  |  | 4633 | 2836 | 61934015
33 | a) Chitagong ST:Unit-1 |  | 1*210 | PDB | 180 | 0 | 0 | Gas shortage
| b) Chitagong ST:Unit-2 |  | 1*210 | PDB | 180 | 0 | 0 | Under maint.
34 | Raozan 25 MW (RPCL) |  | 3*8.9 | IPP | 25 | 26 | 615060 | 0
35 | Patenga 50 MW(Barakatulla) |  | 8*6.89 | IPP | 50 | 0 | 249600 | Engine problem
36 | Chittagong ECPV 108 MW |  |  | IPP | 108 | 97 | 2145600 | Engine problem
37 |  |  | 1*40 | PDB | 40 | 32 | 1790022
|  |  | 1*40 | PDB | 40 | 0 |  | Under maint.
| Karnafuli Hydro Power Station |  | 1*50 | PDB | 50 | 48
|  |  | 1*50 | PDB | 50 | 44 | 898100
|  |  | 1*50 | PDB | 50 | 0 |  | Under maint.
38 | Shikalbaha ST |  | 1*60 | PDB | 40 | 0 | 0 | Gas shortage
| Shikalbaha 225 MW |  |  | PDB |  | 0 | 0
39 | Shikalbaha peaking GT |  | 1*150 | PDB | 150 | 117 | 2281868 | Gas shortage
40 | Hathazari peaking |  | 11*8.9 | PDB | 98 | 60 | 608260 | 0
41 | Dohazari-Kalaish peaking |  | 6*17 | PDB | 102 | 80 | 989655 | 0
42 | Juldah (Acorn) |  | 8*13.45 | QRPP | 100 | 100 | 2175840 | 0
43 | Shikalbaha (Energis) |  |  | RPP | 51 | 42 | 826080 | Engine problem
44 | Barabkunda (regent) |  | 8*2.90 | SIPP, PDB | 22 | 0 | 0 | Transformer problem
* | Malancha, Ctg EPZ(United) |  |  |  |  | 40 | 886080
| Chittagong Area Total |  |  |  | 1336 | 686 | 13466165
45 | a) Ashuganj ST: Unit- 2 |  | 1*64 | APSCL | 53 | 0 | 0
|  |  | 1*64 | APSCL |  | 0 |  | 0
| b) Ashuganj ST: Unit- 3 |  | 1*150 | APSCL | 135 | 132 | 3015230 | 0
| c) Ashuganj ST: Unit- 4 |  | 1*150 | APSCL | 129 | 150 | 3502830 | 0
| d) Ashuganj ST: Unit- 5 |  | 1*150 | APSCL | 134 | 135 | 3105580
46 | Ashuganj CCPP 225 MW |  | 1*142+1*75 | APSCL | 221 | 220 | 8357370 | 0
| Ashuganj CCPP(North) |  |  | APSCL |  | 70 | 2628300
47 | Ashuganj CCPP(South) |  |  | APSCL | 360 | 355 | 3113700 | 0
48 | Ashuganj-Engines |  | 14*3.968 | APSCL | 45 | 26 | 651168 | Engine problem
49 | Ashugonj (Precision) |  | 15*4 | RPP | 55 | 5 | 211680 | Gas shortage
50 | Ashuganj (Aggrekko) |  | 82*1.1 | RPP | 95 | 0 | 0 | Date expired
51 | Ashuganj (United) |  | 14*4 | RPP | 53 | 4 | 96000 | Gas shortage
52 | Ashuganj Modular 200 MW |  | 20*9.7+1*16 | IPP | 195 | 73 | 1806545 | Gas shortage
53 | Ashuganj (Midland) |  | 6*9.34 | IPP | 51 | 51 | 1211248
54 | Brahmanbaria (Aggreko) |  | 72*1.1 | QRPP | 85 | 85 | 1636510 | 0
55 | Titas (Daudkandi) Peaking |  | 6 * 8.92 | PDB | 52 | 24 | 261544 | 0
56 | Chandpur CCPP |  | 1*106+1*57 | PDB | 163 | 88 | 2084630 | 0
57 | Feni(Doreen) |  | 8 *2.94 | SIPP, PDB | 22 | 19 | 438480
58 | Feni Mohipal (Doreen) |  | 4*2.9 | SIPP, REB | 11 | 11 | 238860 | 0
** | Tripura |  |  |  | 100 | 154 | 3815040 | 0
59 | Jangalia (Summit) |  | 4*8.73 | SIPP, PDB | 33 | 33 | 476300 | 0
60 | Lakdanavi-52 MW |  |  | IPP | 52 | 0 | 49526 | Reserve
61 | Summit Power,Comilla |  | 3*3.67+2*6.9 | SIPP, REB | 25 | 8 | 246980 | Engine problem
| Comilla Area Total |  |  |  | 2069 | 1643 | 36947521
62 | RPCL CCPP |  | 4*35+1*70 | IPP | 202 | 148 | 2520000 | FGMO
63 | Tangail (Doreen) |  | 8 *2.9 | SIPP,PDB | 22 | 22 | 514728 | 0
64 | Jamalpur RPP |  |  | IPP | 95 | 95 | 2184959 | 0
| Mymensingh Area Total |  |  |  | 319 | 265 | 5219687
65 | Fenchugonj CCPP-1 |  | 2*32+1*33 | PDB | 80 | 71 | 1609000 | 0
66 | Fenchugonj CCPP-2 |  | 2*35+1*35 | PDB | 90 | 60 | 1397100 | 0
67 | Shahjibazar CCPP 330 MW |  | 2*110 | PDB | 330 | 303 | 6065991
68 | Fenchugonj RPP (51 MW) |  | 2.9*19 | RPP | 51 | 53 | 1240800
69 | Fenchuganj (Energyprima) |  | 12*3.3+5*2 | RPP | 44 | 42 | 974000 | 0
70 | Hobiganj (Confidence-EP) |  | 4*2.9 | SIPP, REB | 11 | 8 | 181152 | Engine problem
Engine problem
71 | Shahjibazar GT: Unit-8,9 |  | 32*2.9 | PDB | 66 | 62 | 1128000 | 0
72 | Shahjibazar (Shahjibazar) |  | 32*2.9 | RPP | 86 | 84 | 1695360 | 0
73 | Shahjibazar (Energyprima) |  | 27*2.0 | RPP | 50 | 0 | 0 | Under maint.
74 | Sylhet 150 MW GT |  | 1*142 | PDB | 142 | 68 | 1655220 | 0
75 | Sylhet 20 MW GT |  | 1*20 | PDB | 20 | 0 | 0 | Gas shortage
76 | Sylhet (Energyprima) |  | 27 * 2.0 | RPP | 50 | 43 | 744640 | 0
77 | Shahjahanulla 25MW |  | 3 * 9.34 | CIPP,REB | 25 | 24 | 539064 | 0
78 | Summit Bibiana-2 |  | 1*222+1*119 | IPP | 341 | 320 | 7223500
79 | Sylhet (Desh) |  | 6*1.95 | RPP | 10 | 9 | 212400 | 0
| Sylhet Area Total |  |  |  | 1396 | 1147 | 24666227
|  |  | 1*20 | PDB | 16 | 16 | 557624
80 | Bheramara GT: Unit-1,2,3 |  | 1*20 | PDB | 14 | 0
|  |  | 1*20 | PDB | 16 | 16 |  | Long term maint.
** | Bheramara Interconnector(HVDC) |  |  | Imported Power | 500 | 480 | 11643636 | 0
81 | Khulna ST 110 MW |  | 1*110 | PDB | 55 | 0 | 0 | Under maint.
82 | Khulna (KPCL-1) |  | 19*6.5 | IPP | 110 | 57 | 969120 | Low demand
83 | Khulna (KPCL-2) |  | 7*17 | QRPP | 115 | 99 | 2130240 | Engine problem
84 | Faridpur Peaking |  | 8*6.89 | PDB | 54 | 38 | 181760 | 0
85 | Khulna 150 MW GT |  | 1*150 | NWZPGCL | 230 | 135 | 2592000 | FGMO
86 | Gopalganj Peaking |  | 16*6.98 | PDB | 109 | 73 | 236500 | 0
87 | Bheramara (Quantum) |  | 12*8.5+2*6+2*13 | RPP | 105 | 0 | 0 | All Engine problem, Long term maint
| Bheramara 360 MW |  | 1*280+1*140 | NWZPGCL |  | 0 | 0 | On test
88 | Noapara (Khanjahan Ali) |  | 5*8.5 | QRPP | 40 | 40 | 763500 | 0
89 | Khulna (Aggreko) 55MW |  | 71*0.85 | QRPP | 55 | 0 | 60040
| Khulna Area Total |  |  |  | 1419 | 954 | 19134420
90 | Summit Barisal 110MW |  | 7*17.076 | IPP | 110 | 110 | 2361600 | 0
91 | Barisal GT: Unit-1,2 |  | 1*20 | PDB | 16 | 10 | 135960
|  |  | 1*20 | PDB | 14 | 11
92 | Bhola (Venture) |  | 1*34.5 | RPP | 33 | 15 | 277946 | Engine problem
93 | Bhola CCPP GT-1,2,ST |  | 2*63+1*68 | PDB | 194 | 130 | 2831000 | 0
| Barisal Area Total |  |  |  | 367 | 276 | 5606506
94 | a) Baghabari GT |  | 1*71 | PDB | 71 | 0 | 0 | Under maint.
| b) Baghabari GT |  | 1*100 | PDB | 100 | 0 | 0 | Under maint.
95 | Baghabari Peaking |  | 6*8.9 | PDB | 52 | 32 | 463912 | 0
96 | Bera Peaking |  | 9*8.29 | PDB | 71 | 47 | 598288 | 0
97 | Amnura |  | 7*7.79 | QRPP | 50 | 33 | 993450 | Engine problem
98 | Katakhali (Northern) |  | 6*8.92 | QRPP | 50 | 50 | 1231696 | 0
99 | Katakhali Peaking |  | 6*8.7 | PDB | 50 | 38 | 889343 | 0
100 | Sirajganj CCPP |  | 1*50+1*75 | NWPGCL | 210 | 180 | 4315582 | FGMO
101 | Santahar Peaking |  | 6*8.7 | PDB | 50 | 31 | 560160 | 0
102 | Bogra (GBB) |  | 6*4 | RPP | 22 | 22 | 509060 | 0
103 | Bogra (Energyprima) |  | 5*3.3+5*2 | RPP | 10 | 7 | 170136 | Engine problem
104 | Ullapara (Summit) |  | 4 *2.90 | SIPP, REB | 11 | 8 | 182268 | Engine problem
105 | Rajlanka 52 MW |  | 6*8.92 | IPP | 52 | 52 | 1247040 | 0
| Chapainawabganj-100 MW |  |  | PDB |  | 0 | 0
| Rajshahi Area Total |  |  |  | 799 | 500 | 11160935
106 | a) Barapukuria ST: Unit-1 |  | 1*125 | PDB | 100 | 68 | 1595782 | 0
| b) Barapukuria ST: Unit-2 |  | 1*125 | PDB | 100 | 0 | 0 | 0
107 | Rangpur GT |  | 1*20 | PDB | 20 | 13 | 243500 | Under maint.
108 | Saidpur GT |  | 1*20 | PDB | 20 | 18 | 342000 | 0
109 | Thakurgaon (RZ) |  | 20*1.5+21*1.1 | RPP | 0 | 0 | 0
| Rangpur Area Total |  |  |  | 240 | 99 | 2181282
| Total |  |  |  | 12578 | 8406 | 180316758
| Eastern Grid Total |  |  |  | 8488 | 6577 | 142233615
| Western Grid Total |  |  |  | 2600 | 1829 | 38083143
| National Grid Total |  |  |  | 11088 | 8406 | 180316758
*Data collected from respective power station over telephone.

## P3
MAXIMUM LOAD SERVED BY DIFFERENT GRID SUB-STATIONS
Date: | 2017-04-14 | [5 empty] | QF-LDC-09
(a) ENTIRE EASTERN GRID : |  |  | 5482 | MW | (b) ENTIRE WESTERN GRID : |  |  | 2378 | MW
i) Dhaka area |  |  | 2891 | MW | i) Khulna area |  |  | 963 | MW
ii) Chittagong area |  |  | 882 | MW | ii) Rajshahi area |  |  | 883 | MW
iii) Comilla area |  |  | 768 | MW | iii) Barisal area |  |  | 184 | MW
iv) Mymensingh area |  |  | 605 | MW | iv) Rangpur area |  |  | 348 | MW
v) Sylhet area |  |  | 336 | MW
| SYSTEM TOTAL DEMAND ( a + b ) = |  |  | 7860 | MW
MAXIMUM LOAD SERVED BY DIFFERENT SUB-STATIONS
Sub-station | Load (MW) | Hour | Sub-station | Load (MW) | Hour | Sub-station | Load (MW) | Hour
Siddhirganj | 100 | 100 | Kishorganj | 65 | 2300 | Jessore | 112 | 1900
Munsiganj | 106 | 2100 | Netrokona | 73 | 2100 | Jhenida | 65 | 100
Megnaghat | 47 | 2100 | Jamalpur | 94 | 2100 | Bottail | 80 | 1930
Shyampur | 150 | 100 | Sherpur | 65 | 2200 | G.K Project | 41 | 1930
Bhulta | 133 | 100 | Srimongal | 40 | 1900 | Faridpur | 114 | 2000
Madanganj | 52 | 100 | Shahjibazar | 67 | 2000 | Madaripur | 100 | 1930
Shitalakhya | 101 | 100 | Fenchuganj | 37 | 1930 | Gopalganj | 59 | 2000
Rahim steel | 1 | 100 | Khulawara | 20 | 1830 | Bagerhat | 66 | 2000
Matuail | 70 | 200 | Sylhet | 137 | 1900 | Mongla | 24 | 100
Ghorasal | 94 | 2000 | Chatak | 47 | 2000 | Satkhira | 68 | 2000
Narsingdi | 89 | 2100 | Comilla (S) | 150 | 2000 | Gallamari | 40 | 2300
Haripur (SBU) | 56 | 300 | Comilla(N) | 73 | 2200 | Magura | 32 | 2100
Ullon | 57 | 2000 | Chandpur | 97 | 2000 | Chuadanga | 58 | 2100
Hasnabad | 164 | 100 | Feni | 58 | 2200 | Barisal | 96 | 2100
Magbazar | 95 | 100 | Chowmuhani | 160 | 2200 | Patuakhali | 50 | 2000
Maniknagar | 72 | 100 | Ashuganj | 48 | 2200 | Bhandaria | 26 | 2100
Bangabhaban | 16 | 100 | Daudkandi | 62 | 2200 | Ishurdi | 36 | 100
Narinda | 80 | 100 | B.Baria | 108 | 2000 | Natore | 89 | 100
Dhanmondi | 84 | 2000 | Madanhat | 58 | 2200 | Bogra | 187 | 300
Lalbag | 69 | 100 | Hathazari | 91 | 2000 | Noagaon | 102 | 1930
Madartek | 61 | 100 | Khulshi | 160 | 2100 | Rajshahi | 130 | 2000
Mirpur | 86 | 2300 | Halishahar | 113 | 2100 | C.Nawabganj | 67 | 2100
Kalyanpur | 105 | 2200 | Baraulia | 100 | 500 | Amnura | 33 | 100
Gulshan | 86 | 2200 | Sikalbaha | 31 | 1900 | Pabna | 90 | 2000
Uttara | 89 | 2200 | Dohazari | 74 | 1930 | Shahjadpur | 76 | 1930
Kamrangirchar | 63 | 2000 | Cox'sbazar | 63 | 1830 | Serajganj | 69 | 1930
Savar | 97 | 2200 | Chandraghona | 31 | 2100 | Niyamatpur | 78 | 2100
Bhasantec | 111 | 2200 | Kaptai | 4 | 1900 | Joypurhat | 42 | 2100
Agargaon | 44 | 2300 | A. Khaer Stl. | 14 | 200 | Rangpur | 76 | 5000
Satmosjid | 59 | 2300 | Bakulia | 90 | 100 | Lalmonirhat | 68 | 1830
Tongi | 100 | 100 | Julda | 18 | 100 | Saidpur | 74 | 100
Kabirpur | 151 | 100 | TK chemical | 4 | 100 | Purbasadipur | 68 | 1830
Basundhara | 105 | 2100 | Modern Steel | 15 | 2400 | Thakurgaon | 52 | 1800
Manikganj | 86 | 2100 | Shahmirpur | 26 | 100 | Palashbari | 76 | 1800
Joydevpur | 176 | 200 | Abul Khair 230 | 196 | 800 | Barapukuria | 36 | 1830
New Tongi | 85 | 100 | BSRM | 76 | 1800 | Panchagar | 24 | 2100
Korda | 84 | 300 | Goalpara | 27 | 100
Tangail | 176 | 1930 | Central s/s | 78 | 2000
Mymensing | 170 | 2200 | Noapara | 65 | 1930
Sub Divisional Engineer |  |  | Executive Engineer |  |  | Superintendent Engineer
Network Operation Division |  |  | Network Operation Division |  |  | Load Despatch Circle
(1) Honbl. State Minister |  |  | (8) Executive Director (O & M) PGCB. |  |  | (18) C.E. Transmission (1 & 2) PGCB.
Ministry of Power,Energy & Mineral |  |  | (9) Member,Generation,PDB. |  |  | (19) S.E. System Protection,PGCB.
Resources, GOB. |  |  | (10) Member,Distribution,PDB. |  |  | (20) Director,Public Relation,PDB.
(2) Secy (Power Divn.)Ministry of |  |  | (11) Member,Transmission & |  |  | (21) Director Program, PDB.
Power,Energy & Mineral Resources. |  |  | System Operation,PDB. |  |  | (22) S.E. Consumer Affairs,PDB.
(3) Director General,Power cell |  |  | (12) Member,P&D,PDB. |  |  | (23) Director,Project Planning,PDB.
(4) Chairman,BERC |  |  | (13) C.E (P & D), PGCB. |  |  | (24) Director,System Planning,PDB.
(5) Chairman, BPDB. |  |  | (14) G.M. Commercial Operation |  |  | (25) Executive Eng.IMD.
(6) Managing Director, PGCB. |  |  | (15) C.E. Generation,PDB. |  |  | (26) Executive Eng. EMD.
(7) Member(Power & Industry) |  |  | (16) C.E, (P & D),PDB. |  |  | (27) NLDC
Planning Commission. |  |  | (17) C.E. System Operation,PGCB |  |  |  | Page 4 of 7

## L.curve
Date | 2017-04-14 | [8 empty] | QF-LDC-11
TIME | E-W INT. | EAST GRID | WEST GRID | TOTAL |  | Demand | Hour
0:00 | -740 | 6875 | 1890 | 8765 | -740 | 8765 | 0:00 | DAILY LOAD CURVE | 2017-04-14
0:30 | -740 | 6754.5 | 1853.5 | 8608 | -740 | 8608 | 1:00
1:00 | -740 | 6634 | 1817 | 8451 | -730 | 8451 | 2:00
1:30 | -735 | 6520.5 | 1800 | 8320.5 | -730 | 8320.5 | 3:00
2:00 | -730 | 6407 | 1783 | 8190 | -720 | 8190 | 4:00
2:30 | -730 | 6354 | 1753 | 8107 | -660 | 8107 | 5:00
3:00 | -730 | 6301 | 1723 | 8024 | -640 | 8024 | 6:00
3:30 | -725 | 6180 | 1719.5 | 7899.5 | -640 | 7899.5 | 7:00
4:00 | -720 | 6059 | 1716 | 7775 | -640 | 7775 | 8:00
4:30 | -690 | 6023.5 | 1678 | 7701.5 | -640 | 7701.5 | 9:00
5:00 | -660 | 5988 | 1640 | 7628 | -660 | 7628 | 10:00
5:30 | -650 | 5810.5 | 1557 | 7367.5 | -760 | 7367.5 | 11:00
6:00 | -640 | 5633 | 1474 | 7107 | -780 | 7107 | 12:00
6:30 | -640 | 5478 | 1432 | 6910 | -740 | 6910 | 13:00
7:00 | -640 | 5323 | 1390 | 6713 | -740 | 6713 | 14:00 |  |  |  | 8451 | 1:00
7:30 | -640 | 5258 | 1396.5 | 6654.5 | -760 | 6654.5 | 15:00 |  |  |  | 6916 | 12:00
8:00 | -640 | 5193 | 1403 | 6596 | -680 | 6596 | 16:00
8:30 | -640 | 5197 | 1404 | 6601 | -600 | 6601 | 17:00
9:00 | -640 | 5201 | 1405 | 6606 | -580 | 6606 | 18:00
9:30 | -650 | 5222 | 1385 | 6607 | -660 | 6607 | 18:30
10:00 | -660 | 5243 | 1365 | 6608 | -870 | 6608 | 19:00
10:30 | -710 | 5314.5 | 1342.5 | 6657 | -870 | 6657 | 19:30
11:00 | -760 | 5386 | 1320 | 6706 | -830 | 6706 | 20:00
11:30 | -770 | 5464 | 1347 | 6811 | -780 | 6811 | 21:00
12:00 | -780 | 5542 | 1374 | 6916 | -770 | 6916 | 22:00
12:30 | -760 | 5558.5 | 1388 | 6946.5 | -720 | 6946.5 | 23:00
13:00 | -740 | 5575 | 1402 | 6977 | 170 | 6977 | 24:00
13:30 | -740 | 5672 | 1426.5 | 7098.5 |  | 7098.5
14:00 | -740 | 5769 | 1451 | 7220 | 128.92 | 7220
14:30 | -750 | 5603.5 | 1464.5 | 7068 | 86.5 | 7068
15:00 | -760 | 5438 | 1478 | 6916 |  | 6916
15:30 | -720 | 5438 | 1493 | 6931 | 7867500 | 6931
16:00 | -680 | 5438 | 1508 | 6946 |  | 6946
16:30 | -640 | 5333.5 | 1482 | 6815.5 |  | 6815.5
17:00 | -600 | 5229 | 1456 | 6685 | 700 | 6685
17:30 | -600 | 5150 | 1504 | 6654 | 1800 | 6654
18:00 | -600 | 5071 | 1552 | 6623 | 100 | 6623
18:30 | -660 | 5648 | 1635 | 7283 | 1400 | 7283
19:00 | -870 | 6225 | 1718 | 7943 | 100 | 7943
19:30 | -870 | 6413 | 1775 | 8188 | 1800 | 8188
20:00 | -830 | 6392 | 1812 | 8204 | 1800 | 8204
20:30 | -805 | 6484.5 | 1820.5 | 8305 | 1800 | 8305
21:00 | -780 | 6577 | 1829 | 8406 | 2100 | 8406
21:30 | -775 | 6572.5 | 1838 | 8410.5 | 1900 | 8410.5
22:00 | -770 | 6568 | 1847 | 8415 | 1900 | 8415
22:30 | -745 | 6587 | 1840.5 | 8427.5 |  | 8427.5
23:00 | -720 | 6606 | 1834 | 8440 |  | 8440
23:30 | -275 | 6553.5 | 1798.5 | 8352 |  | 8352
24:00 | 170 | 6501 | 1763 | 8264 |  | 8264
*MAX.GEN.(E.P.) |  | 8451 |  | 1:00
*MAX.GEN.(D.P.) |  | 6916 |  | 12:00
|  |  |  | min | max
|  | 3063.9 | 3349 | 8:00 | 1:00
|  | 2664.1 | 3286.1 | 13:00 | 11:00
|  | 2910.2 | 3139.4 | 18:30 | 24:00
|  | 2664.1 | 3349 | 13:00 | 1:00
|  | 282 |  | 4:00
|  | 276 |  | 18:00
|  | 348 |  | 21:00
|  | 348 |  | 21:00
| Deputy Manager |  |  | Manager |  |  | Deputy General Manager
| Load Despatch Division |  |  | Load Despatch Division |  |  | Load Despatch Circle
NATIONAL LOAD DESPATCH CENTER
3595 MW (09:00 )
4008 MW(05:00 )
.4MW (19:30)
8406 MW (21:00)
6916 MW (12:00)

## En.Curve
QF-LDC-12
Date | 2017-04-14 |  | Energy | 180316758 | 0
TIME | GAS | HVDC | P.GEN(GAS). | P.GEN(OIL). | COAL | HYDRO | OIL | SHORTAGE | Tripura |  | DAILY ENERGY CURVE |  | 2017-04-14
0:00 | 1158 | 495 | 3215 | 2256 | 67 | 156 | 483 | 0 | 90
0:30 | 1144 | 494.5 | 3183.5 | 2149 | 67 | 156 | 481 | 0 | 87
1:00 | 1130 | 494 | 3152 | 2042 | 67 | 156 | 479 | 0 | 84
1:30 | 1129 | 494.5 | 3157 | 1943 | 67 | 151 | 455.5 | 0 | 83 | [5 empty] | 180.3168
2:00 | 1128 | 495 | 3162 | 1844 | 67 | 146 | 432 | 0 | 82 | [5 empty] | 0
2:30 | 1126 | 495 | 3179.5 | 1815 | 67 | 145.5 | 381 | 0 | 81 | [5 empty] | 180.3168
3:00 | 1124 | 495 | 3197 | 1786 | 67 | 145 | 330 | 0 | 80
3:30 | 1153.5 | 494.5 | 3215.5 | 1651.5 | 67 | 144.5 | 312 | 0 | 74
4:00 | 1183 | 494 | 3234 | 1517 | 67 | 144 | 294 | 0 | 68
4:30 | 1182.5 | 494.5 | 3242 | 1495 | 67.5 | 137 | 269.5 | 0 | 69
5:00 | 1182 | 495 | 3250 | 1473 | 68 | 130 | 245 | 0 | 70
5:30 | 1173.5 | 495 | 3182.5 | 1373 | 67.5 | 115 | 220 | 0 | 68
6:00 | 1165 | 495 | 3115 | 1273 | 67 | 100 | 195 | 0 | 66
6:30 | 1146 | 495 | 3039.5 | 1230 | 67 | 95 | 148.5 | 0 | 63
7:00 | 1127 | 495 | 2964 | 1187 | 67 | 90 | 102 | 0 | 60
7:30 | 1062 | 495 | 2971 | 1193.5 | 67 | 90 | 102.5 | 0 | 61
8:00 | 997 | 495 | 2978 | 1200 | 67 | 90 | 103 | 0 | 62
8:30 | 991 | 495 | 2994.5 | 1183.5 | 66.5 | 97 | 103 | 0 | 62
9:00 | 985 | 495 | 3011 | 1167 | 66 | 104 | 103 | 0 | 62
9:30 | 1001.5 | 495 | 3116 | 1174 | 66 | 94.5 | 83 | 0 | 67
10:00 | 1018 | 495 | 3221 | 1181 | 66 | 85 | 63 | 0 | 72
10:30 | 977.5 | 488.5 | 3315 | 1175 | 67 | 86 | 63 | 0 | 73
11:00 | 937 | 482 | 3409 | 1169 | 68 | 87 | 63 | 0 | 74
11:30 | 966 | 482.5 | 3455 | 1204 | 67.5 | 87 | 61.5 | 0 | 74
12:00 | 995 | 483 | 3501 | 1239 | 67 | 87 | 60 | 0 | 74
12:30 | 1000.5 | 483 | 3507.5 | 1243 | 66.5 | 101.5 | 64 | 0 | 75
13:00 | 1006 | 483 | 3514 | 1247 | 66 | 116 | 68 | 0 | 76
13:30 | 1005.5 | 482 | 3423.5 | 1289 | 67 | 108 | 78 | 0 | 77
14:00 | 1005 | 481 | 3333 | 1331 | 68 | 100 | 88 | 0 | 78
14:30 | 1073.5 | 481.5 | 3393.5 | 1342.5 | 68 | 112.5 | 88 | 0 | 77
15:00 | 1142 | 482 | 3454 | 1354 | 68 | 125 | 88 | 0 | 76
15:30 | 1154.5 | 482 | 3309 | 1360 | 67.5 | 123.5 | 104.5 | 0 | 77
16:00 | 1167 | 482 | 3164 | 1366 | 67 | 122 | 121 | 0 | 78
16:30 | 1131.5 | 481.5 | 3111.5 | 1310 | 67.5 | 120 | 129.5 | 0 | 75
17:00 | 1096 | 481 | 3059 | 1254 | 68 | 118 | 138 | 0 | 72
17:30 | 1080.5 | 481.5 | 3003.5 | 1247 | 68 | 114 | 214 | 0 | 73 | Max Temp. in Dhaka |  | 34.8° C
18:00 | 1065 | 482 | 2948 | 1240 | 68 | 110 | 290 | 0 | 74
18:30 | 1099.5 | 481.5 | 3259.5 | 1351 | 68 | 116 | 393 | 0 | 92
19:00 | 1134 | 481 | 3571 | 1462 | 68 | 122 | 496 | 0 | 90
19:30 | 1148 | 480 | 3629 | 1610 | 68 | 122 | 506 | 0 | 92
20:00 | 1171 | 481 | 3607 | 1604 | 68 | 124 | 505 | 0 | 92
20:30 | 1192.5 | 480.5 | 3696 | 1604 | 68 | 124 | 497 | 0 | 92
21:00 | 1214 | 480 | 3785 | 1604 | 68 | 124 | 489 | 0 | 92
21:30 | 1217.5 | 480 | 3784.5 | 1614.5 | 67.5 | 126 | 487 | 0 | 91
22:00 | 1221 | 480 | 3784 | 1625 | 67 | 128 | 485 | 0 | 90
22:30 | 1228.5 | 480 | 3787.5 | 1625 | 67.5 | 126 | 483.5 | 0 | 87
23:00 | 1236 | 480 | 3791 | 1625 | 68 | 124 | 482 | 0 | 84
23:30 | 1218 | 480.5 | 3767.5 | 1590 | 68 | 124.5 | 470 | 0 | 81
24:00 | 1200 | 481 | 3744 | 1555 | 68 | 125 | 458 | 0 | 78
|  | 1490 |  |  |  |  | 2380 | 0
|  | Deputy / Asstt. Manager |  |  | Manager
|  | Load Despatch Division |  |  | Load Despatch Division
NATIONAL LOAD DESPATCH CENTER
Tripura

## volt
MAXIMUM & MINIMUM VOLTAGES OF DIFFERENT GRID SUB-STATIONS.
Date: | 2017-04-14
Sub-Station | Maxm | Hour | Minm | Hour | Sub-Station | Maxm | Hour | Minm | Hour
| Voltage |  | Voltage |  |  | Voltage |  | Voltage
230 KV | KV |  | KV |  | 230 KV | KV |  | KV
Ghorasal | 225 | 14:00 | 220 | 1:00 | Tongi | 212 | 13:00 | 207 | 22:00
Ishurdi | 230 | 18:00 | 215 | 20:00 | Comilla (N) | 225 | 2:00 | 222 | 15:00
Ashuganj | 234 | 5:00 | 230 | 1:00 | Hathazari | 215 | 5:00 | 207 | 16:00
Serajganj | 217 | 17:00 | 210 | 1:00 | Megnaghat | 222 | 18:00 | 220 | 1:00
Baghabari | 219 | 14:00 | 210 | 18:30 | Fenchuganj | 235 | 11:00 | 231 | 6:00
Barapukuria | 220 | 17:00 | 214 | 1:00 | Siddhirganj | 235 | 19:00 | 228 | 5:00
Bogra | 213 | 14:00 | 203 | 1:00 | Maniknagar | 233 | 18:00 | 227 | 4:00
Khulna South | 230 | 5:00 | 213 | 19:00 | Old Airport | 216 | 1:00 | 214 | 21:00
Rampura | 217 | 6:00 | 213 | 22:00 | Barisal | 238 | 18:00 | 227 | 12:00
Haripur | 217 | 19:00 | 215 | 11:00 | AKSML | 213 | 13:00 | 203 | 12:00
Hasnabad | 220 | 14:00 | 210 | 15:00 | BSRM | 216 | 18:00 | 208 | 16:00
Aminbazar | 218 | 18:00 | 215 | 4:00 | Bibiyana | 0 | 1:00 | 0 | 12:00
132 kV | KV |  | KV |  | 132 kV | KV |  | KV
Siddhirganj | 140 | 1900 | 136 | 300 | Madanhat | 131 | 500 | 125 | 1500
Munsiganj | 136 | 1800 | 133 | 500 | Hathazari | 130 | 600 | 124 | 1600
Megnaghat | 134 | 1800 | 130 | 700 | Khulshi | 128 | 500 | 121 | 1600
Shyampur | 132 | 100 | 127 | 1600 | Halishahar | 130 | 600 | 123 | 1500
Bhulta | 126 | 1100 | 125 | 100 | Baraulia | 26 | 500 | 120 | 1600
Madanganj | 136 | 1900 | 130 | 300 | Sikalbaha | 127 | 700 | 124 | 1500
Shitalakhya | 140 | 1900 | 135 | 400 | Dohazari | 128 | 600 | 124 | 1500
Rahim steal | 136 | 1900 | 134 | 100 | Cox'sbazar | 123 | 600 | 116 | 1500
Matuail | 136 | 1800 | 133 | 300 | Chandraghona | 130 | 500 | 124 | 1600
Ghorasal | 136 | 1300 | 133 | 100 | Kaptai | 130 | 100 | 127 | 900
Narsinghdi | 133 | 900 | 129 | 200 | A. Khaer Stl. | 125 | 400 | 124 | 1200
Haripur (SBU) | 136 | 1400 | 133 | 400 | Bakulia | 128 | 600 | 122 | 1500
Ullon | 134 | 500 | 130 | 2000 | Julda | 127 | 300 | 123 | 1400
Hasnabad | 137 | 2000 | 134 | 100 | TK Chemical | 131 | 500 | 126 | 1500
Magbazar | 134 | 600 | 130 | 2000 | Modern Steel | 127 | 1800 | 122 | 1600
Maniknagar | 136 | 1300 | 133 | 100 | Shahmirpur | 127 | 600 | 123 | 1200
Bangabhaban | 135 | 2000 | 133 | 500 | Goalpara | 136 | 500 | 128 | 1900
Narinda | 133 | 1800 | 133 | 2000 | Central s/s | 137 | 500 | 129 | 1200
Dhanmondi | 136 | 1300 | 133 | 100 | Noapara | 135 | 400 | 122 | 1930
Lalbag | 135 | 2000 | 131 | 500 | Jessore | 127 | 700 | 116 | 2200
Madartek | 133 | 1800 | 130 | 2000 | Jhenida | 126 | 500 | 108 | 1200
Mirpur | 131 | 300 | 129 | 1200 | Bottail | 131 | 1800 | 120 | 2000
Kalyanpur | 133 | 200 | 131 | 1200 | G.K.Project | 133 | 1800 | 123 | 2000
Gulshan | 134 | 200 | 130 | 1200 | Faridpur | 132 | 1800 | 122 | 1200
Uttara | 130 | 600 | 127 | 1200 | Madaripur | 133 | 1800 | 123 | 1200
Kamrangirchar | 136 | 300 | 134 | 1200 | Gopalganj | 137 | 1800 | 124 | 1200
Savar | 132 | 200 | 129 | 1200 | Bagerhat | 137 | 400 | 130 | 1300
Bhasantec | 132 | 300 | 131 | 1200 | Mongla | 132 | 600 | 123 | 2100
Agargaon | 133 | 200 | 130 | 1200 | Satkhira | 130 | 200 | 122 | 1930
Satmosjid | 133 | 300 | 130 | 2100 | Gallamari | 137 | 500 | 127 | 1200
Tongi | 133 | 1800 | 129 | 100 | Magura | 125 | 500 | 106 | 1200
Kabirpur | 135 | 1300 | 128 | 400 | Chuadanga | 122 | 600 | 104 | 1200
Basundhara | 130 | 400 | 126 | 2100 | Barisal | 137 | 1800 | 131 | 1300
Manikganj | 137 | 1800 | 130 | 100 | Patuakhali | 137 | 1800 | 131 | 1300
Joydevpur | 135 | 1300 | 131 | 400 | Bhandaria | 135 | 1800 | 126 | 1200
New Tongi | 132 | 1800 | 127 | 100 | Ishurdi | 132 | 1800 | 123 | 2000
Kodda | 134 | 1100 | 129 | 400 | Natore | 130 | 1400 | 122 | 100
Tangail | 133 | 1600 | 122 | 100 | Bogra | 125 | 1400 | 118 | 100
Mymensing | 124 | 1400 | 116 | 1000 | Noagaon | 121 | 1400 | 112 | 1000
Kishorganj | 126 | 1400 | 120 | 100 | Rajshahi | 131 | 1800 | 120 | 100
Netrokona | 123 | 1400 | 115 | 100 | C.Nawabganj | 130 | 1830 | 118 | 100
Jamalpur | 124 | 1300 | 115 | 1100 | Amnura | 130 | 1700 | 122 | 100
Sherpur | 122 | 900 | 111 | 1000 | Pabna | 126 | 1800 | 118 | 2000
Srimongal | 139 | 1400 | 135 | 100 | Shahjadpur | 133 | 1800 | 126 | 100
Shahjibazar | 137 | 1300 | 132 | 2300 | Serajganj | 126 | 1800 | 120 | 1200
Fenchuganj | 136 | 600 | 133 | 2000 | Niyamatpur | 118 | 1700 | 103 | 700
Khulawara | 135 | 100 | 133 | 2000 | Joypurhat | 120 | 1700 | 110 | 700
Sylhet | 134 | 600 | 130 | 2300 | Rangpur | 117 | 1400 | 110 | 100
Chatak | 134 | 600 | 128 | 2000 | Lalmonirhat | 112 | 1300 | 102 | 400
Comilla(s) | 132 | 200 | 124 | 1900 | Saidpur | 117 | 1400 | 109 | 1830
Comilla(n) | 134 | 700 | 132 | 900 | Purbasadipur | 119 | 2100 | 109 | 1830
Chandpur | 129 | 900 | 124 | 2200 | Thakurgaon | 114 | 1300 | 107 | 600
Feni | 120 | 1830 | 116 | 1500 | Palashbari | 120 | 1400 | 113 | 100
Chowmuhani | 125 | 800 | 121 | 1600 | Barapukuria | 120 | 1400 | 114 | 100
Ashuganj | 135 | 1300 | 131 | 100 | Panchagar | 114 | 1500 | 99 | 1830
Daudkandi | 134 | 1900 | 131 | 1500
B.Baria | 135 | 1400 | 131 | 2300
Page 7 of 7