## Daily Gen
Hourly Generation & Demand
Date: | 2015-12-02
Time | Generation | Demand | Loadshed | Remarks
Hour | MW | MW | MW
1:00 | 4364 | 4364 | 0
2:00 | 4213 | 4213 | 0
3:00 | 4129 | 4129 | 0
4:00 | 3918 | 3918 | 0
5:00 | 3974 | 3974 | 0
6:00 | 4250 | 4250 | 0
7:00 | 4330 | 4330 | 0
8:00 | 4884 | 4884 | 0
9:00 | 4941 | 4941 | 0
10:00 | 5043 | 5043 | 0
11:00 | 5091 | 5091 | 0
12:00 | 5248 | 5248 | 0 | Day peak
13:00 | 5177 | 5177 | 0
14:00 | 4912 | 4912 | 0
15:00 | 5095 | 5095 | 0
16:00 | 5160 | 5160 | 0
17:00 | 5701 | 5701 | 0
18:00 | 6779 | 6779 | 0
18:30 | 6925 | 6925 | 0 | Evening peak
19:00 | 6905 | 6905 | 0
19:30 | 6778 | 6778 | 0
20:00 | 6702 | 6702 | 0
21:00 | 6471 | 6471 | 0
22:00 | 5712 | 5712 | 0
23:00 | 5112 | 5112 | 0
24:00 | 4849 | 4849 | 0

## forecast
[7 empty] | POWER GRID COMPANY OF BANGLADESH LTD. | [6 empty] | QF-LDC-07
SUMMARY OF DAILY ELECTRICITY GENERATION
|  | Month : |  | 2015-12-03 |  |  | Day : | Thursday |  |  |  | Date : | 2015-12-03
| Probable Maximum Generation : |  |  |  | (a) At Day Peak Hour : |  | 4876 | MW |  | (b) At Evening Peak Hour : |  |  | 7556 | MW
| Water Level of Kaptai Lake at 06:00 hr (ft): |  |  |  | (a) Yesterday : |  | 101.32 |  |  | (b) Today: | 101.2 | (c) Rule Curve: |  | 105.82
Sl. | Name of the Power Station |  | Fuel | Producer | Installed Capacity |  |  | Actual Generation |  | Available Geneneration |  | Ev. Peak Gen.Shortage |  | Plants under |  | Probable
[7 empty] | Present | On | 2015-12-02 | On | 2015-12-03 | for Fuel | for Plants S/D | Shut down (Date) / |  | Start up
[7 empty] | Capacity | Day Peak | Ev. Peak | Day Peak | Ev. Peak | Limitation | or M/C prob. | Remarks |  | Date
[6 empty] | MW | MW | MW | MW | MW | MW | MW | MW
1a | Ghorasal ST: Unit-1, 2 |  | Gas | PDB | 2*55 | 110 | 85 | 78 | 80 | 80 | 80 |  |  | Machine problem
1b | Ghorasal ST: Unit-3 |  | Gas | PDB | 1*210 | 210 | 170 | 170 | 170 | 170 | 170
1c | Ghorasal ST: Unit-4 |  | Gas | PDB | 1*210 | 210 | 180 | 0 | 0 | 0 | 0 |  | 180 | 2015-05-01 |  | Unknown
1d | Ghorasal ST: Unit-5 |  | Gas | PDB | 1*210 | 210 | 190 | 0 | 0 | 0 | 0 |  | 110 | 2015-01-12 |  | Unknown
1e | Ghorasal ST: Unit-6 |  | Gas | PDB | 1*210 | 210 | 190 | 0 | 0 | 0 | 0 |  | 190 | (18/07/2010) |  | Long term maint.
2 | Ghorashal 100MW(Aggreko) |  | Gas | QRPP | 128*0.85 | 100 | 100 | 100 | 102 | 87 | 100
3 | Ghorashal 45MW (Aggreko) |  | Gas | QRPP | 58*0.85 | 45 | 45 | 47 | 46 | 46 | 45
4 | Ghorashal 78.5MW (MAX) |  | Gas | QRPP | 4*21.5 | 78 | 78 | 0 | 0 | 0 | 0 |  |  | Contract date expired 26/05/2014
5 | Ghorashal (Regent) |  | Gas | IPP | 34*3.35 | 108 | 108 | 95 | 100 | 100 | 100 |  | 8 | Engine problem
6 | Haripur GT: Unit-1, 2, 3 |  | Gas | PDB | 3*32 | 96 | 60 | 30 | 35 | 30 | 30 |  | 25 | Machine problem
7 | Haripur 412 MW CCPP |  | Gas | EGCB | 1*273+1*139 | 412 | 412 | 0 | 0 | 0 | 0 |  | 412 | 25/5/15 |  | Unknown
8 | Haripur NEPC (HFO) |  | HFO | IPP | 8*15 | 110 | 110 | 42 | 97 | 13 | 95 |  | 13 | Engine problem
9 | Haripur Power CCPP |  | Gas | IPP | 1*235+1*125 | 360 | 360 | 355 | 365 | 344 | 360
10 | Meghnaghat CCPP |  | Gas | IPP | 2*150+1*150 | 450 | 450 | 277 | 277 | 277 | 278 |  | 173 | ST Under maint. |  | Unknown
11 | Meghnaghat (IEL) |  | HFO | RPP | 12*8.9 | 100 | 100 | 91 | 91 | 57 | 92 |  | 9 | Engine problem
12 | Meghnaghat CCPP(Summit) |  | HSD | IPP | 2*110+1*110 | 305 | 305 | 0 | 0 | 0 | 305 |  |  | Low demand
13 | Madanganj (Summit) |  | HFO | QRPP | 6*17 | 102 | 100 | 97 | 100 | 75 | 100 |  | 2
14 | Keraniganj (Powerpac) |  | HFO | RPP | 8*13.45 | 100 | 100 | 55 | 60 | 31 | 53 |  | 40 | Transformer problem
15 | Narshingdi (Doreen) |  | Gas | SIPP,REB | 8*2.90 | 22 | 22 | 16 | 16 | 16 | 16 |  | 6 | Machine problem
16 | Siddhirgonj ST |  | Gas | PDB | 1*210 | 210 | 150 | 0 | 0 | 0 | 0 |  | 150 | 23/11/2015 |  | Unknown
17 | Siddhirgonj GT: Unit-1& 2 |  | Gas | EGCB | 2*105 | 210 | 210 | 198 | 210 | 140 | 210
18 | Siddhirganj (Desh) |  | HSD | QRPP | 96*1.2 | 96 | 98 | 30 | 83 | 0 | 82 |  |  | Engine problem
19 | Siddhirganj (Dutch Bangla) |  | HFO | RPP | 12*8.9 | 100 | 100 | 0 | 80 | 91 | 100
20 | Pagla (DPA ) |  | HSD | QRPP | 100*0.5 | 50 | 50 | 21 | 51 | 56 | 50
21 | Gagnagar (Orion) |  | HFO | IPP | 12*8.924 | 102 | 102 | 69 | 69 | 51 | 70 |  | 33 | Engine problem
22 | Katpotti 51 MW |  | HFO | IPP | 7*7.9 | 51 | 51 | 21 | 51 | 50 | 50
23 | Kodda Peaking |  | HFO | BPDB-RPCL | 9*17.06 | 149 | 149 | 51 | 155 | 17 | 149
23
24 | Summit Power, Dhaka |  | Gas | SIPP,REB | 6*3.67+2*6.97+14*8.73 | 146 | 146 | 95 | 93 | 90 | 100 |  | 53 | Machine problem
25 | Gazipur (RPCL) |  | HFO | IPP | 6*8.9 | 52 | 52 | 26 | 43 | 34 | 43 |  | 9 | Engine problem
26 | Tongi GT |  | Gas | PDB | 1* 105 | 105 | 105 | 0 | 0 | 0 | 0 | 105 |  | 2015-02-12 |  | Unknown
| Dhaka Area Total |  |  |  |  | 4609 | 4378 | 1964 | 2374 | 1855 | 2678 | 105 | 1413
27a | Chittagong ST: Unit-1 |  | Gas | PDB | 1*210 | 210 | 180 | 140 | 120 | 100 | 120 | 60 |  | Gas Shortage
27b | Chittagong ST: Unit-2 |  | Gas | PDB | 1*210 | 210 | 180 | 0 | 0 | 0 | 0 | 180 |  | 18/10/2015 |  | Unknown
28 | Raozan 25 MW (RPCL) |  | HFO | IPP | 3*8.9 | 25 | 25 | 17 | 26 | 26 | 25
29 | Patenga 50MW (Barakatullah) |  | HFO | IPP | 8*6.984 | 50 | 50 | 42 | 49 | 49 | 50
30 | Kaptai Hydro: Unit-1,2,3,4, 5 |  | Hydro | PDB | 2*40, 3*50 | 230 | 230 | 85 | 167 | 60 | 167 |  | 50 | #1&5(2/11/2015) |  | Unknown
31 | Sikalbaha ST |  | Gas | PDB | 1*60 | 60 | 40 | 0 | 0 | 0 | 0 |  | 40 | 22/11/15 |  | Unknown
32 | Sikalbaha Peaking GT |  | Gas | PDB | 1*150 | 150 | 150 | 0 | 0 | 0 | 0 | 150 |  | Gas Shortage
33 | Sikalbaha (Energis) |  | HFO | RPP |  | 40 | 40 | 42 | 42 | 35 | 42
34 | Hathazari peaking |  | HFO | PDB | 11*8.9 | 98 | 98 | 0 | 79 | 0 | 88 |  | 19 | Engine problem
35 | Dohazari-Kalaish Peaking |  | HFO | PDB | 6*17 | 102 | 102 | 0 | 85 | 0 | 85 |  |  | Low demand
36 | Juldah (Acorn) |  | HFO | QRPP | 8*13.45 | 100 | 100 | 82 | 87 | 78 | 100
37 | Barabkunda (Regent) |  | Gas | SIPP,PDB | 8*2.90 | 22 | 22 | 18 | 21 | 21 | 21 |  | 1 | Machine problem
* | Malancha, Ctg. EPZ (United) |  | Gas |  | 5*8.73+3*9.34 |  |  | 2 | 2 | 2 | 15
38 | Chittagong ECPV 108 MW |  | HFO | IPP |  | 108 | 108 | 101 | 94 | 86 | 101 |  | 14 | Engine problem
| Chittagong area Total |  |  |  |  | 1405 | 1325 | 529 | 772 | 457 | 814 | 390 | 124
39a | Ashuganj ST: Unit- 1 & 2 |  | Gas | APSCL | 2*64 | 128 | 97 | 52 | 52 | 52 | 52 |  | 97
39b | Ashuganj ST: Unit- 3 |  | Gas | APSCL | 1*150 | 150 | 135 | 132 | 132 | 132 | 132
39c | Ashuganj ST: Unit- 4 |  | Gas | APSCL | 1*150 | 150 | 129 | 150 | 150 | 150 | 150
39d | Ashuganj ST: Unit- 5 |  | Gas | APSCL | 1*150 | 150 | 134 | 0 | 0 | 0 | 0 |  |  | 2015-02-12 |  | 2015-05-12
39e | Ashuganj 225 MW(GT) |  | Gas | APSCL | 1*140 | 142 | 142 | 231 | 219 | 234 | 225
39f | Ashuganj : GT-2 |  | Gas | APSCL | 1*56 | 56 | 40 | 20 | 30 | 25 | 30 | 10 |  | Gas Shortage
40 | Ashuganj Engines |  | Gas | APSCL | 14*3.968 | 53 | 45 | 16 | 25 | 22 | 25 | 20 |  | Gas Shortage
41 | Ashuganj (Precision) |  | Gas | RPP | 15*4 | 55 | 55 | 10 | 30 | 10 | 30 | 25 |  | Gas Shortage
42 | Ashuganj (Aggrekko) |  | Gas | QRPP | 96*1.10 | 95 | 95 | 53 | 74 | 24 | 74 | 21 |  | Gas Shortage
43 | Ashuganj (United) |  | Gas | QRPP | 14*4 | 53 | 53 | 30 | 53 | 20 | 53 | 0 |  | Gas Shortage
44 | Ashuganj 195MW Modular |  | Gas | IPP | 20*9.7+1*16 | 195 | 195 | 150 | 193 | 123 | 190 |  | 3 | Machine problem
45 | Ashuganj (Midland) |  | Gas | IPP | 6*9.34 | 51 | 51 | 52 | 52 | 24 | 51 |  | 5 | Machine problem
46 | Brahmanbaria (Aggreko) |  | Gas | QRPP | 86*1.10 | 85 | 85 | 42 | 85 | 41 | 85
47 | Titas (Daudkandi) Peaking |  | HFO | PDB | 6*8.92 | 52 | 52 | 0 | 50 | 0 | 50
48 | Chandpur CCPP |  | Gas | PDB | 1*106+1*57 | 163 | 163 | 21 | 91 | 63 | 50
49 | Feni (Doreen) |  | Gas | SIPP,PDB | 8*2.90 | 22 | 22 | 19 | 21 | 19 | 21 |  | 1 | Machine problem
50 | Feni, Mohipal (Doreen) |  | Gas | SIPP,REB | 4*2.90 | 11 | 11 | 11 | 11 | 11 | 11
51 | Jangalia (Summit) |  | Gas | SIPP,PDB | 4*8.73 | 33 | 33 | 33 | 33 | 33 | 33
52 | Lakdhanvi-52 MW |  | HFO | (IPP) |  | 52 | 52 | 25 | 52 | 8 | 52
53 | Summit Power, Comilla |  | Gas | SIPP,REB | 3*3.6+2*6.9 | 25 | 25 | 19 | 22 | 7 | 22 |  | 3 | Machine problem
| Comilla Area Total |  |  |  |  | 1721 | 1614 | 1066 | 1375 | 998 | 1336 | 76 | 109
54 | RPCL CCPP |  | Gas | IPP | 4*35+1*70 | 210 | 202 | 153 | 156 | 158 | 156 | 46 |  | Gas Shortage
55 | Tangail (Doreen) |  | Gas | SIPP, PDB | 8*2.90 | 22 | 22 | 17 | 17 | 17 | 17 |  | 5 | Machine problem
| Mymensingh Area Total |  |  |  |  | 232 | 224 | 170 | 173 | 175 | 173 | 46 | 0
56 | Fenchugonj CCPP-1 |  | Gas | PDB | 2*32+1*33 | 97 | 80 | 31 | 31 | 0 | 31 |  | 49 | Machine problem
57 | Fenchugonj CCPP-2 |  | Gas | PDB | 2*35+1*35 | 104 | 90 | 33 | 0 | 0 | 0 |  | 90 | 2015-02-12 |  | Unknown
58 | Fenchugonj (Barakatullah) |  | Gas | RPP | 19*2.90 | 51 | 51 | 36 | 53 | 22 | 51
59 | Fenchuganj (Energyprima) |  | Gas | RPP | 12*3.3+5*2 | 44 | 44 | 44 | 42 | 42 | 42 |  | 2 | Machine problem
60 | Hobiganj (Confidence-EP) |  | Gas | SIPP, REB | 4*2.90 | 11 | 11 | 8 | 8 | 5 | 8 |  | 3 | Machine problem
61 | Shahjibazar GT: Unit- 8, 9 |  | Gas | PDB | 2*35 | 70 | 66 | 32 | 34 | 20 | 66
62 | Shahjibazar (Shahjibazar) |  | Gas | RPP | 32*2.90 | 86 | 86 | 40 | 86 | 20 | 86
63 | Shahjibazar (Energyprima) |  | Gas | RPP | 27*2.0 | 50 | 50 | 47 | 49 | 20 | 50 |  | 1 | Machine problem
64 | Sylhet 150 MW GT |  | Gas | PDB | 1*142 | 142 | 142 | 118 | 118 | 70 | 120 |  | 24 | Machine problem
65 | Sylhet 20 MW GT |  | Gas | PDB | 1*20 | 20 | 20 | 0 | 0 | 0 | 20 |  | 20
66 | Sylhet (Energyprima) |  | Gas | RPP | 27*2 | 50 | 50 | 42 | 46 | 44 | 45 |  | 4 | Machine problem
67 | Shahjahanulla 25 MW |  | Gas | SIPP, REB | 3*9.34 | 25 | 25 | 9 | 8 | 12 | 16
68 | Summit Bibiana- 2 |  | Gas | IPP | 1*222 | 222 | 222 | 17 | 18 | 18 | 17
69 | Sylhet (Desh) |  | Gas | RPP | 6*1.95 | 10 | 10 | 0 | 10 | 10 | 10
| Sylhet Area Total |  |  |  |  | 982 | 947 | 457 | 503 | 283 | 562 | 0 | 193
70 | Bheramara GT: Unit- 1, 2 ,3 |  | HSD | PDB | 3X20 | 60 | 46 | 0 | 34 | 0 | 34 |  | 16 | GT-2 Under maint.
71 | Bheramara (Quantum) |  | HSD | RPP | 12*8.5+2*6+2*13 | 105 | 105 | 0 | 0 | 0 | 0 |  | 105 | contract date experid 31/12/2013
** | Bheramara Interconnector(HVDC ) |  |  | Imported Power |  | 500 | 500 | 460 | 462 | 322 | 475
72a | Khulna ST 110MW |  | HFO | PDB | 1*110 | 110 | 55 | 0 | 0 | 0 | 0 |  | 55 | 2014-04-11 |  | Unknown
72b | Khulna ST 60 MW |  | HFO | PDB | 1*60 |  |  | 0 | 0 | 0 | 0 |  |  | Plant retired in FY 2013-2014
73 | Khulna (KPCL-1) |  | HFO | IPP | 19*6.5 | 110 | 110 | 47 | 110 | 45 | 110 |  | 2 | Engine problem
74 | Khulna (KPCL-2) |  | HFO | QRPP | 7*17 | 115 | 115 | 99 | 115 | 115 | 115 |  | 0 | Engine problem
75 | Faridpur Peaking |  | HFO | PDB | 8*6.89 | 54 | 54 | 0 | 37 | 0 | 44
76 | Khulna 150MW GT |  | HSD | NWZPGCL | 1*150 | 158 | 158 | 0 | 0 | 0 | 0 |  | 158 | 16/10/2015 |  | 2015-05-12
77 | Gopalganj Peaking |  | HFO | PDB | 16*6.98 | 109 | 109 | 0 | 77 | 0 | 85 |  | 32 | Engine problem
78 | Noapara (Quantam) |  | HFO | RPP | 5*9.9+6*9.5+2*9.2 | 101 | 101 | 0 | 0 | 0 | 0 |  | 101 | Long term maint.
79 | Noapara (Khanjahan Ali) |  | HFO | QRPP | 5*8.5 | 40 | 40 | 0 | 40 | 0 | 40
80 | Khulna (Aggreko) 55MW |  | HSD | QRPP | 71*0.85 | 55 | 55 | 0 | 43 | 0 | 55 |  |  | Low demand
| Khulna Area Total |  |  |  |  | 1517 | 1448 | 606 | 918 | 482 | 958 | 0 | 469
81 | Barisal GT: Unit-1, 2 |  | HSD | PDB | 2*20 | 40 | 30 | 0 | 0 | 0 | 0 |  | 30 | Under maintenance |  | Unknown
82 | Bhola (Venture) |  | Gas | RPP | 1*34.50 | 33 | 33 | 16 | 22 | 16 | 24 |  | 9 | Machine problem
83 | Bhola CCPP GT-1,2,ST |  | Gas | PDB | 2*63+1*68 | 194 | 194 | 192 | 189 | 171 | 194
. | Barisal Area Total |  |  |  |  | 267 | 257 | 208 | 211 | 187 | 218 | 0 | 39
84a | Baghabari GT |  | Gas | PDB | 1*71 | 71 | 71 | 0 | 0 | 0 | 0 |  | 71 | 20/11/2015 |  | 2015-09-12
84b | Baghabari GT |  | Gas | PDB | 1*100 | 100 | 100 | 60 | 95 | 101 | 100
85 | Baghabari Peaking |  | HFO | PDB | 6*8.9 | 52 | 52 | 0 | 32 | 0 | 32 |  | 20 | Engine problem
86 | Westmont GT, Baghabari |  | Gas | IPP |  |  |  | 0 | 0 | 0 | 0 |  |  | Plant Retired in FY 2013-2014
87 | Bera Peaking |  | HFO | PDB | 9*8.29 | 71 | 71 | 0 | 66 | 0 | 66 |  | 5 | Engine problem
88 | Amnura |  | HFO | QRPP | 7*7.79 | 50 | 50 | 12 | 42 | 12 | 41 |  | 8 | Engine problem
89 | Katakhali (Northern) |  | HFO | QRPP | 6*8.92 | 50 | 50 | 0 | 50 | 8 | 50
90 | Katakhali Peaking |  | HFO | PDB | 6*8.7 | 50 | 50 | 0 | 41 | 0 | 42 |  | 9 | Engine problem
91 | Sirajganj CCPP |  | Gas | NWPGCL | 1*150+1*75 | 210 | 210 | 0 | 0 | 180 | 210 |  |  | Low demand
92 | Santahar Peaking |  | HFO | PDB | 6*8.7 | 50 | 50 | 0 | 46 | 0 | 46 |  | 4 | Engine problem
93 | Bogra (GBB) |  | Gas | RPP | 6*4 | 20 | 22 | 18 | 22 | 22 | 22
94 | Bogra (Energyprima) |  | Gas | RPP | 5*3.3+5*2 | 20 | 20 | 17 | 17 | 16 | 17 |  | 3 | Machine problem
95 | Ullapara (Summit) |  | Gas | SIPP,REB | 4*2.90 | 11 | 11 | 11 | 11 | 11 | 11
96 | Rajlanka 52 MW |  | HFO | IPP | 6*8.92 | 52 | 52 | 46 | 52 | 8 | 52
| Rajshahi Area Total |  |  |  |  | 807 | 809 | 164 | 474 | 358 | 689 | 0 | 120
97a | Barapukuria ST: Unit-1 |  | Coal | PDB | 1*125 | 125 | 100 | 0 | 0 | 0 | 0 |  | 100 | 2015-05-11 |  | Unknown
97b | Barapukuria ST: Unit-2 |  | Coal | PDB | 1*125 | 125 | 100 | 84 | 82 | 81 | 84 |  | 18 | Machine problem
98 | Rangpur GT |  | HSD | PDB | 1*20 | 20 | 20 | 0 | 0 | 0 | 0 |  | 20 | 2015-02-11 |  | Unknown
99 | Syedpur GT |  | HSD | PDB | 1*20 | 20 | 20 | 0 | 18 | 0 | 19 |  |  | Low demand
100 | Thakurgaon (RZ) |  | HSD | RPP | 20*1.5+21*1.1 | 47 | 40 | 0 | 25 | 0 | 25 |  |  | Low demand
| Rangpur Area Total |  |  |  |  | 337 | 280 | 84 | 125 | 81 | 128 | 0 | 138
| Total |  |  |  |  | 11877 | 11282 | 5248 | 6925 | 4876 | 7556 | 617 | 2605
| Usable load at Substation end after deducting Auxiliary use & Transmission loss | [6 empty] | 4873.63 | 6431 | 4528.1669 | 7016
A. |  | 2015-12-02 | (Yesterday) |  |  |  |  | Wednesday
1 | Highest Generation : |  |  | 6925 | MW at | 18:30 | hrs | 11 Evening Peak Hour : | [5 empty] | 18:30 | hrs.
2 | Minimum Generation : |  |  | 3918 | MW at | 4:00 | hrs | 12 Max. Demand (Generation end) at evening peak hour : | [5 empty] | 6925 | MW
3 | Day peak Generation : |  |  | 5248 | MW at | 12:00 | hrs | 13 Max. Demand (Substation end) at evening peak hour : | [5 empty] | 6431 | MW
4 | Evening peak Generation : |  |  | 6925 | MW at | 18:30 | hrs | 14 Load Shed (Substation end) at evening peak hour : | [5 empty] | 0 | MW
5 | Total Energy Generation : |  |  | 120.3901 | MKWHr |  |  | 15. Area wise Demand (S/S end), Supply (S/S end) & | [5 empty] | 16 Hourly Load Shed during
| By Gas: | 87.1615 | MKWHr |  | By Oil: | 20.1067 | MKWHr | Load Shed (S/S end) at Evening peak hour in MW : | [5 empty] | Evening Peak hours :
| By Coal: | 1.9972 | MKWHr |  | By Hydro: | 2.041 | MKWHr | Area | Demand | Supply | Loadshed | (Duration) |  | Time |  | Loadshed
6 | Generation Shortfall : |  | For Gas: | 617 | For Oil: | 0 | MW | Dhaka | 2515 | 2515 | 0 |  |  | Hour |  | MW
|  |  | For Water Shortage: |  |  | 0 | MW | Chittagong | 736 | 736 | 0 |  |  | 18:00 |  | 0
|  |  | For Plants S/D or M/C prob: |  |  | 2605 | MW | Khulna | 770 | 770 | 0 |  |  | 18:30 |  | 0
7 | Total Gas Supplied : |  | 899.76 | MMCFD |  |  |  | Rajshahi | 673 | 673 | 0 |  |  | 19:00 |  | 0
8 | Fuel Cost : | i) Gas : |  | 56748282.404 | ii) Oil : Taka |  | 271360630.096 | Comilla | 571 | 571 | 0 |  |  | 19:30 |  | 0
|  | iii) Coal : | Taka | 7773242.512 | Total | Taka | 335882155.012 | Mymensingh | 395 | 395 | 0 |  |  | 20:00 |  | 0
9 | Export Through E-W Interconnectors : |  |  |  | i) Energy | 7.8675 | MKWHr. | Sylhet | 254 | 254 | 0 |  |  | 21:00 |  | 0
| ii) During Peak Demand : |  |  | -430 | MW at | 18:30 | hrs | Barisal | 135 | 135 | 0 |  |  | 22:00 |  | 0
| iii) Maximum : |  |  | -140 | MW at | 16:00 | hrs | Rangpur | 382 | 382 | 0 |  |  | 23:00 |  | 0
10 | Maximum Temperature in Dhaka was |  |  |  | 28.0° C |  |  | Total | 6431 | 6431 | 0
B. |  | 2015-12-03 | (Today) |  |  |  | Thursday |  |  | Probable max. temperature in Dhaka |  |  | 28.0° C
Forecast
1 | Maximum Demand* (Generation end) |  |  |  | 7000 | MW |  | 6 Total Load Shed forecast (Substation end) : |  |  |  |  | 0 | MW
2 | Maximum Generation (Generation end) |  |  |  | 7556 | MW |  | 7 Area wise Load Shed forecast (Substation end) :
3 | Reserve (Generation end) |  |  |  | 556 | MW |  | Dhaka | Chittagong | Khulna | Rajshahi | Comilla | Mymensingh | Sylhet | Barisal | Rangpur
4 | Total Energy Generation |  |  |  | 120 | MKWHr |  | MW | MW | MW | MW | MW | MW | MW | MW | MW
5 | Actual Minimum Generation up to 8:00 hrs. |  |  |  | 3940 | MW at | 4:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
* Import Through HVDC C/B Interconnector : |  |  |  |  | i) Energy | 9.0836 | MKWHr. | ii) During Peak demand: |  | 462 | MW at | 18:30 | hrs. | iii)Maximum: | 462 | MW at 11:00 hrs
*Cost for HVDC energy is not usually included in the total fuel cost. | [5 empty] | *Demand may vary depending on the weather condition &other factors.

## P1
POWER GRID COMPANY OF BANGLADESH LTD.
|  |  | NATIONAL LOAD DESPATCH CENTER |  |  |  |  | QF-LDC-08
|  |  | DAILY REPORT |  |  |  |  | Page -1
[6 empty] | Reporting Date : | 2015-12-03
Till now the maximum generation is : - |  |  | 8177 MW | 21:00 | Hrs on | 2015-08-13
The Summary of Yesterday's ( |  | 2015-12-02 | Generation & Demand |  | Today's Actual Min Gen. & Probable Gen. & Demand
Day Peak Generation : |  | 5248 | MW Hour : | 12:00 | Min. Gen. at | 4:00 | 3940 | MW
Evening Peak Generation : |  | 6925 | MW Hour : | 18:30 | Max Generation : |  | 7556 | MW
E.P. Demand (at gen end) : |  | 6925 | MW Hour : | 18:30 | Max Demand : |  | 7000 | MW
Maximum Generation : |  | 6925 | MW Hour : | 18:30 | Shortage : |  | 556 | MW
Total Gen. (MKWH) : |  | 120.3901 | System L/ Factor : | 72.44% | Load Shed : |  | 0 | MW
EXPORT / IMPORT THROUGH EAST-WEST INTERCONNECTOR
Export from East grid to West grid :- Maximum |  |  | -140 | MW at | 16:00 | Energy | 7.8675 | MKWHR.
Import from West grid to East grid :- Maximum |  |  | - | MW at | - | Energy | - | MKWHR.
|  | Water Level of Kaptai Lake at 6:00 A M on | 2015-12-03
Actual : | 101.2 | Ft.(MSL) , | Rule curve : | 105.82 | Ft.( MSL )
Gas Consumed : | Total | 899.76 | MMCFD. | Oil Consumed (PDB) :
[6 empty] | HSD : |  | Liter
[6 empty] | FO : |  | Liter
Cost of the Consumed Fuel (PDB+Pvt) : Gas : |  |  | 56748282.404
|  | Coal : | 7773242.512 | Oil : | 271360630.096 | Total : | 335882155.012
Load Shedding & Other Information
Area | Yesterday |  |  |  | Today
|  |  | Estimated Demand (S/S end) |  | Estimated Shedding (S/S end) |  | Rates of Shedding
| MW |  | MW |  |  | MW | (On Estimated Demand)
Dhaka | - | 0:00 | 2804 |  |  | - | -
Chittagong Area | - | 0:00 | 719 |  |  | - | -
Khulna Area | - | 0:00 | 801 |  |  | - | -
Rajshahi Area | - | 0:00 | 751 |  |  | - | -
Comilla Area | - | 0:00 | 583 |  |  | - | -
Mymensingh Area | - | 0:00 | 444 |  |  | - | -
Sylhet Area | - | 0:00 | 330 |  |  | - | -
Barisal Area | - | 0:00 | 155 |  |  | - | -
Rangpur Area | - | 0:00 | 429 |  |  | - | -
-
Total | 0 |  | 7016 |  |  | 0
Information of the Generating machines under shut down.
| Planned Shut- Down |  |  | Forced Shut- Down
|  |  |  | 1) Ghorasal ST: Unit-6 (18/07/2010) |  | 9) Raozan ST: Unit-2 (18/10/2015)
|  |  |  | 2) Ashuganj ST: Unit-1(12/09/2015) |  | 10) Barapukuria ST-1 (05/11/2015)
|  |  |  | 3) Khulna 150 MW (16/10/2015) |  | 11) Sikalbaha 60MW (23/11/15)
|  |  |  | 4) Khulna ST 110 MW (04/11/2014) |  | 12) Siddhirgonj ST(23/11/15)
|  |  |  | 5) Ghorasal ST: Unit-4 (05/01/2015) |  | 13) Ghorasal ST: Unit-5(01/12/2015)
6) Haripur GT-3
7) Haripur-412 MW (25/05/2015)
8) Raozan ST: Unit-2 (18/10/2015)
Additional Information of Machines, lines, Interruption / Forced Load shed etc.
| Description |  |  | Forced load shaded / Interrupted Areas
a) Sikalbaha-Dohazari 132 kV Ckt-1 was under shut down from 08:03 to 16:46 due to A/M.
b) Sonargaon-Daudkandi 132 kV Ckt-2 was under shut down from 08:44 to 17:00 due to A/M.
c) Feni-Chowmuhoni 132 kV Ckt-2 was under shut down from 08:19 to 15:48 due to A/M.
d) Aminbazar-Hasnabad 230 kV Ckt-2 was under shut down from 09:45 to 16:42 due to A/M.
e) Sherpur 132/33 kV T2 transformer was under shut down from 08:17 to 16:05 due to A/M.
f) Kishorganj-Ashuganj 132 kV Ckt-1 was under shut down from 08:17 to 16:53 due to A/M.
g) Mymensingh-Jamalpur 132 kV Ckt-1 was under shut down from 09:19 to 17:01 due to A/M.
h) Munshiganj 132/33 kV T1 transformer was under shut down from 09:32 to 17:01.
i) Shyampur-Haripur 132 kV Ckt was under shut down from 08:24 to 16:24 due to A/M.
j) Chatak 132/33 kV T2 transformer was under shut down from 07:49 to 14:52 due to A/M.
k) Sreemongal 132/33 kV T2 transformer was under shut down from 08:29 to 15:05 due to A/M.
l) Bogra-Barapukuria 230 kV Ckt-2 was under shut down from 08:22 to 16:03 due to A/M.
m) Noapara-Bogra 132 kV Ckt-1 was under shut down from 09:15 to 16:55 due to A/M.
n) Pabna 132/33 kV T2 transformer was under shut down from 08:20 to 17:24 due to A/M.
o) Khulna Central 132/33 kV T2 transformer was under shut down from 08:20 to 17:24 due to A/M.
p) Siddhirganj-Dutch Bangla P/S 132 KV bay was under shut down from 09:43 to 16:41 due to A/M.
q) Shyampur GT-3 & GT-4 transformers were under shut down from 09:35 to 16:14 due to 33 kV red hot |  |  |  | About 40 MW power interruption occurred under Shyampur S/S areas
maintenance. |  |  |  | from 09:35 to 16:14.
r) Agargaon 230/132 kV T2 transformer was under shut down from 09:41 to 13:14 due to relay replacement
work.
s) Tongi 230/132 kV T transformer was under shut down from 09:11 to 14:42 due to A/M.
t) B.Baria 132/33 kV T1 transformer was under shut down from 09:02 to 13:03 due to A/M.
u) Rampura 132 kV capacitor bank was under shut down from 09:50 to 15:09 due to A/M.
v) Manikganj 132/33 kV GT-4 transformer was under shut down from 10:50 to 17:30 due to energy meter replacement work.
w) Mymensingh 132/33 kV T1 transformer was under shut down from 10:26 to 12:30 due to oil leakage
maintenance.
x) B.Baria 132/33 kV T2 transformer was under shut down from 13:06 to 16:32 due to A/M.
y) After maintenance Ashuganj 225 MW ST was synchronized at 17:48.
z) After maintenance Sirajganj GT was synchronized at 19:11.
aa) After maintenance Haripur-Rahim Steel 132 kV Ckt was switched on at 20:20.
ab) Haripur-Shyampur 132 kV Ckt tripped at 22:23 showing dist.relay from both end and was switched on
at 22:29.
ac) Jamalpur 132/33 kV S/S both incoming Ckt interrupted manually from 21:24 to 21:50 from |  |  |  | About 94 MW power interruption occurred under Jamalpur & Sherpur S/S areas
Mymensingh due to flash over at 33 kV Modhupur feeder. At the same time Sherpur S/S also interrupted. |  |  |  | from 21:24 to 21:50.

## P2
POWER GRID COMPANY OF BANGLADESH LTD.
Description of the generation of various Power Stations
| Date : | 2015-12-02 | [6 empty] | Page -2
[5 empty] | Present | Peak Hour | Energy
| Name of Power Station |  | Unit | Producer | Generation | Generation | Generated |  | Remarks
Capacity
[5 empty] | MW | MW | KWHr
1a | Ghorasal ST: Unit-1, 2 |  | 2*55 | PDB | 85 | 80 | 1624000 | Machine problem
1b | Ghorasal ST: Unit-3 |  | 1*210 | PDB | 170 | 170 | 4274235
1c | Ghorasal ST: Unit-4 |  | 1*210 | PDB | 180 | 0 | 0 | Under maint
1d | Ghorasal ST: Unit-5 |  | 1*210 | PDB | 190 | 0 | 0 | Under maint
1e | Ghorasal ST: Unit-6 |  | 1*210 | PDB | 190 | 0 |  | Long term maint.
2 | Ghorashal 100MW(Agreko) |  | 128*0.85 | QRPP | 100 | 102 | 2193000
3 | Ghorashal 45MW(Agreko) |  | 58*0.85 | QRPP | 45 | 46 | 981890
4 | Ghorashal 78.5 MW (MAX) |  | 4*21.5 | QRPP | 78 | 0 | 37500 | Contract Date Expired, Long term maint
5 | Ghorashal (Regent) |  | 34*3.35 | IPP | 108 | 100 | 2293727 | Machine problem
6 |  |  | 1*32 | PDB | 20 | 35 | 735300
| Haripur GT: Unit-1, 2, 3 |  | 1*32 | PDB | 20 | 0 |  | Machine problem
|  |  | 1*32 | PDB | 20 | 0 |  | Machine problem
7 | Haripur EGCB 412 MW CCPP |  | 1*273+1*139 | EGCB | 412 | 0 | 0 | Under maint.
8 | Haripur NEPC(HFO) |  | 8*15 | IPP | 110 | 97 | 773100 | Engine problem
9 | Haripur Power CCPP |  | 1*235+1*125 | IPP | 360 | 365 | 8437000
10 | Meghnaghat CCPP |  | 2*150+1*150 | IPP | 450 | 277 | 6200000 | ST Under maint.
11 | Meghnaghat (IEL) |  | 12*8.9 | RPP | 100 | 91 | 1409280 | Engine problem
12 | Meghnaghat CCPP(Summit) |  | 2*110+1*110 | IPP | 305 | 0 | 0 | Reserve
13 | Madanganj (Summit) |  | 6*17 | QRPP | 100 | 100 | 1761912
14 | Keraniganj (Powerpac) |  | 8*13.45 | RPP | 100 | 60 | 937801 | Transformer problem
15 | Narsingdi (Doreen) |  | 8 * 2.9 | SIPP, REB | 22 | 16 | 369252 | Machine problem
16 | Siddhirgonj ST |  | 1*210 | PDB | 150 | 0 | 0 | Under maint.
17 | Siddhirgonj GT : Unit-1 & 2 |  | 2*105 | EGCB | 210 | 210 | 4288000
18 | Siddhirgonj (Desh) |  | 96*1.2 | QRPP | 98 | 83 | 349440 | Engine problem
19 | Siddhirgonj (Dutch Bangla) |  | 12*8.9 | RPP | 100 | 80 | 706824 | Engine problem
20 | Pagla (DPA) |  | 100*0.5 | QRPP | 50 | 51 | 321330
21 | Gagnagar (Orion) |  | 12*8.924 | IPP | 102 | 69 | 1194624 | Low demand
22 | Katpotti 52 MW |  |  | RPP | 51 | 51 | 546240
23 | Kodda Peaking |  | 9*17.06 | BPDB-RPCL | 149 | 155 | 1083840
24
25
24 | Summit Power,Dhaka |  | 6*3.67+2*6.97+14*8.73 | SIPP, REB | 146 | 93 | 2389117 | Machine problem
25 | Gazipur (RPCL) |  | 6*8.9 | IPP | 52 | 43 | 452160 | Engine problem
26 | Tongi GT |  | 1*105 | PDB | 105 | 0 | 0 | Gas Shortage
| Dhaka Area Total |  |  |  | 4378 | 2374 | 43359572
27a | Chitagong ST:Unit-1 |  | 1*210 | PDB | 180 | 120 | 3500000 | Gas Shortage
27b | Chitagong ST:Unit-2 |  | 1*210 | PDB | 180 | 0 | 0 | Under maint
28 | Raozan 25 MW (RPCL) |  | 3*8.9 | IPP | 25 | 26 | 238860
29 | Patenga 50 MW(Barakatulla) |  | 8*6.89 | IPP | 50 | 49 | 924480
30 | Chittagong ECPV 108 MW |  |  | IPP | 108 | 94 | 1584000 | Engine problem
31 |  |  | 1*40 | PDB | 40 | 44 | 1915487
|  |  | 1*40 | PDB | 40 | 40
| Karnafuli Hydro Power Station |  | 1*50 | PDB | 50 | 53
|  |  | 1*50 | PDB | 50 | 30 | 125500
|  |  | 1*50 | PDB | 50 | 0 |  | Under maint
32 | Shikalbaha ST |  | 1*60 | PDB | 40 | 0 | 0 | Under maint
33 | Shikalbaha peaking GT |  | 1*150 | PDB | 150 | 0 | 0 | Gas shortage
34 | Hathazari peaking |  | 11*8.9 | PDB | 98 | 79 | 196095 | Engine problem
35 | Dohazari-Kalaish peaking |  | 6*17 | PDB | 102 | 85 | 271768 | Low demand
36 | Juldah (Acorn) |  | 8*13.45 | QRPP | 100 | 87 | 1525560 | Engine problem
37 | Shikalbaha (Energis) |  |  | RPP | 40 | 42 | 600960
38 | Barabkunda (regent) |  | 8*2.90 | SIPP, PDB | 22 | 21 | 498912
* | Malancha, Ctg EPZ(United) |  |  |  |  | 2 | 456960
| Chittagong Area Total |  |  |  | 1325 | 772 | 11838582
39a | Ashuganj ST: Unit- 1 & 2 |  | 1*64 | APSCL | 97 | 0 | 1227981 | Under maint
|  |  | 1*64 | APSCL |  | 52
39b | Ashuganj ST: Unit- 3 |  | 1*150 | APSCL | 135 | 132 | 3133862
39c | Ashuganj ST: Unit- 4 |  | 1*150 | APSCL | 129 | 150 | 3512725
39d | Ashuganj ST: Unit- 5 |  | 1*150 | APSCL | 134 | 0 | 0
39e | Ashuganj CCPP 225 MW |  | 1*140 | APSCL | 142 | 219 | 5046500
39f | Ashuganj : GT-2 |  | 1*56 | APSCL | 40 | 30 | 561634 | Gas Shortage
40 | Ashuganj-Engines |  | 14*3.968 | APSCL | 45 | 25 | 459432 | Machine problem
41 | Ashugonj (Precision) |  | 15*4 | RPP | 55 | 30 | 424800 | Gas shortage
42 | Ashuganj (Aggrekko) |  | 82*1.1 | RPP | 95 | 74 | 1116470 | Gas shortage
43 | Ashuganj (United) |  | 14*4 | RPP | 53 | 53 | 731000
44 | Ashuganj Modular 200 MW |  |  | IPP | 195 | 193 | 3680000
45 | Ashuganj (Midland) |  | 6*9.34 | IPP | 51 | 52 | 1162935
46 | Brahmanbaria (Aggreko) |  | 72*1.1 | QRPP | 85 | 85 | 1111000
47 | Titas (Daudkandi) Peaking |  | 6 * 8.92 | PDB | 52 | 50 | 193080
48 | Chandpur CCPP |  | 1*106+1*57 | PDB | 163 | 91 | 1471906 | Under maint.
49 | Feni(Doreen) |  | 8 *2.94 | SIPP, PDB | 22 | 21 | 500292
50 | Feni Mohipal (Doreen) |  | 4*2.9 | SIPP, REB | 11 | 11 | 235440
51 | Jangalia (Summit) |  | 4*8.73 | SIPP, PDB | 33 | 33 | 819200
52 | Lakdamavi-52 MW |  |  | IPP | 52 | 52 | 580368
53 | Summit Power,Comilla |  | 3*3.67+2*6.9 | SIPP, REB | 25 | 22 | 505060
| Comilla Area Total |  |  |  | 1614 | 1375 | 26473685
54 | RPCL CCPP |  | 4*35+1*70 | IPP | 202 | 156 | 3520000 | Gas shortage
55 | Tangail (Doreen) |  | 8 *2.9 | SIPP,PDB | 22 | 17 | 384948 | Machine problem
| Mymensingh Area Total |  |  |  | 224 | 173 | 3904948
56 | Fenchugonj CCPP-1 |  | 2*32+1*33 | PDB | 80 | 31 | 685000 | Machine problem
57 | Fenchugonj CCPP-2 |  | 2*35+1*35 | PDB | 90 | 0 | 807300 | Under maint.
58 | Fenchugonj RPP (51 MW) |  | 2.9*19 | RPP | 51 | 53 | 985200
59 | Fenchuganj (Energyprima) |  | 12*3.3+5*2 | RPP | 44 | 42 | 970000
60 | Hobiganj (Confidence-EP) |  | 4*2.9 | SIPP, REB | 11 | 8 | 198432 | Machine problem
61 | Shahjibazar GT: Unit-8,9 |  | 32*2.9 | PDB | 66 | 34 | 925000 | Frequency control
62 | Shahjibazar (Shahjibazar) |  | 32*2.9 | RPP | 86 | 86 | 1207680
63 | Shahjibazar (Energyprima) |  | 27*2.0 | RPP | 50 | 49 | 797040
64 | Sylhet 150 MW GT |  | 1*142 | PDB | 142 | 118 | 2565490 | Machine problem
65 | Sylhet 20 MW GT |  | 1*20 | PDB | 20 | 0 | 92000 | Under maint
66 | Sylhet (Energyprima) |  | 27 * 2.0 | RPP | 50 | 46 | 1042660 | Machine problem
67 | Shahjahanulla 25MW |  | 3 * 9.34 | CIPP,REB | 25 | 8 | 295848 | Gas shortage
68 | Summit Bibiana-2 |  | 1*222 | IPP | 222 | 18 | 324520 | Machine problem
69 | Sylhet (Desh) |  | 6*1.95 | RPP | 10 | 10 | 133200
| Sylhet Area Total |  |  |  | 947 | 503 | 11029370
|  |  | 1*20 | PDB | 16 | 17 | 46000
70 | Bheramara GT: Unit-1,2,3 |  | 1*20 | PDB | 14 | 0 |  | Under maint
|  |  | 1*20 | PDB | 16 | 17
71 | Bheramara (Quantum) |  | 12*8.5+2*6+2*13 | RPP | 105 | 0 | 0 | All Engine problem, Long term maint
** | Bheramara Interconnector(HVDC) |  |  | Imported Power | 500 | 462 | 9083636
72a | Khulna ST 110 MW |  | 1*110 | PDB | 55 | 0 | 0 | Under maint
72b | Khulna ST 60 MW |  | 1*60 | PDB |  | 0 | 0 | Plant Retired in FY 2013-2014
73 | Khulna (KPCL-1) |  | 19*6.5 | IPP | 110 | 110 | 1430400
74 | Khulna (KPCL-2) |  | 7*17 | QRPP | 115 | 115 | 1751040
75 | Faridpur Peaking |  | 8*6.89 | PDB | 54 | 37 | 178560 | Engine problem
76 | Khulna 150 MW GT |  | 1*150 | NWZPGCL | 158 | 0 | 0 | Under maint
77 | Gopalganj Peaking |  | 16*6.98 | PDB | 109 | 77 | 323456 | Engine problem
78 | Noapara (Quantam) |  | 9.9*5+9.5*6+9.2*2 | RPP | 101 | 0 | 0 | All Engine problem, Long term maint
79 | Noapara (Khanjahan Ali) |  | 5*8.5 | QRPP | 40 | 40 | 282375
80 | Khulna (Aggreko) 55MW |  | 71*0.85 | QRPP | 55 | 43 | 71300 | Low demand
| Khulna Area Total |  |  |  | 1448 | 918 | 13166767
81 | Barisal GT: Unit-1,2 |  | 1*20 | PDB | 16 | 0 | 0 | Under maint.
|  |  | 1*20 | PDB | 14 | 0 |  | Under maint.
82 | Bhola (Venture) |  | 1*34.5 | RPP | 33 | 22 | 427544 | Machine problem
83 | Bhola CCPP GT-1,2,ST |  | 2*63+1*68 | PDB | 194 | 189 | 4651860
| Barisal Area Total |  |  |  | 257 | 211 | 5079404
84a | Baghabari GT |  | 1*71 | PDB | 71 | 0 | 0 | Under maint.
84b | Baghabari GT |  | 1*100 | PDB | 100 | 95 | 204000
85 | Baghabari Peaking |  | 6*8.9 | PDB | 52 | 32 | 129307 | Engine problem
86 | Westmont GT, Baghabari |  |  | IPP |  | 0 | 0 | Plant Retired in FY 2013-2014
87 | Bera Peaking |  | 9*8.29 | PDB | 71 | 66 | 268791 | Engine problem
88 | Amnura |  | 7*7.79 | QRPP | 50 | 42 | 327010 | Engine problem
89 | Katakhali (Northern) |  | 6*8.92 | QRPP | 50 | 50 | 238781
90 | Katakhali Peaking |  | 6*8.7 | PDB | 50 | 41 | 161651 | Engine problem
91 | Sirajganj CCPP |  | 1*50+1*75 | NWPGCL | 210 | 0 | 318873 | Under maint.
92 | Santahar Peaking |  | 6*8.7 | PDB | 50 | 46 | 199632 | Engine problem
93 | Bogra (GBB) |  | 6*4 | RPP | 22 | 22 | 513820
94 | Bogra (Energyprima) |  | 5*3.3+5*2 | RPP | 20 | 17 | 400428 | Machine problem
95 | Ullapara (Summit) |  | 4 *2.90 | SIPP, REB | 11 | 11 | 180396 | Machine problem
96 | Rajlanka 52 MW |  | 6*8.92 | IPP | 52 | 52 | 466560
| Rajshahi Area Total |  |  |  | 809 | 474 | 3409249
97a | Barapukuria ST: Unit-1 |  | 1*125 | PDB | 100 | 0 | 0 | Under maint.
97b | Barapukuria ST: Unit-2 |  | 1*125 | PDB | 100 | 82 | 1997236 | Machine problem
98 | Rangpur GT |  | 1*20 | PDB | 20 | 0 | 0 | Under maint.
99 | Saidpur GT |  | 1*20 | PDB | 20 | 18 | 45000
100 | Thakurgaon (RZ) |  | 20*1.5+21*1.1 | RPP | 40 | 25 | 86280 | Low demand
| Rangpur Area Total |  |  |  | 280 | 125 | 2128516
| Total |  |  |  | 11282 | 6925 | 120390093
| Eastern Grid Total |  |  |  | 8488 | 5197 | 96606157
| Western Grid Total |  |  |  | 2600 | 1728 | 23783936
| National Grid Total |  |  |  | 11088 | 6925 | 120390093
*Data collected from respective power station over telephone.

## P3
| POWER GRID COMPANY OF BANGLADESH LTD. | [6 empty] | QF-LDC-09
NATIONAL LOAD DESPATCH CENTER
PEAK HOUR DEMAND (AT S/S END) OF DIFFERENT AREAS
Date: | 2015-12-02
(a) ENTIRE EASTERN GRID : |  |  | 4471 | MW | (b) ENTIRE WESTERN GRID : |  |  | 1960 | MW
i) Dhaka area |  |  | 2515 | MW | i) Khulna area |  |  | 770 | MW
ii) Chittagong area |  |  | 736 | MW | ii) Rajshahi area |  |  | 673 | MW
iii) Comilla area |  |  | 571 | MW | iii) Barisal area |  |  | 135 | MW
iv) Mymensingh area |  |  | 395 | MW | iv) Rangpur area |  |  | 382 | MW
v) Sylhet area |  |  | 254 | MW
| SYSTEM TOTAL DEMAND ( a + b ) = |  |  | 6431 | MW
MAXIMUM LOAD SERVED BY DIFFERENT SUB-STATIONS
Sub-station | Load (MW) | Hour | Sub-station | Load (MW) | Hour | Sub-station | Load (MW) | Hour
Siddhirganj | 96 | 1200 | Kishorganj | 48 | 1900 | Noapara | 48 | 1830
Munsiganj | 68 | 1930 | Netrokona | 42 | 1900 | Jessore | 94 | 1800
Megnaghat | 27 | 1900 | Jamalpur | 82 | 2000 | Jhenida | 57 | 1900
Shyampur | 96 | 700 | Sherpur | 23 | 1800 | Bottail | 78 | 1930
Bhulta | 107 | 1830 | Srimongal | 20 | 1800 | G.K Project | 26.2 | 1900
Madanganj | 24 | 600 | Shahjibazar | 44 | 1830 | Faridpur | 90 | 1900
Shitalakhya | 76 | 1900 | Fenchuganj | 21 | 1800 | Madaripur | 73 | 1930
Rahim steel | 0 | 0 | Khulawara | 25 | 1800 | Gopalganj | 35 | 1830
Matuail | 63 | 1200 | Sylhet | 111 | 1900 | Bagerhat | 52 | 1800
Ghorasal | 71 | 1900 | Chatak | 36 | 1830 | Mongla | 20 | 1300
Narsingdi | 63 | 1830 | Comilla (S) | 139 | 1800 | Satkhira | 49.6 | 1830
Haripur (SBU) | 54 | 1900 | Comilla(N) | 33 | 1800 | Gallamari | 31 | 1300
Ullon | 67 | 2000 | Chandpur | 72 | 2000 | Magura | 26 | 1830
Hasnabad | 125 | 1930 | Feni | 70 | 1900 | Chuadanga | 37 | 1800
Magbazar | 108 | 1800 | Chowmuhani | 120 | 1900 | Barisal | 74 | 1900
Maniknagar | 64 | 1800 | Ashuganj | 49 | 1800 | Patuakhali | 42 | 2000
Bangabhaban | 30 | 1200 | Daudkandi | 42 | 1800 | Bhandaria | 29 | 2000
Narinda | 68 | 1800 | B.Baria | 60 | 1830 | Ishurdi | 34 | 1900
Dhanmondi | 92 | 1500 | Madanhat | 48.1 | 1800 | Natore | 64 | 1900
Lalbag | 69 | 1400 | Hathazari | 78 | 1830 | Bogra | 146 | 1830
Mirpur | 71.5 | 1800 | Khulshi | 140 | 1400 | Noagaon | 70 | 2000
Kalyanpur | 93 | 1830 | Halishahar | 98 | 1900 | Rajshahi | 85 | 1900
Gulshan | 95 | 1800 | Baraulia | 103 | 900 | C.Nawabganj | 39 | 2000
Uttara | 71 | 1800 | Sikalbaha | 14 | 1800 | Amnura | 13 | 1800
Kamrangirchar | 76 | 1800 | Dohazari | 62 | 1800 | Pabna | 59 | 1830
Savar | 76 | 1800 | Cox'sbazar | 53 | 1800 | Shahjadpur | 52 | 1900
Bhasantec | 88 | 1800 | Chandraghona | 23 | 1800 | Serajganj | 52 | 1930
Agargaon | 32 | 1800 | Kaptai | 3.5 | 1900 | Niyamatpur | 39 | 1900
Satmosjid | 24 | 1800 | A. Khaer Stl. | 13.2 | 1900 | Joypurhat | 31 | 1800
Tongi | 75 | 1800 | Bakulia | 89 | 1800 | Rangpur | 69 | 1800
Kabirpur | 138 | 1800 | Julda | 22.5 | 1200 | Lalmonirhat | 50 | 1830
Basundhara | 89 | 1800 | TK chemical | 6.8 | 1830 | Saidpur | 70 | 1800
Manikganj | 50 | 2000 | Modern Steel | 14 | 100 | Purbasadipur | 57 | 1900
Joydevpur | 204 | 1900 | Shahmirpur | 31.8 | 1800 | Thakurgaon | 40 | 1800
New Tongi | 86 | 1800 | Abul Khair 230 | 112 | 700 | Palashbari | 56 | 1800
Tangail | 110 | 1800 | Goalpara | 28 | 1830 | Barapukuria | 22 | 1900
Mymensing | 1119 | 1900 | Central s/s | 66 | 2000 | Panchagar | 23 | 1830
Sub Divisional Engineer |  |  | Executive Engineer |  |  | Superintendent Engineer
Network Operation Division |  |  | Network Operation Division |  |  | Load Despatch Circle
(1) Honbl. State Minister |  |  | (8) Executive Director (O & M) PGCB. |  |  | (18) C.E. Transmission (1 & 2) PGCB.
Ministry of Power,Energy & Mineral |  |  | (9) Member,Generation,PDB. |  |  | (19) S.E. System Protection,PGCB.
Resources, GOB. |  |  | (10) Member,Distribution. |  |  | (20) Director,Public Relation,PDB.
(2) Secy (Power Divn.)Ministry of |  |  | (11) Member,Transmission & |  |  | (21) Director Program, PDB.
Power,Energy & Mineral Resources. |  |  | System Operation,PDB. |  |  | (22) S.E. Consumer Affairs,PDB.
(3) Director General,Power cell |  |  | (12) Member,P&D,PDB. |  |  | (23) Director,Project Planning,PDB.
(4) Chairman,BERC |  |  | (13) C.E (P & D), PGCB. |  |  | (24) Director,System Planning,PDB.
(5) Chairman, BPDB. |  |  | (14) G.M. Commercial Operation |  |  | (25) Executive Eng.IMD.
(6) Managing Director, PGCB. |  |  | (15) C.E. Generation,PDB. |  |  | (26) Executive Eng. EMD.
(7) Member(Power & Industry) |  |  | (16) C.E, (P & D),PDB. |  |  | (27) NLDC
Planning Commission. |  |  | (17) C.E. System Operation,PGCB

## L.curve
Date | 2015-12-02 | [8 empty] | QF-LDC-11
TIME | E-W INT. | EAST GRID | WEST GRID | TOTAL |  | Demand | Hour
0:00 | -320 | 3869 | 915 | 4784 | -320 | 4784 | 0:00 | DAILY LOAD CURVE | 2015-12-02
0:30 | -370 | 3747 | 827 | 4574 | -420 | 4574 | 1:00
1:00 | -420 | 3625 | 739 | 4364 | -440 | 4364 | 2:00
1:30 | -430 | 3576.5 | 712 | 4288.5 | -380 | 4288.5 | 3:00
2:00 | -440 | 3528 | 685 | 4213 | -380 | 4213 | 4:00
2:30 | -410 | 3477 | 694 | 4171 | -410 | 4171 | 5:00
3:00 | -380 | 3426 | 703 | 4129 | -450 | 4129 | 6:00
3:30 | -380 | 3328 | 695.5 | 4023.5 | -540 | 4023.5 | 7:00
4:00 | -380 | 3230 | 688 | 3918 | -570 | 3918 | 8:00
4:30 | -395 | 3249.5 | 696.5 | 3946 | -350 | 3946 | 9:00
5:00 | -410 | 3269 | 705 | 3974 | -260 | 3974 | 10:00
5:30 | -430 | 3407 | 705 | 4112 | -210 | 4112 | 11:00
6:00 | -450 | 3545 | 705 | 4250 | -280 | 4250 | 12:00
6:30 | -495 | 3585 | 705 | 4290 | -250 | 4290 | 13:00
7:00 | -540 | 3625 | 705 | 4330 | -200 | 4330 | 14:00 |  |  |  | 6925 | 18:30
7:30 | -555 | 3829 | 778 | 4607 | -166 | 4607 | 15:00 |  |  |  | 5248 | 12:00
8:00 | -570 | 4033 | 851 | 4884 | -140 | 4884 | 16:00
8:30 | -460 | 4008 | 904.5 | 4912.5 | -144 | 4912.5 | 17:00
9:00 | -350 | 3983 | 958 | 4941 | -380 | 4941 | 18:00
9:30 | -305 | 4001.5 | 990.5 | 4992 | -430 | 4992 | 18:30
10:00 | -260 | 4020 | 1023 | 5043 | -440 | 5043 | 19:00
10:30 | -235 | 4027.5 | 1039.5 | 5067 | -430 | 5067 | 19:30
11:00 | -210 | 4035 | 1056 | 5091 | -440 | 5091 | 20:00
11:30 | -245 | 4110.5 | 1059 | 5169.5 | -340 | 5169.5 | 21:00
12:00 | -280 | 4186 | 1062 | 5248 | -370 | 5248 | 22:00
12:30 | -265 | 4147.5 | 1065 | 5212.5 | -260 | 5212.5 | 23:00
13:00 | -250 | 4109 | 1068 | 5177 | -270 | 5177 | 24:00
13:30 | -225 | 3990.5 | 1054 | 5044.5 |  | 5044.5
14:00 | -200 | 3872 | 1040 | 4912 | 128.92 | 4912
14:30 | -183 | 3960.5 | 1043 | 5003.5 | 86.5 | 5003.5
15:00 | -166 | 4049 | 1046 | 5095 |  | 5095
15:30 | -153 | 4062 | 1065.5 | 5127.5 | 7867500 | 5127.5
16:00 | -140 | 4075 | 1085 | 5160 |  | 5160
16:30 | -142 | 4237.5 | 1193 | 5430.5 |  | 5430.5
17:00 | -144 | 4400 | 1301 | 5701 | 700 | 5701
17:30 | -144 | 4723.5 | 1516.5 | 6240 | 1800 | 6240
18:00 | -144 | 5047 | 1732 | 6779 | 100 | 6779
18:30 | -430 | 5197 | 1728 | 6925 | 1400 | 6925
19:00 | -440 | 5194 | 1711 | 6905 | 100 | 6905
19:30 | -430 | 5100 | 1678 | 6778 | 1800 | 6778
20:00 | -440 | 5064 | 1638 | 6702 | 1800 | 6702
20:30 | -390 | 4951.5 | 1635 | 6586.5 | 1800 | 6586.5
21:00 | -340 | 4839 | 1632 | 6471 | 2100 | 6471
21:30 | -355 | 4640.5 | 1451 | 6091.5 | 1900 | 6091.5
22:00 | -370 | 4442 | 1270 | 5712 | 1900 | 5712
22:30 | -315 | 4188 | 1224 | 5412 |  | 5412
23:00 | -260 | 3934 | 1178 | 5112 |  | 5112
23:30 | -265 | 3872 | 1108.5 | 4980.5 |  | 4980.5
24:00 | -270 | 3810 | 1039 | 4849 |  | 4849
*MAX.GEN.(E.P.) |  | 6925 |  | 18:30
*MAX.GEN.(D.P.) |  | 5248 |  | 12:00
|  |  |  | min | max
|  | 3063.9 | 3349 | 8:00 | 1:00
|  | 2664.1 | 3286.1 | 13:00 | 11:00
|  | 2910.2 | 3139.4 | 18:30 | 24:00
|  | 2664.1 | 3349 | 13:00 | 1:00
|  | 282 |  | 4:00
|  | 276 |  | 18:00
|  | 348 |  | 21:00
|  | 348 |  | 21:00
| Deputy Manager |  |  | Manager |  |  | Deputy General Manager
| Load Despatch Division |  |  | Load Despatch Division |  |  | Load Despatch Circle
NATIONAL LOAD DESPATCH CENTER
3595 MW (09:00 )
4008 MW(05:00 )
.4MW (19:30)
6925 MW (18:30)
5248 MW (12:00)

## En.Curve
QF-LDC-12
Date | 2015-12-02 |  | Energy | 120390093 | 0
TIME | GAS | HVDC | P.GEN(GAS). | P.GEN(OIL). | COAL | HYDRO | OIL | SHORTAGE |  | DAILY ENERGY CURVE |  | 2015-12-02
0:00 | 1131 | 328 | 2776 | 381 | 80 | 80 | 0 | 0
0:30 | 1087.5 | 297 | 2737 | 286 | 78.5 | 80 | 0 | 0
1:00 | 1044 | 266 | 2698 | 191 | 77 | 80 | 0 | 0
1:30 | 1059 | 266 | 2645 | 150.5 | 80 | 80 | 0 | 0 | [5 empty] | 120.3901
2:00 | 1074 | 266 | 2592 | 110 | 83 | 80 | 0 | 0 | [5 empty] | 0
2:30 | 1076 | 266 | 2545.5 | 110 | 83 | 82.5 | 0 | 0 | [5 empty] | 120.3901
3:00 | 1078 | 266 | 2499 | 110 | 83 | 85 | 0 | 0
3:30 | 1043 | 266 | 2428 | 110 | 83.5 | 85 | 0 | 0
4:00 | 1008 | 266 | 2357 | 110 | 84 | 85 | 0 | 0
4:30 | 1031 | 266 | 2362 | 110 | 84 | 85 | 0 | 0
5:00 | 1054 | 266 | 2367 | 110 | 84 | 85 | 0 | 0
5:30 | 1080 | 266 | 2480.5 | 110 | 82.5 | 85 | 0 | 0
6:00 | 1106 | 266 | 2594 | 110 | 81 | 85 | 0 | 0
6:30 | 1088.5 | 266 | 2632 | 129 | 82 | 84.5 | 0 | 0
7:00 | 1071 | 266 | 2670 | 148 | 83 | 84 | 0 | 0
7:30 | 1067 | 266 | 2653.5 | 439.5 | 82.5 | 82 | 20 | 0
8:00 | 1063 | 266 | 2637 | 731 | 82 | 80 | 40 | 0
8:30 | 1047 | 266 | 2591 | 822 | 81.5 | 70 | 24 | 0
9:00 | 1031 | 266 | 2545 | 913 | 81 | 60 | 8 | 0
9:30 | 1007.5 | 326.5 | 2550 | 900 | 82.5 | 60 | 8 | 0
10:00 | 984 | 387 | 2555 | 887 | 84 | 60 | 8 | 0
10:30 | 965 | 423.5 | 2548.5 | 885 | 82.5 | 76 | 4 | 0
11:00 | 946 | 460 | 2542 | 883 | 81 | 92 | 0 | 0
11:30 | 925.5 | 460 | 2620 | 903 | 82.5 | 88.5 | 0 | 0
12:00 | 905 | 460 | 2698 | 923 | 84 | 85 | 0 | 0
12:30 | 893.5 | 460 | 2674 | 920.5 | 82.5 | 88.5 | 0 | 0
13:00 | 882 | 460 | 2650 | 918 | 81 | 92 | 0 | 0
13:30 | 876 | 460 | 2558 | 883.5 | 81 | 92 | 0 | 0
14:00 | 870 | 460 | 2466 | 849 | 81 | 92 | 0 | 0
14:30 | 894.5 | 460.5 | 2515 | 867.5 | 82 | 90 | 0 | 0
15:00 | 919 | 461 | 2564 | 886 | 83 | 88 | 0 | 0
15:30 | 921.5 | 460.5 | 2579 | 898.5 | 85.5 | 89 | 0 | 0 | Max Temp. in Dhaka |  | 28.0° C
16:00 | 924 | 460 | 2594 | 911 | 88 | 90 | 0 | 0
16:30 | 926 | 460 | 2681.5 | 978.5 | 86.5 | 138.5 | 43 | 0
17:00 | 928 | 460 | 2769 | 1046 | 85 | 187 | 86 | 0
17:30 | 937 | 461 | 2826 | 1254 | 83.5 | 187 | 329 | 0
18:00 | 946 | 462 | 2883 | 1462 | 82 | 187 | 572 | 0
18:30 | 963 | 462 | 2979 | 1510 | 82 | 167 | 577 | 0
19:00 | 931 | 462 | 2982 | 1509 | 84 | 167 | 565 | 0
19:30 | 940 | 462 | 3000 | 1478 | 84 | 80 | 553 | 0
20:00 | 934 | 462 | 3007 | 1455 | 84 | 80 | 503 | 0
20:30 | 952.5 | 462 | 3019.5 | 1402.5 | 85.5 | 86 | 420 | 0
21:00 | 971 | 462 | 3032 | 1350 | 87 | 92 | 337 | 0
21:30 | 946 | 462 | 2978.5 | 1244.5 | 86 | 86 | 188.5 | 0
22:00 | 921 | 462 | 2925 | 1139 | 85 | 80 | 40 | 0
22:30 | 922.5 | 462 | 2958.5 | 862 | 84.5 | 72.5 | 20 | 0
23:00 | 924 | 462 | 2992 | 585 | 84 | 65 | 0 | 0
23:30 | 907 | 377 | 3076.5 | 470.5 | 84.5 | 65 | 0 | 0
24:00 | 890 | 292 | 3161 | 356 | 85 | 65 | 0 | 0
|  | 1490 |  |  |  |  | 2380 | 0
|  | Deputy / Asstt. Manager |  |  | Manager
|  | Load Despatch Division |  |  | Load Despatch Division
NATIONAL LOAD DESPATCH CENTER
Gas

## volt
NATIONAL LOAD DESPATCH CENTER
The Maximum & Minimum Voltages of different Sub-Stations.
Date : | 2015-12-02
| Maxm |  | Minm |  |  | Maxm |  | Minm
Sub-Station | Voltage | Hour | Voltage | Hour | Sub-Station | Voltage | Hour | Voltage | Hour
230 KV | KV |  | KV |  | 230 KV | KV |  | KV
Ghorasal | 230 | 2300 | 224 | 1500 | Aminbazar | 216 | 500 | 210 | 1000
Ishurdi | 235 | 500 | 227 | 1000 | Tongi | 220 | 2300 | 212 | 1500
Ashuganj | 235 | 2000 | 229 | 1100 | Comilla (N) | 229 | 700 | 222 | 1400
Serajganj | 229 | 2400 | 220 | 600 | Hathazari | 225 | 1900 | 219 | 1600
Baghabari | 227 | 2400 | 220 | 900 | Megnaghat | 220 | 100 | 214 | 1000
Barapukuria | 230 | 200 | 222 | 1800 | Fenchuganj | 235 | 800 | 227 | 1200
Bogra | 228 | 2400 | 219 | 900 | Siddhirganj | 228 | 800 | 219 | 1100
Khulna South | 235 | 1700 | 221 | 700 | Maniknagar | 226 | 500 | 217 | 1100
Rampura | 219 | 400 | 212 | 1500 | Old Airport | 216 | 300 | 208 | 1000
Haripur | 216 | 200 | 213 | 1100 | Barisal | 235 | 1700 | 229 | 100
Hasnabad | 217 | 700 | 210 | 1100 | AKSML | 226 | 2100 | 216 | 1600
132 kV | KV |  | KV |  | 132 kV | KV |  | KV
Siddhirganj | 140 | 800 | 134 | 1100 | Madanhat | 140 | 1900 | 133 | 100
Munsiganj | 138 | 800 | 133 | 1000 | Hathazari | 136 | 1900 | 131 | 400
Megnaghat | 138 | 800 | 134 | 1400 | Khulshi | 137 | 1930 | 131 | 400
Shyampur | 134 | 1900 | 122 | 1100 | Halishahar | 137 | 1930 | 128 | 300
Bhulta | 124 | 2000 | 121 | 1100 | Baraulia | 135 | 1900 | 128 | 400
Madanganj | 134 | 800 | 130 | 1100 | Sikalbaha | 137 | 1930 | 129 | 100
Shitalakhya | 135 | 200 | 132 | 1100 | Dohazari | 135 | 1900 | 128 | 300
Rahim steal | 0 | 0 | 0 | 0 | Cox'sbazar | 133 | 1930 | 125 | 100
Matuail | 136 | 1930 | 132 | 1000 | Chandraghona | 138 | 1930 | 130 | 100
Ghorasal | 138 | 100 | 135 | 1600 | Kaptai | 135 | 2000 | 131 | 900
Narsinghdi | 137 | 700 | 133 | 1830 | A. Khaer Stl. | 135 | 1930 | 128 | 1600
Haripur (SBU) | 137 | 300 | 133 | 1100 | Bakulia | 135 | 1930 | 128 | 200
Ullon | 136 | 2100 | 131 | 1400 | Julda | 136 | 1930 | 129 | 600
Hasnabad | 137 | 600 | 132 | 1200 | TK Chemical | 138 | 1830 | 129 | 100
Magbazar | 134 | 600 | 126 | 1400 | Modern Steel | 136 | 2000 | 129 | 100
Maniknagar | 136 | 700 | 130 | 1300 | Shahmirpur | 136 | 1930 | 129 | 100
Bangabhaban | 136 | 700 | 130 | 1300 | Goalpara | 138 | 2200 | 126 | 600
Narinda | 136 | 700 | 130 | 1300 | Central s/s | 139 | 1300 | 128 | 600
Dhanmondi | 134 | 600 | 126 | 1400 | Noapara | 137 | 800 | 126 | 600
Lalbag | 133 | 500 | 125 | 1100 | Jessore | 132 | 800 | 122 | 600
Mirpur | 135 | 600 | 126 | 1600 | Jhenida | 134 | 1300 | 121 | 1800
Kalyanpur | 137 | 600 | 131 | 1500 | Bottail | 136 | 300 | 130 | 900
Gulshan | 134 | 200 | 126 | 1200 | G.K.Project | 138 | 1700 | 132 | 900
Uttara | 134 | 600 | 127 | 1100 | Faridpur | 132 | 400 | 130 | 900
Kamrangirchar | 133 | 600 | 128 | 1100 | Madaripur | 132 | 100 | 128 | 2200
Savar | 135 | 300 | 128 | 1100 | Gopalganj | 139 | 1700 | 130 | 1500
Bhasantec | 133 | 200 | 126 | 1100 | Bagerhat | 136 | 800 | 125 | 1800
Agargaon | 134 | 300 | 127 | 1100 | Mongla | 132 | 1300 | 122 | 1800
Satmosjid | 134 | 300 | 126 | 1100 | Satkhira | 138 | 1700 | 127 | 600
Tongi | 134 | 800 | 128 | 1000 | Gallamari | 139 | 800 | 130 | 600
Kabirpur | 139 | 1830 | 132 | 1500 | Magura | 133 | 1600 | 122 | 1830
Basundhara | 139 | 200 | 123 | 1000 | Chuadanga | 133 | 400 | 125 | 1800
Manikganj | 135 | 300 | 128 | 1800 | Barisal | 134 | 600 | 132 | 1200
Joydevpur | 140 | 1830 | 133 | 700 | Patuakhali | 131 | 100 | 127 | 1200
New Tongi | 131 | 100 | 125 | 1800 | Bhandaria | 134 | 1700 | 125 | 600
Tangail | 131 | 200 | 120 | 1830 | Ishurdi | 136 | 300 | 132 | 900
Mymensing | 136 | 500 | 128 | 2000 | Natore | 135 | 100 | 130 | 900
Kishorganj | 136 | 100 | 133 | 1500 | Bogra | 135 | 300 | 129 | 1800
Netrokona | 138 | 600 | 130 | 1800 | Noagaon | 130 | 100 | 125 | 1000
Jamalpur | 133 | 500 | 124 | 2000 | Rajshahi | 135 | 1700 | 130 | 100
Sherpur | 132 | 700 | 123 | 1930 | C.Nawabganj | 134 | 1700 | 124 | 800
Srimongal | 142 | 2200 | 140 | 100 | Amnura | 136 | 1900 | 131 | 100
Shahjibazar | 143 | 2400 | 139 | 1400 | Pabna | 132 | 300 | 127 | 1800
Fenchuganj | 138 | 100 | 136 | 1400 | Shahjadpur | 139 | 100 | 135 | 900
Khulawara | 137 | 100 | 135 | 1100 | Serajganj | 134 | 100 | 130 | 900
Sylhet | 137 | 300 | 135 | 1200 | Niyamatpur | 132 | 100 | 121 | 900
Chatak | 138 | 100 | 134 | 1800 | Joypurhat | 135 | 400 | 124 | 1000
Comilla(s) | 135 | 700 | 133 | 1100 | Rangpur | 128 | 100 | 120 | 1800
Comilla(n) | 137 | 800 | 134 | 1700 | Lalmonirhat | 126 | 300 | 116 | 1900
Chandpur | 136 | 2100 | 134 | 900 | Saidpur | 126 | 100 | 119 | 1830
Feni | 125 | 700 | 123 | 1200 | Purbasadipur | 127 | 300 | 123 | 900
Chowmuhani | 130 | 700 | 126 | 1300 | Thakurgaon | 127 | 300 | 120 | 1800
Ashuganj | 140 | 2100 | 137 | 1500 | Palashbari | 129 | 100 | 123 | 1830
Daudkandi | 137 | 1900 | 132 | 1100 | Barapukuria | 128 | 200 | 125 | 1800
B.Baria | 141 | 2200 | 137 | 900 | Panchagar | 122 | 100 | 112 | 1800