## Daily Gen
Hourly Generation & Demand
Date | 2014-07-10
Time | Generation | Demand | Shortage | Remarks
Hour | MW | MW | MW
1:00 | 6904 | 6904 | 0
2:00 | 6864 | 6864 | 0
3:00 | 7196 | 7196 | 0
4:00 | 7070 | 7070 | 0
5:00 | 6334 | 6334 | 0
6:00 | 5979 | 5979 | 0
7:00 | 5791 | 5791 | 0
8:00 | 5840 | 5840 | 0
9:00 | 6242 | 6242 | 0
10:00 | 6174 | 6174 | 0
11:00 | 6369 | 6369 | 0 | Day peak
12:00 | 6237 | 6380 | 143
13:00 | 6253 | 6380 | 127
14:00 | 6244 | 6400 | 156
15:00 | 6259 | 6400 | 141
16:00 | 6378 | 6378 | 0
17:00 | 6290 | 6290 | 0
18:00 | 6192 | 6192 | 0
18:30 | 6339 | 6339 | 0
19:00 | 6822 | 6822 | 0
19:30 | 6995 | 7250 | 255
20:00 | 7126 | 7400 | 274 | Evening Peak
21:00 | 7081 | 7400 | 319
22:00 | 7028 | 7250 | 222
23:00 | 7041 | 7150 | 109
24:00 | 7114 | 7114 | 0

## forecast
[7 empty] | POWER GRID COMPANY OF BANGLADESH LTD. | [6 empty] | QF-LDC-07
SUMMARY OF DAILY ELECTRICITY GENERATION
|  | Month : |  | 2014-07-11 |  |  | Day : | Friday |  |  |  | Date : | 2014-07-11
| Probable Maximum Generation : |  |  |  | (a) At Day Peak Hour : |  | 5505 | MW |  | (b) At Evening Peak Hour : |  |  | 7210 | MW
| Water Level of Kaptai Lake at 06:00 AM (ft) |  |  |  | (a) Yesterday : |  | 86.62 |  |  | (b) Today: | 86.28 | (c) Rule Curve: |  | 85.8
Sl. | Name of the Power Station |  | Fuel | Producer | Instslled Capacity |  | Derated/ | Actual Generation |  | Available Geneneration |  | Ev. Peak Gen.Shortage |  | Plants under |  | Probable
[7 empty] | Present | On | 2014-07-10 | On | 2014-07-11 | for Fuel | for Plants S/D | Shut down (Date) / |  | Start up
[7 empty] | Capacity | Day Peak | Ev. Peak | Day Peak | Ev. Peak | Limitation | or M/C prob. | Remarks |  | Date
[6 empty] | MW | MW | MW | MW | MW | MW | MW | MW
1a | Ghorasal ST: Unit-1, 2 |  | Gas | PDB | 2X55 | 110 | 85 | 70 | 70 | 90 | 85
1b | Ghorasal ST: Unit-3 |  | Gas | PDB | 1x210 | 210 | 170 | 0 | 0 | 0 | 0 |  | 170 | 2014-08-05 |  | Unknown
1c | Ghorasal ST: Unit-4 |  | Gas | PDB | 1x210 | 210 | 180 | 170 | 180 | 180 | 180
1d | Ghorasal ST: Unit-5 |  | Gas | PDB | 1x210 | 210 | 190 | 170 | 170 | 170 | 170 |  | 20
1e | Ghorasal ST: Unit-6 |  | Gas | PDB | 1x210 | 210 | 190 | 0 | 0 | 0 | 0 |  | 190 | #6 (18/07/2010) |  | Long term maint.
2 | Ghorashal 100MW(Aggreko) |  | Gas | QRPP | 128X0.85 | 100 | 100 | 97 | 100 | 100 | 100
3 | Ghorashal 45 MW (Aggreko) |  | Gas | QRPP | 58X0.85 | 45 | 45 | 45 | 45 | 40 | 45
4 | Ghorashal 78.5 MW (MAX) |  | Gas | QRPP | 4x21.5 | 78 | 78 | 0 | 0 | 0 | 0 |  |  | Contract date expired 26/05/14, Long term maint.
5 | Ghorashal (Regent) |  | Gas | IPP | 34x3.35 |  |  | 98 | 107 | 104 | 107 |  |  | On test
6 | Haripur GT: Unit-1, 2, 3 |  | Gas | PDB | 3x32 | 96 | 60 | 0 | 0 | 0 | 0 | 40 | 20 | #1&#2(22/10/13),#3(18/6/09) |  | #3 long term maint.
7 | Haripur 412 MW CCPP |  | Gas | EGCB | 1x273+1x139 | 412 | 412 | 441 | 438 | 436 | 412
8 | Haripur NEPC (HFO) |  | HFO | IPP | 8x15 | 110 | 110 | 80 | 93 | 67 | 95 |  | 17 | 1 Engine problem
9 | Haripur Power CCPP |  | Gas | IPP | 1*235+1*125 | 360 | 360 | 277 | 321 | 315 | 340 | 39
10 | Meghnaghat CCPP |  | Gas | IPP | 2X150+1*150 | 450 | 450 | 0 | 0 | 0 | 0 |  | 450 | 21/04/2014 |  | Long term maint.
11 | Meghnaghat (IEL) |  | HFO | RPP | 12x8.9 | 100 | 100 | 82 | 82 | 7 | 82 |  | 18 | 2 Engine problem
12 | Meghnaghat CCPP(Summit) |  | HSD | IPP | 2x110+1x110 | 203 | 203 | 208 | 205 | 54 | 203
13 | Madanganj (Summit) |  | HFO | QRPP | 6x17 | 102 | 100 | 76 | 78 | 77 | 78 |  | 22 | 1 Engine problem
14 | Keraniganj (Powerpac) |  | HFO | RPP | 8x13.45 | 100 | 100 | 100 | 96 | 32 | 100
15 | Narshingdi (Doreen) |  | Gas | SIPP,REB | 8X2.90 | 22 | 22 | 20 | 21 | 15 | 21 |  |  | Synchronized at 33KV
16a | Siddhirgonj ST |  | Gas | PDB | 1x210 | 210 | 150 | 110 | 110 | 110 | 110 | 40
16b | Siddhirgonj GT: Unit-1& 2 |  | Gas | EGCB | 2x105 | 210 | 210 | 0 | 80 | 30 | 80 | 130
17 | Siddhirganj (Desh) |  | HSD | QRPP | 96x1.2 | 96 | 98 | 50 | 75 | 0 | 75 |  | 23 | 22 Engine problem
18 | Siddhirganj (Dutch Bangla) |  | HFO | RPP | 12x8.9 | 100 | 100 | 75 | 92 | 91 | 92 |  | 8 | 1 Engine problem
19 | Pagla (DPA ) |  | HSD | QRPP | 100X0.5 | 50 | 50 | 39 | 40 | 12 | 40 |  |  | Contract date expired
20 | Gagnagar (Orion) |  | HFO | IPP | 12*8.924 | 102 | 102 | 102 | 102 | 7 | 102
21 | Summit Power, Dhaka |  | Gas | SIPP,REB | 6*3.67+2*6.97+14*8.73 | 146 | 146 | 116 | 116 | 101 | 116 |  |  | Synchronized at 33KV
22 | Gazipur (RPCL) |  | HFO | IPP | 6x8.9 | 52 | 52 | 43 | 52 | 8 | 52
23 | Tongi GT |  | Gas | PDB | 1X 105 | 105 | 105 | 0 | 50 | 70 | 60 | 55
| Dhaka Area Total |  |  |  |  | 4199 | 3968 | 2469 | 2723 | 2116 | 2745 | 304 | 938
24a | Chittagong ST: Unit-1 |  | Gas | PDB | 1x210 | 210 | 180 | 100 | 90 | 130 | 100 | 90
24b | Chittagong ST: Unit-2 |  | Gas | PDB | 1x210 | 210 | 180 | 100 | 90 | 110 | 100 | 90
25 | Raozan 25 MW (RPCL) |  | HFO | IPP | 3x8.9 | 25 | 25 | 17 | 18 | 9 | 18 |  | 7
26 | Patenga 50MW (Barakatullah) |  | HFO | IPP | 8x6.89 | 50 | 50 | 47 | 45 | 35 | 45
27 | Kaptai Hydro: Unit-1,2,3,4, 5 |  | Hydro | PDB | 2X40, 3X50 | 230 | 230 | 138 | 142 | 143 | 142
28a | Sikalbaha ST |  | Gas | PDB | 1X60 | 60 | 40 | 0 | 0 | 0 | 0 | 40 |  | 2014-03-07 |  | Unknown
28b | Sikalbaha Peaking GT |  | Gas | PDB | 1x150 | 150 | 150 | 0 | 0 | 0 | 0 |  | 150 | 29/06/2014 |  | Unknown
29 | Sikalbaha (Energis) |  | HFO | RPP |  |  |  | 8 | 0 | 31 | 26 |  |  | Contract date expired (06/05/13)
30 | Hathazari peaking |  | HFO | PDB | 11x8.9 | 98 | 98 | 0 | 87 | 0 | 87 |  | 11 | 1 Engine problem
31 | Dohazari-Kalaish Peaking |  | HFO | PDB | 6x17 | 102 | 102 | 0 | 102 | 0 | 102
32 | Juldah (Acorn) |  | HFO | QRPP | 8x13.45 | 100 | 100 | 92 | 92 | 92 | 92 |  | 8
33 | Barabkunda (Regent) |  | Gas | SIPP,PDB | 8X2.90 | 22 | 22 | 16 | 13 | 13 | 13 |  | 9 | Synchronized at 33KV, 3 Engine problem
34 | Malancha, Ctg. EPZ (United) |  | Gas |  |  |  |  | 2 | 38 | 24 | 38
| Chittagong area Total |  |  |  |  | 1257 | 1177 | 520 | 717 | 587 | 763 | 220 | 185
35a | Ashuganj ST: Unit- 1 & 2 |  | Gas | APSCL | 2x64 | 128 | 97 | 0 | 0 | 0 | 0 |  | 97 | #2(5/07/14), #1(10/07/14) |  | Unknown
35b | Ashuganj ST: Unit- 3 |  | Gas | APSCL | 1x150 | 150 | 135 | 120 | 130 | 130 | 130
35c | Ashuganj ST: Unit- 4 |  | Gas | APSCL | 1x150 | 150 | 129 | 140 | 140 | 140 | 140
35d | Ashuganj ST: Unit- 5 |  | Gas | APSCL | 1x150 | 150 | 134 | 130 | 130 | 130 | 130
35e | Ashuganj CCPP: GT-2 |  | Gas | APSCL | 1x56 | 56 | 40 | 40 | 40 | 40 | 40
35f | Ashuganj Engines |  | Gas | APSCL | 14x3.968 | 53 | 45 | 35 | 42 | 36 | 42
36 | Ashuganj (Precision) |  | Gas | RPP | 15x4 | 55 | 55 | 50 | 52 | 49 | 52
37 | Ashuganj (Aggrekko) |  | Gas | QRPP | 82x1.1 | 80 | 80 | 77 | 82 | 77 | 80
38 | Ashuganj (United) |  | Gas | QRPP | 14x4 | 53 | 53 | 53 | 53 | 53 | 53
39 | Ashuganj (Midland) |  | Gas | IPP | 6x9.34 | 51 | 51 | 49 | 48 | 52 | 48
40 | Brahmanbaria (Aggreko) |  | Gas | QRPP | 72x1.10 | 70 | 70 | 69 | 71 | 69 | 70
41 | Titas (Daudkandi) Peaking |  | HFO | PDB | 6x8.92 | 52 | 52 | 0 | 42 | 0 | 42 |  | 10 | 1 Engine problem
42 | Chandpur CCPP |  | Gas | PDB | 1x106+1x57 | 163 | 163 | 160 | 158 | 156 | 163
43 | Feni (Doreen) |  | Gas | SIPP,PDB | 8X2.90 | 22 | 22 | 15 | 15 | 15 | 15 |  | 7 | 2 Machine problem
44 | Feni, Mohipal (Doreen) |  | Gas | SIPP,REB | 4X2.90 | 11 | 11 | 8 | 11 | 11 | 11 |  |  | Synchronized at 33KV
45 | Jangalia (Summit) |  | Gas | SIPP,PDB | 4X8.73 | 33 | 33 | 33 | 33 | 25 | 33 |  |  | Synchronized at 33KV
46 | Summit Power, Comilla |  | Gas | SIPP,REB | 3x3.67+2x6.97 | 25 | 25 | 12 | 10 | 15 | 10 |  | 15 | Synchronized at 33KV, 3 Engine problem
| Comilla Area Total |  |  |  |  | 1302 | 1195 | 991 | 1057 | 998 | 1059 | 0 | 129
47 | RPCL CCPP |  | Gas | IPP | 4X35+1x70 | 210 | 202 | 145 | 146 | 149 | 146 | 56
48 | Tangail (Doreen) |  | Gas | SIPP, PDB | 8X2.90 | 22 | 22 | 14 | 16 | 0 | 16 |  | 4 | Synchronized at 33KV, 1 Engine problem
| Mymensingh Area Total |  |  |  |  | 232 | 224 | 159 | 162 | 149 | 162 | 56 | 0
49a | Fenchugonj CCPP-1 |  | Gas | PDB | 2x32+1x33 | 97 | 80 | 73 | 73 | 71 | 73
49b | Fenchugonj CCPP-2 |  | Gas | PDB | 2x35+1x35 | 104 | 90 | 75 | 74 | 75 | 74 |  | 16
50 | Fenchugonj (Barakatullah) |  | Gas | RPP | 19X2.90 | 51 | 51 | 46 | 50 | 50 | 50
51 | Fenchuganj (Energyprima) |  | Gas | RPP | 12x3.3+5x2 | 44 | 44 | 47 | 46 | 43 | 44
52 | Hobiganj (Confidence-EP) |  | Gas | SIPP, REB | 4X2.90 | 11 | 11 | 11 | 10 | 11 | 10 |  |  | Synchronized at 33KV
53 | Shahjibazar GT: Unit- 8, 9 |  | Gas | PDB | 2X35 | 70 | 66 | 52 | 53 | 52 | 66
54 | Shahjibazar (Shahjibazar) |  | Gas | RPP | 32X2.90 | 86 | 86 | 84 | 83 | 84 | 83
55 | Shahjibazar (Energyprima) |  | Gas | RPP | 27X2.0 | 50 | 50 | 47 | 46 | 20 | 46
56 | Sylhet 150 MW GT |  | Gas | PDB | 1X142 | 142 | 142 | 143 | 140 | 88 | 142
57 | Sylhet 20 MW GT |  | Gas | PDB | 1X20 | 20 | 20 | 20 | 20 | 20 | 20
58 | Sylhet (Energyprima) |  | Gas | RPP | 27X2 | 50 | 50 | 40 | 45 | 43 | 45 |  | 5 | 2 Engine problem
59 | Shahjahanulla 25MW |  | Gas | CIPP, REB | 3x9.34 | 25 | 25 | 19 | 7 | 12 | 12 |  | 18 | 2 Engine problem
60 | Sylhet (Desh) |  | Gas | RPP | 6X1.95 | 10 | 10 | 7 | 7 | 5 | 7 |  | 3 | 1 Engine problem
| Sylhet Area Total |  |  |  |  | 760 | 725 | 664 | 654 | 574 | 672 | 0 | 42
61 | Bheramara GT: Unit- 1, 2 ,3 |  | HSD | PDB | 3X20 | 60 | 46 | 0 | 32 | 0 | 32 |  | 14 | # 2 (08/06/2014), |  | Unknown
62 | Bheramara (Quantum) |  | HSD | RPP | 12X8.5+2X6+2X13 | 105 | 105 | 0 | 0 | 0 | 0 |  | 105 | 16 Machine problem |  | Long term maint.
63 | Bheramara HVDC Interconnector |  |  | India |  | 500 | 500 | 432 | 358 | 422 | 358
64a | Khulna ST 110MW |  | HFO | PDB | 1X110 | 110 | 55 | 0 | 0 | 0 | 0 |  | 55 | 2014-10-07 |  | Unknown
64b | Khulna ST 60 MW |  | HFO | PDB | 1X60 |  |  | 0 | 0 | 0 | 0 |  | 30 | Plant retired in FY 2013-2014
65 | Khulna (KPCL-1) |  | HFO | IPP | 19x6.5 | 110 | 110 | 95 | 110 | 11 | 110
66 | Khulna (KPCL-2) |  | HFO | QRPP | 7x17 | 115 | 115 | 66 | 99 | 66 | 99 |  | 16 | 1 Engine problem
67 | Faridpur Peaking |  | HFO | PDB | 8x6.89 | 54 | 54 | 31 | 33 | 39 | 33 |  | 21 | 2 Engine problem
68 | Khulna 150MW GT |  | HSD | NWZPGCL | 1x150 | 158 | 158 | 156 | 158 | 40 | 158
69 | Gopalganj Peaking |  | HFO | PDB | 16x6.98 | 109 | 109 | 6 | 63 | 0 | 63 |  | 46 | 5 Engine problem
70 | Noapara (Quantam) |  | HFO | RPP | 5x9.9+6x9.5+2x9.2 | 101 | 101 | 0 | 0 | 0 | 0 |  | 101 | 13 Machine problem |  | Long term maint.
71 | Noapara (Khanjahan Ali) |  | HFO | QRPP | 5x8.5 | 40 | 40 | 40 | 40 | 8 | 40
72 | Khulna (Aggreko) 55MW |  | HSD | QRPP | 71X0.85 | 55 | 55 | 38 | 46 | 0 | 46 |  |  | Contract date expired
| Khulna Area Total |  |  |  |  | 1517 | 1448 | 864 | 939 | 586 | 939 | 0 | 388
73 | Barisal GT: Unit-1, 2 |  | HSD | PDB | 2X20 | 40 | 30 | 15 | 27 | 0 | 27
74 | Bhola (Venture) |  | Gas | RPP | 1X34.50 | 33 | 33 | 24 | 29 | 25 | 29
| Barisal Area Total |  |  |  |  | 73 | 63 | 39 | 56 | 25 | 56 | 0 | 0
75a | Baghabari GT |  | Gas | PDB | 1X71 | 71 | 71 | 67 | 67 | 67 | 67
75b | Baghabari GT |  | Gas | PDB | 1X100 | 100 | 100 | 94 | 97 | 97 | 97
76 | Baghabari Peaking |  | HFO | PDB | 6x8.9 | 52 | 52 | 38 | 45 | 0 | 45 |  | 7
77 | Westmont GT, Baghabari |  | Gas | IPP |  |  |  | 0 | 0 | 0 | 0 |  | 70 | Plant Retired in FY 2013-2014
78 | Bera Peaking |  | HFO | PDB | 9x8.29 | 71 | 71 | 60 | 71 | 23 | 71
79 | Amnura |  | HFO | QRPP | 7x7.79 | 50 | 50 | 0 | 28 | 0 | 20 |  | 30 | 4 Engine problem
80 | Katakhali (Northern) |  | HFO | QRPP | 6x8.92 | 50 | 50 | 50 | 50 | 8 | 50
81 | Katakhali Peaking |  | HFO | PDB | 6x8.7 | 50 | 50 | 0 | 45 | 0 | 45 |  | 5
82 | Sirajganj CCPP |  | Gas | NWPGCL | 1x150+1x75 | 142 | 142 | 140 | 141 | 143 | 142
83 | Santahar Peaking |  | HFO | PDB | 6x8.7 | 50 | 50 | 0 | 46 | 0 | 46
84 | Bogra (GBB) |  | Gas | RPP | 6X4 | 20 | 22 | 17 | 17 | 17 | 17 |  | 5 | 1 Engine problem
85 | Bogra (Energyprima) |  | Gas | RPP | 5x3.3+5x2 | 20 | 20 | 15 | 15 | 15 | 15 |  | 5 | 1 Machine problem
86 | Ullapara (Summit) |  | Gas | SIPP,REB | 4X2.90 | 11 | 11 | 8 | 8 | 8 | 8 |  | 3 | Synchronized at 33KV, 1 Machine problem
87 | Rajlanka 52 MW |  | HFO | IPP | 6X8.92 | 52 | 52 | 52 | 52 | 0 | 52
| Rajshahi Area Total |  |  |  |  | 739 | 741 | 541 | 682 | 378 | 675 | 0 | 125
88a | Barapukuria ST: Unit-1 |  | Coal | PDB | 1x125 | 125 | 100 | 0 | 0 | 0 | 0 |  | 100 | 2014-10-07 |  | Unknown
88b | Barapukuria ST: Unit-2 |  | Coal | PDB | 1x125 | 125 | 100 | 77 | 77 | 92 | 77 |  | 23
89 | Rangpur GT |  | HSD | PDB | 1X20 | 20 | 20 | 0 | 12 | 0 | 14 |  | 8
90 | Syedpur GT |  | HSD | PDB | 1X20 | 20 | 20 | 17 | 18 | 0 | 18
91 | Thakurgaon (RZ) |  | HSD | RPP | 20X1.5+21X1.1 | 47 | 40 | 28 | 29 | 0 | 30 |  | 11 | 7 Engine problem
| Rangpur Area Total |  |  |  |  | 337 | 280 | 122 | 136 | 92 | 139 | 0 | 142
| Total |  |  |  |  | 10416 | 9821 | 6369 | 7126 | 5505 | 7210 | 580 | 1949
| Useable load at Substation end after deducting Auxiliary use & Transmission loss | [6 empty] | 5719.4099 | 6445 | 4943.5314 | 6473
A. |  | 2014-07-10 | (Yesterday) |  |  |  |  | Thursday
1 | Highest Generation : |  |  | 7196 | MW at | 3:00 | hrs | 11 Evening Peak Hour : | [5 empty] | 20:00 | hrs.
2 | Minimum Generation : |  |  | 5791 | MW at | 7:00 | hrs | 12 Max. Demand (Generation end) at evening peak hour : | [5 empty] | 7400 | MW
3 | Day peak Generation : |  |  | 6369 | MW at | 11:00 | hrs | 13 Max. Demand (Substation end) at evening peak hour : | [5 empty] | 6692 | MW
4 | Evening peak Generation : |  |  | 7126 | MW at | 20:00 | hrs | 14 Load Shed (Substation end) at evening peak hour : | [5 empty] | 247 | MW
5 | Total Energy Generation : |  |  | 152.7218 | MKWHr |  |  | 15. Area wise Demand ( S/S end), Supply( S/S end) & | [5 empty] | 16 Hourly Load Shed during
| By Gas: | 95.5632 | MKWHr |  | By Oil: | 41.7493 | MKWHr | Load Shed (S/S end) at Evening peak hour in MW : | [5 empty] | Evening Peak hours :
| By Coal: | 2.489 | MKWHr |  | By Hydro: | 3.3385 | MKWHr | Area | Demand | Supply | Loadshed | (Duration) |  | Time |  | Loadshed
6 | Generation Shortfall : |  | For Gas: | 580 | For Oil: | 0 | MW | Dhaka | 2863 | 2863 | 0 |  |  | Hour |  | MW
|  |  | For Water Shortage: |  |  | 0 | MW | Chittagong | 681 | 634 | 47 | ( 19:15-23:05) |  | 18:00 |  | 0
|  |  | For Plants S/D or M/C prob: |  |  | 1949 | MW | Khulna | 753 | 700 | 53 | ( 19:15-23:05) |  | 18:30 |  | 0
7 | Total Gas Supplied : |  | 944.25 | MMCFD |  |  |  | Rajshahi | 709 | 660 | 49 | ( 19:15-23:05) |  | 19:00 |  | 0
8 | Fuel Cost : | i) Gas : | Taka | 89309240.025 | ii) Oil : Taka |  | 551812165.445 | Comilla | 455 | 420 | 35 | ( 19:15-23:05) |  | 19:30 |  | 230.6308
|  | iii) Coal : | Taka | 9687258.056 | Total | Taka | 650808663.526 | Mymensingh | 367 | 341 | 26 | ( 19:15-23:05) |  | 20:00 |  | 247.815
9 | Export Through E-W Interconnectors : |  |  |  | i) Energy | 7.8675 | MKWHr. | Sylhet | 341 | 341 | 0 | ( 19:15-23:05) |  | 21:00 |  | 288.5146
| ii) During Peak Demand : |  |  | -260 | MW at | 20:00 | hrs | Barisal | 164 | 155 | 9 | ( 19:15-23:05) |  | 22:00 |  | 200.7845
| iii) Maximum : |  |  | -16 | MW at | 11:00 | hrs | Rangpur | 359 | 331 | 28 | ( 19:15-23:05) |  | 23:00 |  | 98.5834
10 | Maximum Temperature in Dhaka was |  |  |  | 34.1° C |  |  | Total | 6692 | 6445 | 247
B. |  | 2014-07-11 | (Today) |  |  |  | Friday |  |  | Probable max. temperature in Dhaka |  |  | 34.1° C
Forecast
1 | Maximum Demand (Generation end) |  |  |  | 7300 | MW |  | 6 Total Load Shed forecast (Substation end) : |  |  |  |  | 81 | MW
2 | Maximum Generation (Generation end) |  |  |  | 7210 | MW |  | 7 Area wise Load Shed forecast (Substation end) :
3 | Shortage (Generation end) |  |  |  | 90 | MW |  | Dhaka | Chittagong | Khulna | Rajshahi | Comilla | Mymensingh | Sylhet | Barisal | Rangpur
4 | Total Energy Generation |  |  |  | 153 | MKWHr |  | MW | MW | MW | MW | MW | MW | MW | MW | MW
5 | Actual Minimum Generation up to 8:00 hrs. |  |  |  | 5449 | MW at | 07:00 | 0 | 16 | 17 | 17 | 12 | 10 | 0 | 0 | 9
* Import Through HVDC C/B Interconnector : |  |  |  |  | i) Energy | 9.5818 | MKWHr.
ii) During peak Demand : |  |  | 432 | MW at | 20:00 | hrs
iii) Maximum : |  |  | 432 | MW at | 11:00 | hrs
Cost for HVDC energy is not usaually included in the total fuel cost.

## P1
POWER GRID COMPANY OF BANGLADESH LTD.
|  |  | NATIONAL LOAD DESPATCH CENTER |  |  |  |  | QF-LDC-08
|  |  | DAILY REPORT |  |  |  |  | Page -1
[6 empty] | Reporting Date : | 2014-07-11
Till now the maximum generation is : - |  |  | 7356 MW | 20:00 | Hrs on | 2014-03-30
The Summary of Yesterday's ( |  | 2014-07-10 | Generation & Demand |  | Today's Actual Min Gen. & Probable Gen. & Demand
Day Peak Generation : |  | 6369 | MW Hour : | 11:00 | Min. Gen. at | 07:00 | 5449 | MW
Evening Peak Generation : |  | 7126 | MW Hour : | 20:00 | Max Generation : |  | 7210 | MW
E.P. Demand (at gen end) : |  | 7400 | MW Hour : | 20:00 | Max Demand : |  | 7300 | MW
Maximum Generation : |  | 7196 | MW Hour : | 3:00 | Shortage : |  | 90 | MW
Total Gen. (MKWH) : |  | 152.7218 | System L/ Factor : | 78.37% | Load Shed : |  | 81 | MW
EXPORT / IMPORT THROUGH EAST-WEST INTERCONNECTOR
Export from East grid to West grid :- Maximum |  |  | -16 | MW at | 11:00 | Energy | 7.8675 | MKWHR.
Import from West grid to East grid :- Maximum |  |  | - | MW at | - | Energy | - | MKWHR.
|  | Water Level of Kaptai Lake at 6:00 A M on |  | 2014-07-11
Actual : | 87.64 | Ft.(MSL) , | Rule curve : | 85.8 | Ft.( MSL )
Gas Consumed : | Total | 944.25 | MMCFD. | Oil Consumed (PDB) :
[6 empty] | HSD : |  | Liter
[6 empty] | FO : |  | Liter
Cost of the Consumed Fuel (PDB+Pvt) : Gas : |  |  | 89309240.025
|  | Coal : | 9687258.056 | Oil : | 551812165.445 | Total : | 650808663.526
Load Shedding & Other Information
Area | Yesterday |  |  |  | Today
|  |  | Estimated Demand(s/s end) |  | Estimated Shedding (s/s end) |  | Rates of Shedding
| MW |  | MW |  |  | MW | (On Estimated Demand)
Dhaka | - | 0:00 | 2594 |  |  | - | -
Chittagong Area | 47 | ( 19:15-23:05) | 686 |  |  | 16 | -
Khulna Area | 53 | ( 19:15-23:05) | 752 |  |  | 17 | -
Rajshahi Area | 49 | ( 19:15-23:05) | 727 |  |  | 17 | -
Comilla Area | 35 | ( 19:15-23:05) | 499 |  |  | 12 | -
Mymensingh Area | 26 | ( 19:15-23:05) | 409 |  |  | 10 | -
Sylhet Area | - | ( 19:15-23:05) | 325 |  |  | - | -
Barisal Area | 9 | ( 19:15-23:05) | 144 |  |  | - | -
Rangpur Area | 28 | ( 19:15-23:05) | 418 |  |  | 9 | -
-
Total | 247 |  | 6554 |  |  | 81
Information of the Generating machines under shut down.
| Planned Shut- Down |  |  | Forced Shut- Down
| 1) Haripur SBU GT-3 (18/06/09) |  |  | 1) Ghorasal #6 (18/07/10) |  | 9) Sikalbaha ST (03/07/2014)
|  |  |  | 2) KhulnaST 60MW (24/1/12) |  | 10) Sikalbaha Peaking GT (29/06/2014)
|  |  |  | 3) Shahjibazar #5 & 6 (21/7/11) |  | 11) Barapukuria #1 (10/07/2014)
|  |  |  | 4) WMPL #1(1/5/12) |  | 12) Ashuganj #1 (10/07/2014)
|  |  |  | 5) WMPL #2(24/4/13) |  | 13) Bheramara GT # 2 (08/06/2014)
6) Meghnaghat CCPP (21/04/2014)
7) Ghorasal #3 (08/05/2014)
8) Ashuganj ST #2 (05/07/2014)
Additional Information of Machines, lines, Interruption / Forced Load shed etc.
| Description |  |  | Forced load shaded / Interrupted Areas
a) There was generation shortage in the evening peak hour yesterday. |  |  |  | So about 247 MW (20:00) of load shed was imposed over the
whole (Except-Dhaka & Sylhet) areas of the national grid .
b) Comilla (N)-Fenchuganj 230 kV Ckt-2 was shut down from 10:14 to 18:01 due to check interlocking
system at Comilla (N) end.
c) Saidpur 132/33 kV T3 transformer was shut down at 11:50 due to CB problem and was switched |  |  |  | About 12 MW power interruption occurred under Saidpur S/S areas
on at 13:45. |  |  |  | from 11:50 to 13:45.
d) Chandpur 33 kV Bus was shut down at 15:20 due to red hot maintenance at Y-phase nut and was |  |  |  | About 20 MW power interruption occurred under Chandpur S/S areas
switched on at 16:05. |  |  |  | from 15:20 to 16:05.
e) Shahjibazar GT-9 tripped at 15:34 due to fuel pressure low & loss of flame and was sync.at 18:01.
f) Netrokona 132/33 kV T3 transformer was shut down at 15:05 due to top up oil level and was switched |  |  |  | About 10 MW power interruption occurred under Netrokona S/S areas
on at 15:45. |  |  |  | from 15:05 to 15:45.
g) Hathazari-Kaptai 132 kV Ckt-1 & 2 tripped at 17:26 showing dist.E/F relay and were switched on at 17:37.
h) Siddirganj 132/33 kV T2 transformer was shut down at 06:42(11/7/14) due to CT change at B & Y phase.
i) Comilla (N)-Fenchuganj 230 kV Ckt-1 was shut down from 07:37(11/7/14) due to check interlocking
system at Comilla (N) end.
j) Barapukuria #1 was forced shut down at 08:46 due to reheater tube leakage.

## P2
POWER GRID COMPANY OF BANGLADESH LTD.
Description of the generation of various Power Stations
| Date : | 2014-07-10 | [6 empty] | Page -2
[5 empty] | Present | Peak Hour | Energy
| Name of Power Station |  | Unit | Producer | Generation | Generation | Generated |  | Remarks
Capacity
[5 empty] | MW | MW | KWHr
1 | Ghorasal ST: Unit-1, 2 |  | 2x55 | PDB | 85 | 40 | 675000
30
2 | Ghorasal ST: Unit-3 |  | 1x210 | PDB | 170 | 0 | 0 | Under maint.on 08/05/14
3 | Ghorasal ST: Unit-4 |  | 1x210 | PDB | 180 | 180 | 4010580
4 | Ghorasal ST: Unit-5 |  | 1x210 | PDB | 190 | 170 | 3906000 | Machine problem
5 | Ghorasal ST: Unit-6 |  | 1x210 | PDB | 190 | 0 | 0 | Long term maint.
6 | Ghorashal 100MW(Agreko) |  | 128x0.85 | QRPP | 100 | 100 | 2396190
7 | Ghorashal 45MW(Agreko) |  | 58x0.85 | QRPP | 45 | 45 | 1086950
8 | Ghorashal 78.5 MW (MAX) |  | 4x21.5 | QRPP | 78 | 0 | 0 | Contract Date Expired
9 | Ghorashal (Regent) |  | 34x3.35 | IPP |  | 107 | 2402454 | On test
|  |  | 1x32 | PDB | 20 | 0 | 0 | Gas pressure low
10 | Haripur GT: Unit-1, 2, 3 |  | 1x32 | PDB | 20 | 0 | 0 | Gas pressure low
|  |  | 1x32 | PDB | 20 | 0 | 0 | Under maint. since 18/06/09
11 | Haripur EGCB 412 MW CCPP |  | 1x273+1x139 | EGCB | 412 | 438 | 10176100
12 | Haripur NEPC(HFO) |  | 8x15 | IPP | 110 | 93 | 1980100 | 1 Engine problem
13 | Haripur Power CCPP |  | 1x235+1x125 | IPP | 360 | 321 | 7056000 | Gas pressure low
14 | Meghnaghat CCPP |  | 2x150+1x150 | IPP | 450 | 0 | 0 | Long term maint.
15 | Meghnaghat (IEL) |  | 12x8.9 | RPP | 100 | 82 | 1961280 | 2 Engine problem
16 | Meghnaghat CCPP(Summit) |  | 2x110+1x110 | IPP | 203 | 205 | 3779694
17 | Madanganj (Summit) |  | 6x17 | QRPP | 100 | 78 | 1767200 | 1 Engine problem
18 | Keraniganj (Powerpac) |  | 8x13.45 | RPP | 100 | 96 | 2041760
19 | Narsingdi (Doreen) |  | 8 x 2.9 | SIPP, REB | 22 | 21 | 488736 | Synchronized at 33KV
20 | Siddhirgonj ST |  | 1x210 | PDB | 150 | 110 | 2592450 | Gas pressure low
21 | Siddhirgonj GT : Unit-1 & 2 |  | 2x105 | EGCB | 210 | 80 | 640000 | Gas pressure low
22 | Siddhirgonj (Desh) |  | 96x1.2 | QRPP | 98 | 75 | 1164480 | 20 Engine problem
23 | Siddhirgonj (Dutch Bangla) |  | 12x8.9 | RPP | 100 | 92 | 2061120 | 1 Engine problem
24 | Pagla (DPA) |  | 100x0.5 | QRPP | 50 | 40 | 661620 | Contract expired
25 | Gagnagar (Orion) |  | 12x8.924 | IPP | 102 | 102 | 2221344
26 | Summit Power,Dhaka |  | 6*3.67+2*6.97+14*8.73 | SIPP, REB | 146 | 116 | 2728180 | Synchronized at 33KV, Engine problem
27 | Gazipur (RPCL) |  | 6x8.9 | IPP | 52 | 52 | 848160
28 | Tongi GT |  | 1x105 | PDB | 105 | 50 | 884160 | Gas pressure low
| Dhaka Area Total |  |  |  | 3968 | 2723 | 57529558
29 | Chitagong ST:Unit-1 |  | 1x210 | PDB | 180 | 90 | 2400000 | Gas pressure low
30 | Chitagong ST:Unit-2 |  | 1x210 | PDB | 180 | 90 | 2300000 | Gas pressure low
31 | Raozan 25 MW (RPCL) |  | 3x8.9 | IPP | 25 | 18 | 365400 | 1 Engine problem
32 | Patenga 50 MW(Barakatulla) |  | 8x6.89 | IPP | 50 | 45 | 1092000 | Engine problem
|  |  | 1x40 | PDB | 40 | 42 | 1976000 | Water level low
|  |  | 1x40 | PDB | 40 | 42 | 0
33 | Karnafuli Hydro Power Station |  | 1x50 | PDB | 50 | 0 | 0
|  |  | 1x50 | PDB | 50 | 30 | 1362500
|  |  | 1x50 | PDB | 50 | 28 | 0
34 | Shikalbaha ST |  | 1x60 | PDB | 40 | 0 | 0 | Gas pressure low
35 | Shikalbaha peaking GT |  | 1x150 | PDB | 150 | 0 | 0 | Under maint.
36 | Hathazari peaking |  | 11x8.9 | PDB | 98 | 87 | 890556 | 1 Engine problem
37 | Dohazari-Kalaish peaking |  | 6x17 | PDB | 102 | 102 | 1045765
38 | Juldah (Acorn) |  | 8x13.45 | QRPP | 100 | 92 | 2152920 | Engine problem
39 | Shikalbaha (Energis) |  |  | RPP |  | 0 | 40800 | Contract expired date (06/05/2013)
40 | Barabkunda (regent) |  | 8x2.90 | SIPP, PDB | 22 | 13 | 383520 | Synchronized at 33KV,3 Engine problem
41 | Malancha, Ctg EPZ(United) |  |  |  |  | 38 | 606720 | Synchronized at 33KV
| Chittagong Area Total |  |  |  | 1177 | 717 | 14616181
42 | Ashuganj ST: Unit- 1 & 2 |  | 1x64 | APSCL | 97 | 0 | 0 | Machine problem
|  |  | 1x64 | APSCL |  | 0 | 0 | Under maint.
43 | Ashuganj ST: Unit- 3 |  | 1x150 | APSCL | 135 | 130 | 3025116
44 | Ashuganj ST: Unit- 4 |  | 1x150 | APSCL | 129 | 140 | 3295035
45 | Ashuganj ST: Unit- 5 |  | 1x150 | APSCL | 134 | 130 | 3115598
46 | Ashuganj CCPP: GT-2 |  | 1x56 | APSCL | 40 | 40 | 938868
47 | Ashuganj-Engines |  | 14x3.968 | APSCL | 45 | 42 | 939312
48 | Ashugonj (Precision) |  | 15x4 | RPP | 55 | 52 | 1199520
49 | Ashuganj (Aggrekko) |  | 82x1.1 | RPP | 80 | 82 | 1936350
50 | Ashuganj (United) |  | 14x4 | RPP | 53 | 53 | 1272000
51 | Ashuganj (Midland) |  | 6x9.34 | IPP | 51 | 48 | 1169236
52 | Brahmanbaria (Aggreko) |  | 72x1.1 | QRPP | 70 | 71 | 1691000
53 | Titas (Daudkandi) Peaking |  | 6 x 8.92 | PDB | 52 | 42 | 570052 | 1 Engine problem
54 | Chandpur CCPP |  | 1x106+1x57 | PDB | 163 | 158 | 3561608
55 | Feni(Doreen) |  | 8 X 2.94 | SIPP, PDB | 22 | 15 | 363564 | 2 Engine problem
56 | Feni Mohipal (Doreen) |  | 4x2.9 | SIPP, REB | 11 | 11 | 210960 | Synchronized at 33 KV
57 | Jangalia (Summit) |  | 4x8.73 | SIPP, PDB | 33 | 33 | 730900
58 | Summit Power,Comilla |  | 3x3.67+2x6.9 | SIPP, REB | 25 | 10 | 350910 | 3 Engine problem
| Comilla Area Total |  |  |  | 1195 | 1057 | 24370029
59 | RPCL CCPP |  | 4x35+1x70 | IPP | 202 | 146 | 3399000 | Gas pressure low
60 | Tangail (Doreen) |  | 8 x 2.9 | SIPP,PDB | 22 | 16 | 341496 | Synchronized at 33KV, 2 Engine problem
| Mymensingh Area Total |  |  |  | 224 | 162 | 3740496
61 | Fenchugonj CCPP-1 |  | 2x32+1x33 | PDB | 80 | 73 | 1691000 | Engine problem
62 | Fenchugonj CCPP-2 |  | 2x35+1x35 | PDB | 90 | 74 | 1798480 | Engine problem
63 | Fenchugonj RPP (51 MW) |  | 2.9X19 | RPP | 51 | 50 | 1188000
64 | Fenchuganj (Energyprima) |  | 12x3.3+5x2 | RPP | 44 | 46 | 1092000
65 | Hobiganj (Confidence-EP) |  | 4x2.9 | SIPP, REB | 11 | 10 | 210960 | Synchronized at 33 kV
66 | Shahjibazar GT: Unit-5,6 |  | 2x35 | PDB | 0 | 0 | 0
67 | Shahjibazar GT: Unit-8,9 |  | 32x2.9 | PDB | 66 | 53 | 305000 | Frequency control.
68 | Shahjibazar (Shahjibazar) |  | 32X2.9 | RPP | 86 | 83 | 1989120
69 | Shahjibazar (Energyprima) |  | 27x2.0 | RPP | 50 | 46 | 1025280
70 | Sylhet 150 MW GT |  | 1x142 | PDB | 142 | 140 | 3352570
71 | Sylhet 20 MW GT |  | 1x20 | PDB | 20 | 20 | 452000
72 | Sylhet (Energyprima) |  | 27 x 2.0 | RPP | 50 | 45 | 1042780 | 1 Engine problem
73 | Shahjahanulla 25MW |  | 3 x 9.34 | CIPP,REB | 25 | 7 | 432696
74 | Sylhet (Desh) |  | 6x1.95 | RPP | 10 | 7 | 184140 | Synchronized at 33KV, 1 Engine problem
| Sylhet Area Total |  |  |  | 725 | 654 | 14764026
|  |  | 1x20 | PDB | 16 | 16 | 0
75 | Bheramara GT: Unit-1,2,3 |  | 1x20 | PDB | 14 | 0 | 452000 | Under maint.
|  |  | 1x20 | PDB | 16 | 16 | 0
76 | Bheramara (Quantum) |  | 12x8.5+2x6+2x13 | RPP | 105 | 0 | 0 | Engine problem
77 | Bheramara HVDC Interconnector |  |  | India | 500 | 358 | 9581818
78 | Khulna ST 110 MW |  | 1x110 | PDB | 55 | 0 | 209590 | Under maint.
79 | Khulna ST 60 MW |  | 1x60 | PDB |  | 0 | 0 | Plant Retired in FY 2013-2014
80 | Khulna (KPCL-1) |  | 19x6.5 | IPP | 110 | 110 | 2060200
81 | Khulna (KPCL-2) |  | 7x17 | QRPP | 115 | 99 | 1864320 | 1 Engine problem
82 | Faridpur Peaking |  | 8x6.89 | PDB | 54 | 33 | 781920 | 2 Engine problem
83 | Khulna 150 MW GT |  | 1x150 | NWZPGCL | 158 | 158 | 2712960
84 | Gopalganj Peaking |  | 16x6.98 | PDB | 109 | 63 | 699584 | 5 Engine problem
85 | Noapara (Quantam) |  | 9.9x5+9.5x6+9.2x2 | RPP | 101 | 0 | 0 | Engine problem
86 | Noapara (Khanjahan Ali) |  | 5x8.5 | QRPP | 40 | 40 | 950625 | Synchronized at 33KV
87 | Khulna (Aggreko) 55MW |  | 71X0.85 | QRPP | 55 | 46 | 653660 | Contract Date expired
| Khulna Area Total |  |  |  | 1448 | 939 | 19966677
88 | Barisal GT: Unit-1,2 |  | 1x20 | PDB | 16 | 15 | 0
89 |  |  | 1x20 | PDB | 14 | 12 | 415435
90 | Bhola (Venture) |  | 1x34.5 | RPP | 33 | 29 | 597100 | Synchronized at 33KV
| Barisal Area Total |  |  |  | 63 | 56 | 1012535
91 | Baghabari GT |  | 1x71 | PDB | 71 | 67 | 1537000
92 | Baghabari GT |  | 1x100 | PDB | 100 | 97 | 2177000
93 | Baghabari Peaking |  | 6x8.9 | PDB | 52 | 45 | 956972 | Engine problem
94 | Westmont GT, Baghabari |  |  | IPP |  | 0 | 0 | Plant Retired in FY 2013-2014
95 | Bera Peaking |  | 9x8.29 | PDB | 71 | 71 | 1555432
96 | Amnura |  | 7x7.79 | QRPP | 50 | 28 | 114200 | 2 Engine problem
97 | Katakhali (Northern) |  | 6x8.92 | QRPP | 50 | 50 | 1026601
98 | Katakhali Peaking |  | 6x8.7 | PDB | 50 | 45 | 474926 | Engine problem
99 | Sirajganj CCPP |  | 1x50+1x75 | NWPGCL | 142 | 141 | 3240100
100 | Santahar Peaking |  | 6x8.7 | PDB | 50 | 46 | 505972 | Engine problem
101 | Bogra (GBB) |  | 6x4 | RPP | 22 | 17 | 414800 | 1 Engine problem
102 | Bogra (Energyprima) |  | 5x3.3+5x2 | RPP | 20 | 15 | 369180 | 1 Engine problem
103 | Ullapara (Summit) |  | 4 X 2.90 | SIPP, REB | 11 | 8 | 190440 | Synchronized at 33KV, 1 Engine problem
104 | Rajlanka 52 MW |  | 6x8.92 | IPP | 52 | 52 | 888960
| Rajshahi Area Total |  |  |  | 741 | 682 | 13451583
105 | Barapukuria ST: Unit-1 |  | 1x125 | PDB | 100 | 0 | 672436 | Under maint.
106 | Barapukuria ST: Unit-2 |  | 1x125 | PDB | 100 | 77 | 1816582 | Engine problem
107 | Rangpur GT |  | 1x20 | PDB | 20 | 12 | 108000 | Engine problem
108 | Saidpur GT |  | 1x20 | PDB | 20 | 18 | 169000
109 | Thakurgaon (RZ) |  | 20x1.5+21x1.1 | RPP | 40 | 29 | 504680 | Contract date expired
| Rangpur Area Total |  |  |  | 280 | 136 | 3270698
| Eastern Grid Total |  |  |  | 7289 | 5313 | 115020290
| Western Grid Total |  |  |  | 2532 | 1813 | 37701493
| National Grid Total |  |  |  | 9821 | 7126 | 152721783
* Data collected from respective power station over telephone.

## P3
| POWER GRID COMPANY OF BANGLADESH LTD. | [6 empty] | QF-LDC-09
NATIONAL LOAD DESPATCH CENTER
PEAK HOUR DEMAND (AT S/S END) OF DIFFERENT AREAS
Date: | 2014-07-10
(a) ENTIRE EASTERN GRID : |  |  | 4707 | MW | (b) ENTIRE WESTERN GRID : |  |  | 1985 | MW
i) Dhaka area |  |  | 2863 | MW | i) Khulna area |  |  | 753 | MW
ii) Chittagong area |  |  | 681 | MW | ii) Rajshahi area |  |  | 709 | MW
iii) Comilla area |  |  | 455 | MW | iii) Barisal area |  |  | 164 | MW
iv) Mymensingh area |  |  | 367 | MW | iv) Rangpur area |  |  | 359 | MW
v) Sylhet area |  |  | 341 | MW
| SYSTEM TOTAL DEMAND ( a + b ) = |  |  | 6692 | MW
MAXIMUM LOAD SERVED BY DIFFERENT SUBSTATIONS
Sub-Station | Load (MW) | Hour | Sub-Station | Load (MW) | Hour | Sub-Station | Load (MW) | Hour
Siddhirganj | 126 | 900 | Kishoreganj | 46 | 300 | Jessore | 102 | 2300
Munsiganj | 88 | 2100 | Netrokona | 43 | 100 | Jhenida | 57 | 300
Megnaghat | 30 | 2000 | Jamalpur | 90 | 2200 | Bottail | 70 | 2400
Shyampur | 121 | 2400 | Srimongal | 38 | 1900 | G.K Project | 32 | 200
Bhulta | 122 | 2400 | Shahjibazar | 48 | 2100 | Faridpur | 84 | 300
Madanganj | 33 | 2400 | Fenchuganj | 47 | 100 | Madaripur | 76 | 400
Shitalakhya | 95 | 1500 | Sylhet | 129 | 1900 | Gopalganj | 32.4 | 2200
Rahim steel | 3 | 1600 | Chatak | 35 | 1900 | Bagerhat | 46 | 1900
Matuail | 61 | 400 | B.Baria | 72 | 1930 | Mongla | 26 | 800
Ghorasal | 82 | 2100 | Comilla(S) | 155 | 2400 | Satkhira | 44.7 | 300
Narsingdi | 73 | 2000 | Comilla(N) | 34 | 1900 | Gallamari | 35.6 | 2100
Haripur (SBU) | 50 | 2200 | Chandpur | 67 | 2400 | Magura | 25 | 2200
Ullon | 93 | 2000 | Feni | 73 | 2400 | Chuadanga | 41 | 2400
Hasnabad | 154 | 2000 | Chowmuhani | 115 | 2400 | Barisal | 84 | 1930
Magbazar | 133 | 1000 | Ashuganj | 48 | 2400 | Patuakhali | 49.5 | 1900
Maniknagar | 98 | 2000 | Daudkandi | 46 | 2400 | Bhandaria | 25 | 1900
Bangabhaban | 46 | 1000 | Madanhat | 34 | 1900 | Ishurdi | 38 | 300
Narinda | 74 | 1400 | Hathazari | 82 | 400 | Natore | 70 | 300
Dhanmondi | 156 | 1100 | Khulshi | 150 | 1100 | Bogra | 157 | 300
Agargaon | 15 | 2000 | Halishahar | 125 | 1900 | Noagaon | 75 | 2000
Mirpur | 98.5 | 2000 | Baraulia | 82 | 200 | Rajshahi | 99 | 300
Kalyanpur | 165 | 1930 | Sikalbaha | 37 | 300 | C.Nawabganj | 55 | 400
Gulshan | 129.2 | 1500 | Dohazari | 68 | 300 | Pabna | 63 | 300
Uttara | 94.5 | 2000 | Cox'sbazar | 52 | 300 | Shahjadpur | 50 | 1500
Kamrangirchar | 99 | 1200 | Chandraghona | 23 | 2100 | Serajganj | 49 | 1930
Savar | 80 | 2000 | Kaptai | 3.5 | 1930 | Niyamatpur | 36 | 2000
Bhasantec | 74 | 2100 | A. Khaer Stl. | 11.5 | 1300 | Joypurhat | 25 | 300
Tongi | 65 | 2100 | Bakulia | 95 | 1400 | Rangpur | 78 | 1900
Kabirpur | 136 | 1100 | Julda | 17 | 100 | Lalmonirhat | 45 | 200
Basundhara | 126 | 1100 | TK chemical | 10.2 | 1600 | Saidpur | 61 | 1500
Manikganj | 72 | 2100 | Modern Steel | 13 | 1000 | Purbasadipur | 56 | 300
Joydevpur | 207 | 2100 | Shahmirpur | 2.7 | 1000 | Thakurgaon | 44 | 200
New Tongi | 101 | 900 | Goalpara | 39 | 2100 | Palashbari | 49 | 300
Tangail | 100 | 100 | Central S/S | 72 | 300 | Barapukuria | 29 | 400
Mymensingh | 123 | 2300 | Noapara | 47 | 2300 | Panchagar | 14 | 300
Sub Divisional Engineer |  |  | Executive Engineer |  |  | Superintendent Engineer
Network Operation Division |  |  | Network Operation Division |  |  | Load Despatch Circle
(1) Honbl. State Minister |  |  | (8) Executive Director (O & M) PGCB. |  |  | (18) C.E. Transmission (1 & 2) PGCB.
Ministry of Power,Energy & Mineral |  |  | (9) Member,Generation,PDB. |  |  | (19) S.E. System Protection,PGCB.
Resources, GOB. |  |  | (10) Member,Distribution. |  |  | (20) Director,Public Relation,PDB.
(2) Secy (Power Divn.)Ministry of |  |  | (11) Member,Transmission & |  |  | (21) Director Program, PDB.
Power,Energy & Mineral Resources. |  |  | System Operation,PDB. |  |  | (22) S.E. Consumer Affairs,PDB.
(3) Director General,Power cell |  |  | (12) Member,P&D,PDB. |  |  | (23) Director,Project Planning,PDB.
(4) Chairman,BERC |  |  | (13) C.E (P & D), PGCB. |  |  | (24) Director,System Planning,PDB.
(5) Chairman, BPDB. |  |  | (14) G.M. Commercial Operation |  |  | (25) Executive Eng.IMD.
(6) Managing Director, PGCB. |  |  | (15) C.E. Generation,PDB. |  |  | (26) Executive Eng. EMD.
(7) Member(Power & Industry) |  |  | (16) C.E, (P & D),PDB. |  |  | (27) NLDC
Planning Commission. |  |  | (17) C.E. System Operation,PGCB

## L.curve
Date | 2014-07-10 | [8 empty] | QF-LDC-11
TIME | E-W INT. | EAST GRID | WEST GRID | TOTAL |  | Demand | Hour
0:00 | -820 | 5186 | 1816 | 7002 | -820 | 7002 | 0:00 | DAILY LOAD CURVE | 2014-07-10
0:30 | -560 | 5171.5 | 1781.5 | 6953 | -300 | 6953 | 1:00
1:00 | -300 | 5157 | 1747 | 6904 | -310 | 6904 | 2:00
1:30 | -305 | 5168 | 1716 | 6884 | -300 | 6884 | 3:00
2:00 | -310 | 5179 | 1685 | 6864 | -310 | 6864 | 4:00
2:30 | -305 | 5281.5 | 1748.5 | 7030 | -440 | 7030 | 5:00
3:00 | -300 | 5384 | 1812 | 7196 | -440 | 7196 | 6:00
3:30 | -305 | 5329 | 1804 | 7133 | -400 | 7133 | 7:00
4:00 | -310 | 5274 | 1796 | 7070 | -340 | 7070 | 8:00
4:30 | -375 | 5125 | 1577 | 6702 | -150 | 6702 | 9:00
5:00 | -440 | 4976 | 1358 | 6334 | -40 | 6334 | 10:00
5:30 | -440 | 4857 | 1299.5 | 6156.5 | -16 | 6156.5 | 11:00
6:00 | -440 | 4738 | 1241 | 5979 | -16 | 5979 | 12:00
6:30 | -420 | 4646.5 | 1238.5 | 5885 | -110 | 5885 | 13:00
7:00 | -400 | 4555 | 1236 | 5791 | -140 | 5791 | 14:00
7:30 | -370 | 4602 | 1213.5 | 5815.5 | -130 | 5815.5 | 15:00
8:00 | -340 | 4649 | 1191 | 5840 | -130 | 5840 | 16:00
8:30 | -245 | 4703.5 | 1337.5 | 6041 | -160 | 6041 | 17:00
9:00 | -150 | 4758 | 1484 | 6242 | -180 | 6242 | 18:00
9:30 | -95 | 4706 | 1502 | 6208 | -140 | 6208 | 18:30
10:00 | -40 | 4654 | 1520 | 6174 | -170 | 6174 | 19:00
10:30 | -28 | 4728.5 | 1543 | 6271.5 | -260 | 6271.5 | 19:30
11:00 | -16 | 4803 | 1566 | 6369 | -260 | 6369 | 20:00
11:30 | -16 | 4742 | 1561 | 6303 | -240 | 6374.5 | 21:00
12:00 | -16 | 4681 | 1556 | 6237 | -230 | 6380 | 22:00
12:30 | -63 | 4693.5 | 1551.5 | 6245 | -260 | 6380 | 23:00
13:00 | -110 | 4706 | 1547 | 6253 | -280 | 6380 | 24:00
13:30 | -125 | 4704 | 1544.5 | 6248.5 |  | 6390
14:00 | -140 | 4702 | 1542 | 6244 | 128.92 | 6400
14:30 | -135 | 4707 | 1544.5 | 6251.5 | 86.5 | 6400
15:00 | -130 | 4712 | 1547 | 6259 |  | 6400
15:30 | -130 | 4752 | 1566.5 | 6318.5 | 7867500 | 6389
16:00 | -130 | 4792 | 1586 | 6378 |  | 6378
16:30 | -145 | 4811.5 | 1522.5 | 6334 |  | 6334
17:00 | -160 | 4831 | 1459 | 6290 | 700 | 6290
17:30 | -160 | 4831 | 1475 | 6306 | 1800 | 6306
18:00 | -160 | 4831 | 1491 | 6322 | 100 | 6322
18:30 | -140 | 4823 | 1516 | 6339 | 1400 | 6339
19:00 | -170 | 5124 | 1698 | 6822 | 100 | 6822
19:30 | -260 | 5239 | 1756 | 6995 | 1800 | 7250
20:00 | -260 | 5313 | 1813 | 7126 | 1800 | 7400
20:30 | -250 | 5291.5 | 1812 | 7103.5 | 1800 | 7400
21:00 | -240 | 5270 | 1811 | 7081 | 2100 | 7400
21:30 | -235 | 5284 | 1770.5 | 7054.5 | 1900 | 7325
22:00 | -230 | 5298 | 1730 | 7028 | 1900 | 7250
22:30 | -245 | 5301.5 | 1733 | 7034.5 |  | 7200
23:00 | -260 | 5305 | 1736 | 7041 |  | 7150
23:30 | -270 | 5338 | 1739.5 | 7077.5 |  | 7132
24:00 | -280 | 5371 | 1743 | 7114 |  | 7114
*MAX.GEN.(E.P.) |  | 7196 |  | 0.125
*MAX.GEN.(D.P.) |  | 6369 |  | 0.45833
|  |  |  | min | max
|  | 3063.9 | 3349 | 0.33333 | 0.041667
|  | 2664.1 | 3286.1 | 0.54167 | 0.45833
|  | 2910.2 | 3139.4 | 0.77083 | 24:00
|  | 2664.1 | 3349 | 0.54167 | 0.041667
|  | 282 |  | 0.16667
|  | 276 |  | 0.75
|  | 348 |  | 0.875
|  | 348 |  | 0.875
| Deputy Manager |  |  | Manager |  |  | Deputy General Manager
| Load Despatch Division |  |  | Load Despatch Division |  |  | Load Despatch Circle
NATIONAL LOAD DESPATCH CENTER
3595 MW (09:00 )
4008 MW(05:00 )
.4MW (19:30)
7126 MW (20:00)
6369 MW (11:00)

## En.Curve
QF-LDC-12
Date | 2014-07-10 |  | Energy | 152721783
TIME | GAS | HVDC | P.GEN(GAS). | P.GEN(OIL). | COAL | HYDRO | OIL | SHORTAGE |  | DAILY ENERGY CURVE |  | 2014-07-10
0:00 | 1562 | 356 | 2791 | 1470 | 159 | 155 | 603 | 0
0:30 | 1541.5 | 391 | 2790 | 1412 | 157 | 155 | 614 | 0
1:00 | 1521 | 426 | 2789 | 1354 | 155 | 155 | 625 | 0
1:30 | 1523.5 | 426 | 2794 | 1339.5 | 155 | 143.5 | 623.5 | 0 | [5 empty] | 152.7218
2:00 | 1526 | 426 | 2799 | 1325 | 155 | 132 | 622 | 0 | [5 empty] | 8.5363
2:30 | 1560.5 | 426 | 2845.5 | 1412 | 155.5 | 138 | 623 | 0 | [5 empty] | 161.2581
3:00 | 1595 | 426 | 2892 | 1499 | 156 | 144 | 624 | 0
3:30 | 1614 | 426.5 | 2899.5 | 1498.5 | 156 | 150 | 529 | 0
4:00 | 1633 | 427 | 2907 | 1498 | 156 | 156 | 434 | 0
4:30 | 1634 | 426.5 | 2911.5 | 1259.5 | 156 | 156 | 297.5 | 0
5:00 | 1635 | 426 | 2916 | 1021 | 156 | 156 | 161 | 0
5:30 | 1637.5 | 426 | 2913 | 850.5 | 157 | 156.5 | 160.5 | 0
6:00 | 1640 | 426 | 2910 | 680 | 158 | 157 | 160 | 0
6:30 | 1621.5 | 426 | 2886.5 | 653.5 | 157.5 | 157 | 160 | 0
7:00 | 1603 | 426 | 2863 | 627 | 157 | 157 | 160 | 0
7:30 | 1575 | 426 | 2802 | 769 | 155.5 | 147.5 | 148.5 | 0
8:00 | 1547 | 426 | 2741 | 911 | 154 | 138 | 137 | 0
8:30 | 1545.5 | 426 | 2752.5 | 1123 | 115 | 138 | 141.5 | 0
9:00 | 1544 | 426 | 2764 | 1335 | 76 | 138 | 146 | 0
9:30 | 1514.5 | 426 | 2720 | 1367.5 | 77 | 138 | 151 | 0
10:00 | 1485 | 426 | 2676 | 1400 | 78 | 138 | 156 | 0
10:30 | 1483.5 | 429 | 2697.5 | 1468 | 77.5 | 138 | 177.5 | 0
11:00 | 1482 | 432 | 2719 | 1536 | 77 | 138 | 199 | 0
11:30 | 1476.5 | 421 | 2671.5 | 1516 | 77.5 | 137.5 | 99.5 | 71.5
12:00 | 1471 | 410 | 2624 | 1496 | 78 | 137 | 0 | 143
12:30 | 1458 | 403.5 | 2634.5 | 1506.5 | 80 | 134.5 | 103.5 | 135
13:00 | 1445 | 397 | 2645 | 1517 | 82 | 132 | 207 | 127
13:30 | 1451.5 | 397 | 2638.5 | 1518.5 | 81 | 132 | 198.5 | 141.5
14:00 | 1458 | 397 | 2632 | 1520 | 80 | 132 | 190 | 156
14:30 | 1455 | 396.5 | 2633 | 1530 | 79 | 133.5 | 192.5 | 148.5
15:00 | 1452 | 396 | 2634 | 1540 | 78 | 135 | 195 | 141
15:30 | 1439.5 | 401 | 2642 | 1574 | 78 | 136 | 216 | 70.5 | Max Temp. in Dhaka |  | 34.1° C
16:00 | 1427 | 406 | 2650 | 1608 | 78 | 137 | 237 | 0
16:30 | 1420 | 401.5 | 2630 | 1538.5 | 78 | 137 | 284.5 | 0
17:00 | 1413 | 397 | 2610 | 1469 | 78 | 137 | 332 | 0
17:30 | 1415.5 | 397 | 2621.5 | 1356 | 78 | 138 | 376.5 | 0
18:00 | 1418 | 397 | 2633 | 1243 | 78 | 139 | 421 | 0
18:30 | 1463 | 348 | 2664 | 1306 | 77 | 141 | 483 | 0
19:00 | 1466 | 358 | 2762 | 1538 | 75 | 141 | 598 | 0
19:30 | 1467 | 358 | 2875 | 1591 | 76 | 141 | 609 | 255
20:00 | 1519 | 358 | 2856 | 1682 | 77 | 142 | 617 | 274
20:30 | 1517.5 | 358 | 2839.5 | 1683.5 | 76.5 | 142.5 | 616.5 | 296.5
21:00 | 1516 | 358 | 2823 | 1685 | 76 | 143 | 616 | 319
21:30 | 1516.5 | 352.5 | 2815 | 1669 | 76 | 152 | 602.5 | 270.5
22:00 | 1517 | 347 | 2807 | 1653 | 76 | 161 | 589 | 222
22:30 | 1526 | 347.5 | 2809.5 | 1651 | 83 | 161 | 587.5 | 165.5
23:00 | 1535 | 348 | 2812 | 1649 | 90 | 161 | 586 | 109
23:30 | 1570.5 | 348 | 2822 | 1652.5 | 88.5 | 151 | 586.5 | 54.5
24:00 | 1606 | 348 | 2832 | 1656 | 87 | 141 | 587 | 0
|  | 1490 |  |  |  |  | 2380 | 3100
|  | Deputy / Asstt. Manager |  |  | Manager
|  | Load Despatch Division |  |  | Load Despatch Division
NATIONAL LOAD DESPATCH CENTER

## volt
NATIONAL LOAD DESPATCH CENTER
The Maximum & Minimum Voltages of different Sub-Stations.
Date : | 2014-07-10
| Maxm |  | Minm |  |  | Maxm |  | Minm
Substation | Voltage | Hour | Voltage | Hour | Substation | Voltage | Hour | Voltage | Hour
230 KV | KV |  | KV |  | 230 KV | KV |  | KV
Hathazari | 219 | 2000 | 211 | 1000 | Megnaghat | 208 | 2300 | 200 | 1200
Comilla(N) | 221 | 200 | 212 | 1000 | Haripur | 210 | 500 | 200 | 1100
Ashuganj | 227 | 200 | 224 | 1300 | Ishurdi | 232 | 1100 | 225 | 500
Ghorasal | 218 | 100 | 212 | 1300 | Baghabari | 225 | 1100 | 220 | 500
Rampura | 213 | 500 | 202 | 1500 | Serajganj | 225 | 1700 | 218 | 2400
Tongi | 208 | 400 | 200 | 1100 | Bogra | 228 | 1100 | 220 | 2100
Aminbazar | 208 | 400 | 198 | 1500 | Barapukuria | 225 | 100 | 220 | 2300
Hasnabad | 228 | 300 | 216 | 1500 | Khulna South | 236 | 1800 | 222 | 600
132 kV | KV |  | KV |  | 132 kV | KV |  | KV
Siddhirganj | 133 | 200 | 126 | 1000 | Khulshi | 134 | 1930 | 128 | 1000
Munsiganj | 132 | 200 | 127 | 1000 | Halishahar | 131 | 2000 | 125 | 1000
Megnaghat | 133 | 400 | 127 | 1100 | Baraulia | 130 | 2000 | 125 | 900
Shyampur | 125 | 300 | 119 | 1100 | Sikalbaha | 132 | 2100 | 124 | 1000
Bhulta | 122 | 300 | 116 | 1100 | Dohazari | 130 | 1930 | 120 | 1300
Madanganj | 129 | 300 | 123 | 1500 | Cox'sbazar | 130 | 2000 | 118 | 400
Shitalakhya | 132 | 300 | 125 | 1000 | Chandraghona | 132 | 1930 | 127 | 900
Rahim steal | 132 | 700 | 130 | 100 | Kaptai | 132 | 1830 | 129 | 700
Matuail | 131 | 300 | 125 | 1100 | A. Khaer Stl. | 130 | 1930 | 125 | 900
Ghorasal | 133 | 100 | 130 | 1200 | Bakulia | 129 | 2000 | 122 | 1000
Narsinghdi | 131 | 300 | 123 | 1000 | Julda | 130 | 1930 | 125 | 900
Haripur (SBU) | 132 | 300 | 126 | 1100 | TK Chemical | 134 | 2100 | 127 | 1000
Ullon | 133 | 500 | 125 | 1200 | Modern Steel | 130 | 2000 | 122 | 800
Hasnabad | 130 | 300 | 124 | 1100 | Shahmirpur | 131 | 2000 | 123 | 900
Magbazar | 130 | 200 | 120 | 1100 | Goalpara | 139 | 1100 | 132 | 400
Maniknagar | 131 | 300 | 124 | 1000 | Central s/s | 139 | 1100 | 132 | 600
Bangabhaban | 131 | 300 | 124 | 1000 | Noapara | 136 | 1100 | 129 | 500
Narinda | 131 | 300 | 124 | 1000 | Jessore | 130 | 1000 | 124 | 400
Dhanmondi | 133 | 500 | 125 | 1200 | Jhenida | 130 | 1500 | 119 | 400
Agargaon | 132 | 600 | 126 | 1000 | Bottail | 137 | 900 | 130 | 500
Mirpur | 125 | 500 | 117 | 1100 | G.K.Project | 139 | 1800 | 132 | 2400
Kalyanpur | 130 | 300 | 120 | 1200 | Faridpur | 133 | 1600 | 123 | 2400
Gulshan | 131 | 400 | 118 | 1200 | Madaripur | 130 | 1000 | 120 | 2400
Uttara | 126 | 600 | 117 | 1000 | Gopalganj | 135 | 1600 | 118 | 1400
Kamrangirchar | 126 | 300 | 117 | 1200 | Bagerhat | 131 | 1500 | 124 | 2400
Savar | 128 | 300 | 119 | 1200 | Mongla | 134 | 1000 | 124 | 600
Bhasantec | 130 | 200 | 124 | 1300 | Satkhira | 137 | 1000 | 130 | 600
Tongi | 132 | 300 | 125 | 1100 | Gallamari | 139 | 1000 | 131 | 600
Kabirpur | 125 | 1300 | 122 | 1200 | Magura | 130 | 1500 | 120 | 1900
Basundhara | 127 | 600 | 116 | 1100 | Chuadanga | 129 | 1500 | 117 | 2400
Manikganj | 128 | 500 | 119 | 1100 | Barisal | 132 | 1100 | 118 | 1400
Joydevpur | 134 | 1800 | 128 | 1300 | Patuakhali | 125 | 1300 | 116 | 2400
New Tongi | 130 | 100 | 121 | 1830 | Bhandaria | 130 | 1000 | 120 | 2400
Tangail | 130 | 400 | 121 | 2200 | Ishurdi | 139 | 1800 | 132 | 500
Mymensing | 128 | 600 | 123 | 2300 | Natore | 136 | 1100 | 126 | 500
Kishorganj | 131 | 700 | 125 | 2300 | Bogra | 135 | 1900 | 127 | 500
Netrokona | 130 | 700 | 122 | 1900 | Noagaon | 132 | 1800 | 125 | 1930
Jamalpur | 126 | 900 | 116 | 300 | Rajshahi | 136 | 2000 | 125 | 600
Srimongal | 140 | 100 | 137 | 1300 | C.Nawabganj | 135 | 2000 | 120 | 700
Shahjibazar | 143 | 600 | 140 | 2100 | Pabna | 133 | 1100 | 130 | 100
Fenchuganj | 137 | 200 | 136 | 100 | Shahjadpur | 138 | 1100 | 136 | 300
Sylhet | 137 | 900 | 135 | 1500 | Serajganj | 133 | 1800 | 130 | 600
Chatak | 135 | 400 | 133 | 1700 | Niyamatpur | 132 | 1800 | 125 | 1930
B.Baria | 136 | 500 | 133 | 1400 | Joypurhat | 132 | 1800 | 125 | 100
Comilla(S) | 130 | 700 | 126 | 1300 | Rangpur | 126 | 500 | 122 | 1600
Comilla(N) | 132 | 1300 | 129 | 1500 | Lalmonirhat | 125 | 1100 | 120 | 100
Chandpur | 131 | 2300 | 130 | 600 | Saidpur | 124 | 1000 | 120 | 1930
Feni | 125 | 2400 | 121 | 1300 | Purbasadipur | 126 | 1800 | 120 | 500
Chowmuhani | 125 | 700 | 123 | 1200 | Thakurgaon | 123 | 1100 | 114 | 600
Ashuganj | 143 | 800 | 140 | 1700 | Palashbari | 126 | 1100 | 122 | 100
Daudkandi | 132 | 1930 | 125 | 1100 | Barapukuria | 125 | 100 | 124 | 2000
Madanhat | 134 | 2000 | 129 | 900 | Panchagar | 122 | 1200 | 116 | 100
Hathazari | 132 | 1930 | 127 | 800