## Daily Gen
Hourly Generation & Demand
Date: | 2016-05-10
Time | Generation | Demand | Loadshed | Remarks
Hour | MW | MW | MW
1:00 | 7511 | 7511 | 0
2:00 | 7258 | 7258 | 0
3:00 | 7148 | 7148 | 0
4:00 | 6965 | 6965 | 0
5:00 | 6823 | 6823 | 0
6:00 | 6274 | 6274 | 0
7:00 | 6089 | 6089 | 0
8:00 | 6163 | 6163 | 0
9:00 | 6806 | 6806 | 0
10:00 | 7154 | 7154 | 0 | Day Peak
11:00 | 7073 | 7073 | 0
12:00 | 7153 | 7153 | 0
13:00 | 7114 | 7114 | 0
14:00 | 7201 | 7201 | 0
15:00 | 7156 | 7156 | 0
16:00 | 7060 | 7060 | 0
17:00 | 7088 | 7088 | 0
18:00 | 7326 | 7326 | 0
18:30 | 7409 | 7409 | 0
19:00 | 7805 | 8000 | 175.5
19:30 | 7797 | 8075 | 250.2
20:00 | 7879 | 8150 | 243.9
21:00 | 7927 | 8200 | 245.7 | Evening peak
22:00 | 7822 | 8000 | 160.2
23:00 | 7648 | 7648 | 0
24:00 | 7546 | 7546 | 0

## forecast
[5 empty] | Power Grid Company of Bangladesh Ltd. | [10 empty] | QF-LDC-07
|  |  | Report on forecasted generation & Demand of national grid on | [7 empty] | 2016-05-11 | Wednesday
|  | Date (day): | 2016-05-11 |  | Wednesday
| Probable Maximum |  | Generation : |  | (a) At Day Peak Hour : | 7560 | MW |  |  | (b) At Evening Peak Hour : |  | 8159 | MW
Sl. No. | Name of the Power Stations |  | Fuel | Producer | Installed Capacity |  | Present Capacity | Actual Generation |  | Forecasted Available Gen. on |  | Ev. Peak Gen.Shortage |  | Plants under |  | Probable
[8 empty] | On | 2016-05-10 | 2016-05-11 | during | for Fuel | for plant. S/D | Shut down (date)/ |  | Start up
[8 empty] | Day Peak | Ev. Peak | Day Peak | Ev. Peak | Limitation | M/C Problem | Remarks |  | Date
[5 empty] | Nos. of Unit X Capacity (MW) | MW | MW | MW | MW | MW | MW | MW | MW
1a | Ghorasal ST: Unit-1, 2 |  | Gas | PDB | 2*55 | 110 | 85 | 80 | 80 | 80 | 80
1b | Ghorasal ST: Unit-3 |  | Gas | PDB | 1*210 | 210 | 170 | 170 | 170 | 170 | 170
1c | Ghorasal ST: Unit-4 |  | Gas | PDB | 1*210 | 210 | 180 | 0 | 0 | 0 | 0 |  | 180 | 2015-05-01
1d | Ghorasal ST: Unit-5 |  | Gas | PDB | 1*210 | 210 | 190 | 170 | 170 | 170 | 170
1e | Ghorasal ST: Unit-6 |  | Gas | PDB | 1*210 | 210 | 190 | 0 | 0 | 0 | 0 |  | 190 | (18/07/2010) |  | Long term maint.
2 | Ghorashal 100MW(Aggreko) |  | Gas | QRPP | 128*0.85 | 100 | 100 | 97 | 97 | 98 | 100
3 | Ghorashal 45MW (Aggreko) |  | Gas | QRPP | 58*0.85 | 45 | 45 | 43 | 46 | 45 | 45
4 | Ghorashal 78.5MW (MAX) |  | Gas | QRPP | 4*21.5 | 78 | 78 | 65 | 62 | 70 | 70 |  | 16 | Engine problem
5 | Ghorashal (Regent) |  | Gas | IPP | 34*3.35 | 108 | 108 | 98 | 100 | 99 | 100
6 | Haripur GT: Unit-1, 2, 3 |  | Gas | PDB | 3*32 | 96 | 60 | 40 | 20 | 20 | 40 |  | 40 | #3 under maint.
7 | Haripur 412 MW CCPP |  | Gas | EGCB | 1*273+1*139 | 412 | 412 | 411 | 410 | 412 | 412
8 | Haripur NEPC (HFO) |  | HFO | IPP | 8*15 | 110 | 110 | 65 | 96 | 96 | 96 |  | 14 | Engine problem
9 | Haripur Power CCPP |  | Gas | IPP | 1*235+1*125 | 360 | 360 | 290 | 292 | 300 | 300
10 | Meghnaghat CCPP |  | Gas | IPP | 2*150+1*150 | 450 | 450 | 0 | 0 | 0 | 0 |  | 450 | Under maint. |  | 15/08/2016
11 | Meghnaghat (IEL) |  | HFO | RPP | 12*8.9 | 100 | 100 | 91 | 100 | 80 | 100
12 | Meghnaghat CCPP(Summit) |  | HSD | IPP | 2*110+1*110 | 305 | 305 | 305 | 305 | 305 | 305
13 | Madanganj (Summit) |  | HFO | QRPP | 6*17 | 102 | 100 | 95 | 95 | 90 | 95
14 | Madanganj-55 MW |  | HFO | IPP | 5*17.08+1*11.3 | 55 | 55 | 55 | 55 | 55 | 55
15 | Keraniganj (Powerpac) |  | HFO | RPP | 8*13.45 | 100 | 100 | 85 | 85 | 85 | 85 |  | 15 | Transformer problem
16 | Narshingdi (Doreen) |  | Gas | SIPP,REB | 8*2.90 | 22 | 22 | 19 | 22 | 22 | 22
17 | Siddhirgonj ST |  | Gas | PDB | 1*210 | 210 | 150 | 105 | 110 | 105 | 110 | 40
18 | Siddhirgonj GT: Unit-1& 2 |  | Gas | EGCB | 2*105 | 210 | 210 | 0 | 0 | 0 | 0 | 210 |  | Gas shortage.
19 | Siddhirganj (Desh) |  | HSD | QRPP | 96*1.2 | 96 | 98 | 50 | 94 | 80 | 98
20 | Siddhirganj (Dutch Bangla) |  | HFO | RPP | 12*8.9 | 100 | 100 | 78 | 86 | 90 | 90 |  | 14 | Engine problem
21 | Pagla (DPA ) |  | HSD | QRPP | 100*0.5 | 50 | 50 | 50 | 50 | 50 | 50
22 | Gagnagar (Orion) |  | HFO | IPP | 12*8.924 | 102 | 102 | 93 | 93 | 94 | 94 |  | 9 | Engine problem
23 | Katpotti 51 MW |  | HFO | IPP | 7*7.9 | 51 | 51 | 42 | 40 | 40 | 41 |  | 11 | Engine problem
24 | Kodda Peaking |  | HFO | BPDB-RPCL | 9*17.06 | 149 | 149 | 102 | 112 | 115 | 118 |  | 37 | Engine problem
| Southern Power |  | HFO | RPP |  |  |  | 0 | 0 | 0 | 0
| CLCPC Keranigonj 108 MW |  | HFO | RPP |  |  |  | 9 | 0 | 0 | 0
25 | Summit Power, Dhaka |  | Gas | SIPP,REB | 6*3.67+2*6.97+14*8.73 | 146 | 146 | 112 | 122 | 105 | 122 |  | 24 | Engine problem
26 | Gazipur (RPCL) |  | HFO | IPP | 6*8.9 | 52 | 52 | 43 | 43 | 43 | 43 |  | 9 | Engine problem
27 | Tongi GT |  | Gas | PDB | 1* 105 | 105 | 105 | 0 | 0 | 0 | 0 | 105 |  | Gas Shortage
| Dhaka Area Total |  |  |  |  | 4664 | 4433 | 2863 | 2955 | 2919 | 3011 | 355 | 1009
28a | Chittagong ST: Unit-1 |  | Gas | PDB | 1*210 | 210 | 180 | 0 | 0 | 0 | 0 | 180 |  | Gas shortage
28b | Chittagong ST: Unit-2 |  | Gas | PDB | 1*210 | 210 | 180 | 110 | 100 | 120 | 100 |  |  | Gas shortage
29 | Raozan 25 MW (RPCL) |  | HFO | IPP | 3*8.9 | 25 | 25 | 26 | 26 | 25 | 25
30 | Patenga 50MW (Barakatullah) |  | HFO | IPP | 8*6.984 | 50 | 50 | 51 | 52 | 50 | 52
31 | Kaptai Hydro: Unit-1,2,3,4, 5 |  | Hydro | PDB | 2*40, 3*50 | 230 | 230 | 38 | 82 | 100 | 100 |  | 50 | # 5 Under maint.
32 | Sikalbaha ST |  | Gas | PDB | 1*60 | 60 | 40 | 0 | 0 | 0 | 0 | 40 |  | Under maint.
33 | Sikalbaha Peaking GT |  | Gas | PDB | 1*150 | 150 | 150 | 80 | 85 | 100 | 100 | 65 |  | Gas shortage
34 | Sikalbaha (Energis) |  | HFO | RPP | 4*12.5+2*11.9+1*3+1*1.5 | 43 | 43 | 26 | 43 | 42 | 42
35 | Hathazari peaking |  | HFO | PDB | 11*8.9 | 98 | 98 | 0 | 68 | 59 | 68
36 | Dohazari-Kalaish Peaking |  | HFO | PDB | 6*17 | 102 | 102 | 32 | 65 | 32 | 66
37 | Juldah (Acorn) |  | HFO | QRPP | 8*13.45 | 100 | 100 | 92 | 102 | 92 | 100
38 | Barabkunda (Regent) |  | Gas | SIPP,PDB | 8*2.90 | 22 | 22 | 20 | 21 | 22 | 21
* | Malancha, Ctg. EPZ (United) |  | Gas |  | 5*8.73+3*9.34 |  |  | 2 | 14 | 7 | 15
39 | Chittagong ECPV 108 MW |  | HFO | IPP |  | 108 | 108 | 51 | 95 | 100 | 100 |  | 13 | Engine problem
| Chittagong area Total |  |  |  |  | 1408 | 1328 | 528 | 753 | 749 | 789 | 285 | 63
40a | Ashuganj ST: Unit- 1 & 2 |  | Gas | APSCL | 2*64 | 128 | 97 | 52 | 52 | 52 | 52 |  | 45 | #1 Under maint.
40b | Ashuganj ST: Unit- 3 |  | Gas | APSCL | 1*150 | 150 | 135 | 0 | 0 | 0 | 0 |  | 135 | Under maint. |  | 13/05/2016
40c | Ashuganj ST: Unit- 4 |  | Gas | APSCL | 1*150 | 150 | 129 | 150 | 150 | 150 | 150
40d | Ashuganj ST: Unit- 5 |  | Gas | APSCL | 1*150 | 150 | 134 | 135 | 135 | 135 | 135
40e | Ashuganj : GT-2 |  | Gas | APSCL | 1*56 | 56 | 40 | 25 | 25 | 25 | 25 | 15 |  | Gas Shortage
41a | Ashuganj CCPP 225 MW |  | Gas | APSCL | 1*142+1*75 | 217 | 217 | 0 | 0 | 0 | 0 |  | 217 | 2016-08-04
41b | Ashuganj CCPP 450 MW |  | Gas | APSCL |  |  |  | 110 | 110 | 110 | 110 |  |  | On test
42 | Ashuganj Engines |  | Gas | APSCL | 14*3.968 | 53 | 45 | 12 | 12 | 12 | 12 | 33 |  | Gas Shortage
43 | Ashuganj (Precision) |  | Gas | RPP | 15*4 | 55 | 55 | 57 | 57 | 56 | 55
44 | Ashuganj (Aggrekko) |  | Gas | QRPP | 96*1.10 | 95 | 95 | 98 | 99 | 95 | 95
45 | Ashuganj (United) |  | Gas | QRPP | 14*4 | 53 | 53 | 53 | 53 | 53 | 53
46 | Ashuganj 195MW Modular |  | Gas | IPP | 20*9.7+1*16 | 195 | 195 | 178 | 170 | 178 | 178 |  | 25 | Engine problem
47 | Ashuganj (Midland) |  | Gas | IPP | 6*9.34 | 51 | 51 | 45 | 45 | 35 | 45
48 | Brahmanbaria (Aggreko) |  | Gas | QRPP | 86*1.10 | 85 | 85 | 85 | 86 | 85 | 85
49 | Titas (Daudkandi) Peaking |  | HFO | PDB | 6*8.92 | 52 | 52 | 0 | 49 | 0 | 50
50 | Chandpur CCPP |  | Gas | PDB | 1*106+1*57 | 163 | 163 | 75 | 75 | 75 | 75 | 88 |  | Gas Shortage
51 | Feni (Doreen) |  | Gas | SIPP,PDB | 8*2.90 | 22 | 22 | 18 | 19 | 19 | 19
52 | Feni, Mohipal (Doreen) |  | Gas | SIPP,REB | 4*2.90 | 11 | 11 | 11 | 11 | 11 | 11
** | Tripura |  |  | Imported Power |  | 100 | 100 | 92 | 110 | 70 | 94
53 | Jangalia (Summit) |  | Gas | SIPP,PDB | 4*8.73 | 33 | 33 | 31 | 31 | 31 | 33
54 | Lakdhanvi-52 MW |  | HFO | (IPP) |  | 52 | 52 | 52 | 52 | 52 | 52
55 | Summit Power, Comilla |  | Gas | SIPP,REB | 3*3.6+2*6.9 | 25 | 25 | 15 | 21 | 15 | 21
| Comilla Area Total |  |  |  |  | 1896 | 1789 | 1294 | 1362 | 1259 | 1350 | 136 | 422
56 | RPCL CCPP |  | Gas | IPP | 4*35+1*70 | 210 | 202 | 154 | 154 | 158 | 158 | 48 |  | Gas shortage
57 | Tangail (Doreen) |  | Gas | SIPP, PDB | 8*2.90 | 22 | 22 | 16 | 14 | 16 | 16 |  | 8
| Mymensingh Area Total |  |  |  |  | 232 | 224 | 170 | 168 | 174 | 174 | 48 | 0
58 | Fenchugonj CCPP-1 |  | Gas | PDB | 2*32+1*33 | 97 | 80 | 40 | 32 | 28 | 50
59 | Fenchugonj CCPP-2 |  | Gas | PDB | 2*35+1*35 | 104 | 90 | 29 | 27 | 29 | 30
60 | Fenchugonj (Barakatullah) |  | Gas | RPP | 19*2.90 | 51 | 51 | 44 | 53 | 50 | 51
61 | Fenchuganj (Energyprima) |  | Gas | RPP | 12*3.3+5*2 | 44 | 44 | 47 | 43 | 44 | 44
62 | Hobiganj (Confidence-EP) |  | Gas | SIPP, REB | 4*2.90 | 11 | 11 | 10 | 0 | 10 | 10
63 | Shahjibazar GT: Unit- 8, 9 |  | Gas | PDB | 2*35 | 70 | 66 | 30 | 30 | 30 | 30 |  |  | # 9 under maint.
64 | Shahjibazar (Shahjibazar) |  | Gas | RPP | 32*2.90 | 86 | 86 | 84 | 86 | 86 | 86
65 | Shahjibazar (Energyprima) |  | Gas | RPP | 27*2.0 | 50 | 50 | 48 | 48 | 48 | 48
66 | Sylhet 150 MW GT |  | Gas | PDB | 1*142 | 142 | 142 | 119 | 118 | 118 | 120 | 24 |  | Gas shortage
67 | Sylhet 20 MW GT |  | Gas | PDB | 1*20 | 20 | 20 | 15 | 15 | 15 | 15
68 | Sylhet (Energyprima) |  | Gas | RPP | 27*2 | 50 | 50 | 44 | 46 | 46 | 46
69 | Shahjahanulla 25 MW |  | Gas | SIPP, REB | 3*9.34 | 25 | 25 | 8 | 8 | 10 | 25
70 | Summit Bibiana- 2 |  | Gas | IPP | 1*222+1*119 | 341 | 341 | 341 | 352 | 341 | 341
71 | Sylhet (Desh) |  | Gas | RPP | 6*1.95 | 10 | 10 | 9 | 9 | 9 | 9
| Sylhet Area Total |  |  |  |  | 1101 | 1066 | 868 | 867 | 864 | 905 | 24 | 0
72 | Bheramara GT: Unit- 1,2,3 |  | HSD | PDB | 3X20 | 60 | 46 | 0 | 16 | 0 | 30
73 | Bheramara (Quantum) |  | HSD | RPP | 12*8.5+2*6+2*13 | 105 | 105 | 0 | 0 | 0 | 0 |  | 105 | contract date experid 31/12/2013
** | Bheramara Interconnector(HVDC ) |  |  | Imported Power |  | 500 | 500 | 453 | 452 | 456 | 456
74a | Khulna ST 110MW |  | HFO | PDB | 1*110 | 110 | 55 | 0 | 0 | 0 | 0 |  | 55 | 2014-04-11
74b | Khulna ST 60 MW |  | HFO | PDB | 1*60 |  |  | 0 | 0 | 0 | 0 |  |  | Plant retired in FY 2013-2014
75 | Khulna (KPCL-1) |  | HFO | IPP | 19*6.5 | 110 | 110 | 87 | 103 | 100 | 110
76 | Khulna (KPCL-2) |  | HFO | QRPP | 7*17 | 115 | 115 | 96 | 99 | 99 | 99 |  | 16 | Engine problem
77 | Faridpur Peaking |  | HFO | PDB | 8*6.89 | 54 | 54 | 0 | 36 | 30 | 41
78 | Khulna 150MW GT |  | HSD | NWZPGCL | 1*150 | 158 | 158 | 100 | 150 | 158 | 158
79 | Gopalganj Peaking |  | HFO | PDB | 16*6.98 | 109 | 109 | 0 | 40 | 0 | 50
80 | Noapara (Quantam) |  | HFO | RPP | 5*9.9+6*9.5+2*9.2 | 101 | 101 | 0 | 0 | 0 | 0 |  | 101 | Long term maint.
81 | Noapara (Khanjahan Ali) |  | HFO | QRPP | 5*8.5 | 40 | 40 | 40 | 40 | 40 | 40
82 | Khulna (Aggreko) 55MW |  | HSD | QRPP | 71*0.85 | 55 | 55 | 31 | 46 | 40 | 45
| Khulna Area Total |  |  |  |  | 1517 | 1448 | 807 | 982 | 923 | 1029 | 0 | 277
83 | Summit Barisal 110 MW |  | HFO | IPP | 7*17.076 | 110 | 110 | 110 | 110 | 110 | 110
84 | Barisal GT: Unit-1, 2 |  | HSD | PDB | 2*20 | 40 | 30 | 0 | 24 | 0 | 25
85 | Bhola (Venture) |  | Gas | RPP | 1*34.50 | 33 | 33 | 16 | 17 | 15 | 17 |  | 16 | Engine problem
86 | Bhola CCPP GT-1,2,ST |  | Gas | PDB | 2*63+1*68 | 194 | 194 | 64 | 60 | 93 | 93 | 134 |  | Gas shortage
| Barisal Area Total |  |  |  |  | 377 | 367 | 190 | 211 | 218 | 245 | 0 | 16
87a | Baghabari GT |  | Gas | PDB | 1*71 | 71 | 71 | 66 | 65 | 67 | 71
87b | Baghabari GT |  | Gas | PDB | 1*100 | 100 | 100 | 95 | 102 | 100 | 100
88 | Baghabari Peaking |  | HFO | PDB | 6*8.9 | 52 | 52 | 0 | 32 | 0 | 32
89 | Bera Peaking |  | HFO | PDB | 9*8.29 | 71 | 71 | 0 | 50 | 0 | 50
90 | Amnura |  | HFO | QRPP | 7*7.79 | 50 | 50 | 42 | 42 | 42 | 42 |  | 8 | Engine problem
91 | Katakhali (Northern) |  | HFO | QRPP | 6*8.92 | 50 | 50 | 43 | 43 | 43 | 43 |  | 7 | Engine problem
92 | Katakhali Peaking |  | HFO | PDB | 6*8.7 | 50 | 50 | 0 | 44 | 0 | 50
93 | Sirajganj CCPP |  | Gas | NWPGCL | 1*150+1*75 | 210 | 210 | 0 | 0 | 0 | 0 |  | 210 | Under shut down |  | 31/05/2016
94 | Santahar Peaking |  | HFO | PDB | 6*8.7 | 50 | 50 | 0 | 42 | 0 | 42
95 | Bogra (GBB) |  | Gas | RPP | 6*4 | 20 | 22 | 22 | 22 | 21 | 22
96 | Bogra (Energyprima) |  | Gas | RPP | 5*3.3+5*2 | 20 | 20 | 12 | 12 | 11 | 12 |  | 8 | Engine problem
97 | Ullapara (Summit) |  | Gas | SIPP,REB | 4*2.90 | 11 | 11 | 8 | 11 | 11 | 11
98 | Rajlanka 52 MW |  | HFO | IPP | 6*8.92 | 52 | 52 | 52 | 52 | 52 | 52
| Rajshahi Area Total |  |  |  |  | 807 | 809 | 340 | 517 | 347 | 527 | 0 | 233
99a | Barapukuria ST: Unit-1 |  | Coal | PDB | 1*125 | 125 | 100 | 84 | 88 | 86 | 88
99b | Barapukuria ST: Unit-2 |  | Coal | PDB | 1*125 | 125 | 100 | 0 | 0 | 0 | 0 |  | 100 | 2016-03-05
100 | Rangpur GT |  | HSD | PDB | 1*20 | 20 | 20 | 0 | 8 | 0 | 18
101 | Saidpur GT |  | HSD | PDB | 1*20 | 20 | 20 | 0 | 0 | 0 | 0 |  | 20 | Under maint.
102 | Thakurgaon (RZ) |  | HSD | RPP | 20*1.5+21*1.1 | 47 | 40 | 10 | 16 | 21 | 23 |  | 24 | Engine problem
| Rangpur Area Total |  |  |  |  | 337 | 280 | 94 | 112 | 107 | 129 | 0 | 144
| Total |  |  |  |  | 12339 | 11744 | 7154 | 7927 | 7560 | 8159 | 848 | 2164
| Usable load at Substation end after deducting Auxiliary use & Transmission loss | [6 empty] | 6625.1437 | 7341 | 7001.1303 | 7685
A. |  | 2016-05-10 | (Yesterday) |  |  |  |  | Tuesday
1 | Highest Generation : |  |  | 7927 | MW at | 21:00 | hrs | 11 Evening Peak Hour : | [5 empty] | 21:00 | hrs.
2 | Minimum Generation : |  |  | 6089 | MW at | 7:00 | hrs | 12 Max. Demand (Generation end) at evening peak hour : | [5 empty] | 8200 | MW
3 | Day peak Generation : |  |  | 7154 | MW at | 10:00 | hrs | 13 Max. Demand (Substation end) at evening peak hour : | [5 empty] | 7341 | MW
4 | Evening peak Generation : |  |  | 7927 | MW at | 21:00 | hrs | 14 Load Shed (Substation end) at evening peak hour : | [5 empty] | 246 | MW
5 | Total Energy Generation : |  |  | 171.5706 | MKWHr |  |  | 15. Area wise Demand (S/S end), Supply (S/S end) & | [5 empty] | 16 Hourly Load Shed during
| By Gas: | 102.0375 | MKWHr |  | By Oil: | 53.4835 | MKWHr | Load Shed (S/S end) at Evening peak hour in MW : | [5 empty] | Evening Peak hours :
| By Coal: | 2.0575 | MKWHr |  | By Hydro: | 0.9347 | MKWHr | Area | Demand | Supply | Loadshed | (Duration) |  | Time |  | Loadshed
6 | Generation Shortfall : |  | For Gas: | 848 | For Oil: | 0 | MW | Dhaka | 3060 | 2964 | 96 | 18:31-22:01
|  |  | For Water Shortage: |  |  | 0 | MW | Chittagong | 962 | 933 | 29 | 18:31-22:01 |  | 18:00 |  | 0
|  |  | For Plants S/D or M/C prob: |  |  | 2164 | MW | Khulna | 875 | 845 | 30 | 18:31-22:01 |  | 18:30 |  | 0
7 | Total Gas Supplied : |  | 991.57 | MMCFD |  |  |  | Rajshahi | 800 | 771 | 29 | 18:31-22:01 |  | 19:00 |  | 175.5
8 | Fuel Cost : | i) Gas : | Taka | 69210681.627 | ii) Oil : | Taka | 532993908.437 | Comilla | 670 | 648 | 22 | 18:31-22:01 |  | 19:30 |  | 250.2
|  | iii) Coal : | Taka | 8007614.86 | Total | Taka | 610212204.924 | Mymensingh | 460 | 442 | 18 | 18:31-22:01 |  | 20:00 |  | 243.9
9 | Export Through E-W Interconnectors : |  |  |  | i) Energy | 7.8675 | MKWHr. | Sylhet | 280 | 264 | 16 | 18:31-22:01 |  | 21:00 |  | 245.7
| ii) During Peak Demand : |  |  | -520 | MW at | 21:00 | hrs | Barisal | 165 | 159 | 6 | 18:31-22:01 |  | 22:00 |  | 160.2
| iii) Maximum : |  |  | -190 | MW at | 23:00 | hrs | Rangpur | 315 | 315 | 0 |  |  | 23:00 |  | 0
10 | Maximum Temperature in Dhaka was |  |  |  | 35.7° C |  |  | Total | 7587 | 7341 | 246
B. |  | 2016-05-11 | (Today) |  |  |  | Wednesday |  |  | Probable max. temperature in Dhaka |  |  | 35.7° C
Forecast
1 | Maximum Demand* Evening (Generation end) |  |  |  | 8300 | MW |  | 6 Total Load Shed forecast (Substation end) : |  |  |  |  | 131 | MW
2 | Maximum Generation (Generation end) |  |  |  | 8159 | MW |  | 7 Area wise Load Shed forecast (Substation end) :
3 | Maximum Demand* Day (Generation end) |  |  |  | 7400 | MW
4 | Shortage (Generation end) |  |  |  | 141 | MW |  | Dhaka | Chittagong | Khulna | Rajshahi | Comilla | Mymensingh | Sylhet | Barisal | Rangpur
5 | Total Energy Generation |  |  |  | 172 | MKWHr |  | MW | MW | MW | MW | MW | MW | MW | MW | MW
6 | Actual Minimum Generation up to 8:00 hrs. |  |  |  | 5809 | MW at | 6:00 | 57 | 16 | 14 | 13 | 11 | 10 | 0 | 0 | 10
* Import Through HVDC C/B Interconnector : |  |  |  |  | i) Energy | 10.8975 | MKWHr. | ii) During Peak demand: |  | 452 | MW at | 21:00 | hrs. | iii)Maximum: | 454 | 18:30 hrs
* Import Through Comilla C/B Interconnector : |  |  |  |  | i) Energy | 2.16 | MKWHr.
*Cost for HVDC & Tripura energy is not usually included in the total fuel cost.
Water Level of Kaptai Lake at 06:00 hr (ft): |  |  |  |  | (a) Yesterday : | 72.07 |  |  |  | (b) Today: | 71.83 | (c) Rule Curve: |  | 80.1

## P1
POWER GRID COMPANY OF BANGLADESH LTD.
|  |  | NATIONAL LOAD DESPATCH CENTER |  |  |  |  | QF-LDC-08
|  |  | DAILY REPORT |  |  |  |  | Page -1
[6 empty] | Reporting Date : | 2016-05-11
Till now the maximum generation is : - |  |  | 8348 MW | 21:00 | Hrs on | 2016-04-09
The Summary of Yesterday's |  | 2016-05-10 | Generation & Demand |  | Today's Actual Min Gen. & Probable Gen. & Demand
Day Peak Generation : |  | 7154 | MW Hour : | 10:00 | Min. Gen. at | 6:00 | 5809 | MW
Evening Peak Generation : |  | 7927 | MW Hour : | 21:00 | Max Generation : |  | 8159 | MW
E.P. Demand (at gen end) : |  | 8200 | MW Hour : | 21:00 | Max Demand (Evening) : |  | 8300 | MW
Maximum Generation : |  | 7927 | MW Hour : | 21:00 | Shortage(Generation end) : |  | 141 | MW
Total Gen. (MKWH) : |  | 171.5706 | System L/ Factor : | 90.18% | Load Shed : |  | 131 | MW
EXPORT / IMPORT THROUGH EAST-WEST INTERCONNECTOR
Export from East grid to West grid :- Maximum |  |  | -190 | MW at | 23:00 | Energy | 7.8675 | MKWHR.
Import from West grid to East grid :- Maximum |  |  | - | MW at | - | Energy | - | MKWHR.
| Water Level of Kaptai Lake at 6:00 A M on |  | 2016-05-11
Actual : | 71.83 | Ft.(MSL) , | Rule curve : | 80.1 | Ft.( MSL )
Gas Consumed : | Total | 991.57 | MMCFD. | Oil Consumed (PDB) :
[6 empty] | HSD : |  | Liter
[6 empty] | FO : |  | Liter
Cost of the Consumed Fuel (PDB+Pvt) : Gas : |  |  | 69210681.627
|  | Coal : | 8007614.86 | Oil : | 532993908.437 | Total : | 610212204.924
Load Shedding & Other Information
Area | Yesterday |  |  |  | Today
|  |  | Estimated Demand (S/S end) |  | Estimated Shedding (S/S end) |  | Rates of Shedding
| MW |  | MW |  |  | MW | (On Estimated Demand)
Dhaka | 96 | 18:31-22:01 | 3125 |  |  | 57 | -
Chittagong Area | 29 | 18:31-22:01 | 874 |  |  | 16 | -
Khulna Area | 30 | 18:31-22:01 | 879 |  |  | 14 | -
Rajshahi Area | 29 | 18:31-22:01 | 850 |  |  | 13 | -
Comilla Area | 22 | 18:31-22:01 | 645 |  |  | 11 | -
Mymensingh Area | 18 | 18:31-22:01 | 492 |  |  | 10 | -
Sylhet Area | 16 | 18:31-22:01 | 305 |  |  | - | -
Barisal Area | 6 | 18:31-22:01 | 168 |  |  | - | -
Rangpur Area | - | 0:00 | 478 |  |  | 10 | -
Total | 246 | 0 | 7816 |  |  | 131 | 0
Information of the Generating Units under shut down.
| Planned Shut- Down |  |  | Forced Shut- Down
|  |  |  | 1) Ghorasal ST: Unit-6 (18/07/2010) |  | 9) Sikalbaha 60MW (23/11/15)
| Nil |  |  | 2) Ashuganj ST: Unit-1(12/09/2015) |  | 10) Saidpur GT
|  |  |  | 3) Ashuganj CCPP 225 MW |  | 11) Bhola GT-2
|  |  |  | 4) Khulna ST 110 MW (04/11/2014) |  | 12) Chittagong ST: Unit-1
|  |  |  | 5) Ghorasal ST: Unit-4 (05/01/2015) |  | 13) Kaptai Hydro: Unit-5,
|  |  |  | 6) Haripur GT- 1, 3 |  | 14) Ashuganj unit-3(08/05/2016)
|  |  |  | 7) Barapukuria ST unit:2 |  | 15) Sirajganj-210 MW
8) Meghan 450 MW(24/04/2016)
Additional Information of Machines, lines, Interruption / Forced Load shed etc.
| Description |  |  | Comments on Power Interruption
a) Hathazari-BSRM 230 kV Ckt tripped at 11:20 from both end showing E/F & main protection at Hathazari end
and dist Z1 R phase at BSRM end and was switched on at 11:31.
b) Barisal(N)-Barisal(S) 132 kV Ckt-1 was under shut down from 09:57 to 13:26 for Automation work at Barisal (N) end.
c) Barisal-Madaripur 132 kV Ckt-1 was under shut down from 13:31 to 17:58 for Automation work at Barisal (N) end.
d) Bagherhat 132/33 kV T1 & T2 transformers tripped at 21:50 due to 33 kV feeder fault and was switched |  |  |  | About 52 MW power interruption occurred under Bagherhat S/S area
on at 21:57. |  |  |  | from 21:50 to 21:57.
e) Rajshahi-Chapainawbabganj 132 kV Ckt-1 tripped at 00:18 (11/05/2016) from Rajshahi end showing directional E/F
and was switched on at 01:10.
f) Rajshahi-Chapainawbabganj 132 kV Ckt-2 tripped at 00:18 (11/05/2016) from both end showing E/F at Rajshahi end
and inst E/F at Chapainawbabganj end and was switched on at 01:11.
g) Aminbazar-Mirpur 132 kV Ckt-2 was shut down from 05:52 to 08:28 (11/05/2016) for red hot at R-phase isolator
at Aminbazar end.
h) Tangail-Kabirpur 132 kV Ckt-2 tripped at 03:30 (11/05/2016) from Kabirpur end showing dist RST ,A/R blocked,.
DTT-1 send and was switched on at 04:35
i) Tangail 132/33 kV T1 &T2 transformers tripped at 03:25(11/05/2016) from 33 kV side due to R-phase CT burst |  |  |  | About 40 MW power interruption occurred under Tangail S/S area
of Kachuadanga feeder and was switched on at 04:31. |  |  |  | from 03:25 to 04:31(11/05/2016).
j) Ullon 132/33 kV T3 transformer was shut down from 05:51 to 08:40 (11/05/2016) for red hot at 922 isolator.
k) Sylhet 132/33 kV T4 transformer was shut down from 06:07 to 07:20 (11/05/2016) for replacing 33 kV pole.
Page 1 of 7

## P2
EVENING PEAK GENERATION AND DAY LONG ENERGY DATA OF POWER STATIONS
| Date : | 2016-05-10 | [6 empty] | Page -2
[5 empty] | Present | Peak Hour | Energy
| Name of Power Station |  | Unit | Producer | Generation | Generation | Generated |  | Remarks
Capacity
[5 empty] | MW | MW | KWHr
1a | Ghorasal ST: Unit-1, 2 |  | 2*55 | PDB | 85 | 40 | 1850000
40
1b | Ghorasal ST: Unit-3 |  | 1*210 | PDB | 170 | 170 | 4014990
1c | Ghorasal ST: Unit-4 |  | 1*210 | PDB | 180 | 0 | 0 | Under maint
1d | Ghorasal ST: Unit-5 |  | 1*210 | PDB | 190 | 170 | 3937500
1e | Ghorasal ST: Unit-6 |  | 1*210 | PDB | 190 | 0 |  | Long term maint.
2 | Ghorashal 100MW(Agreko) |  | 128*0.85 | QRPP | 100 | 97 | 2274240
3 | Ghorashal 45MW(Agreko) |  | 58*0.85 | QRPP | 45 | 46 | 1032690
4 | Ghorashal 78.5 MW (MAX) |  | 4*21.5 | QRPP | 78 | 62 | 1500000 | Engine problem
5 | Ghorashal (Regent) |  | 34*3.35 | IPP | 108 | 100 | 2336591
6 |  |  | 1*32 | PDB | 20 | 0 | 614700
| Haripur GT: Unit-1, 2, 3 |  | 1*32 | PDB | 20 | 20
|  |  | 1*32 | PDB | 20 | 0 |  | Under maint.
7 | Haripur EGCB 412 MW CCPP |  | 1*273+1*139 | EGCB | 412 | 410 | 10309200
8 | Haripur NEPC(HFO) |  | 8*15 | IPP | 110 | 96 | 1439300 | Engine problem
9 | Haripur Power CCPP |  | 1*235+1*125 | IPP | 360 | 292 | 7047000 | Gas Shortage
10 | Meghnaghat CCPP |  | 2*150+1*150 | IPP | 450 | 0 | 0 | Under maint.
11 | Meghnaghat (IEL) |  | 12*8.9 | RPP | 100 | 100 | 2024640
12 | Meghnaghat CCPP(Summit) |  | 2*110+1*110 | IPP | 305 | 305 | 6382458
13 | Madanganj (Summit) |  | 6*17 | QRPP | 100 | 95 | 1992096 | Engine problem
14 | Madanganj-55 MW |  | 5*17.08+1*11.3 | IPP | 55 | 55 | 1332000
15 | Keraniganj (Powerpac) |  | 8*13.45 | RPP | 100 | 85 | 1755224 | Transformer problem
16 | Narsingdi (Doreen) |  | 8 * 2.9 | SIPP, REB | 22 | 22 | 394524
17 | Siddhirgonj ST |  | 1*210 | PDB | 150 | 110 | 2538900 | Gas Shortage
18 | Siddhirgonj GT : Unit-1 & 2 |  | 2*105 | EGCB | 210 | 0 | 178000 | Gas Shortage
19 | Siddhirgonj (Desh) |  | 96*1.2 | QRPP | 98 | 94 | 1247040
20 | Siddhirgonj (Dutch Bangla) |  | 12*8.9 | RPP | 100 | 86 | 1872624 | Engine problem
21 | Pagla (DPA) |  | 100*0.5 | QRPP | 50 | 50 | 757000
22 | Gagnagar (Orion) |  | 12*8.924 | IPP | 102 | 93 | 2191680 | Engine problem
23 | Katpotti 52 MW |  |  | RPP | 51 | 40 | 885936 | Engine problem
24 | Kodda Peaking |  | 9*17.06 | BPDB-RPCL | 149 | 112 | 2235360 | Engine problem
| Southern Power |  |  | RPP |  | 0 | 55100 | on test
| CLCPC Keranigonj 108 MW |  |  |  |  | 0 | 60720 | on test
25 | Summit Power,Dhaka |  | 6*3.67+2*6.97+14*8.73 | SIPP, REB | 146 | 122 | 2743140 | Gas Shortage
26 | Gazipur (RPCL) |  | 6*8.9 | IPP | 52 | 43 | 695688 | Engine problem
27 | Tongi GT |  | 1*105 | PDB | 105 | 0 | 0 | Gas Shortage
| Dhaka Area Total |  |  |  | 4433 | 2955 | 65698341
28a | Chitagong ST:Unit-1 |  | 1*210 | PDB | 180 | 0 | 0 | Gas shortage
28b | Chitagong ST:Unit-2 |  | 1*210 | PDB | 180 | 100 | 2300000 | Gas shortage
29 | Raozan 25 MW (RPCL) |  | 3*8.9 | IPP | 25 | 26 | 608540
30 | Patenga 50 MW(Barakatulla) |  | 8*6.89 | IPP | 50 | 52 | 1175520
31 | Chittagong ECPV 108 MW |  |  | IPP | 108 | 95 | 1531200
32 |  |  | 1*40 | PDB | 40 | 30 | 814000
|  |  | 1*40 | PDB | 40 | 29
| Karnafuli Hydro Power Station |  | 1*50 | PDB | 50 | 0
|  |  | 1*50 | PDB | 50 | 23 | 120700
|  |  | 1*50 | PDB | 50 | 0 |  | Under maint.
33 | Shikalbaha ST |  | 1*60 | PDB | 40 | 0 | 0 | Gas Shortage
34 | Shikalbaha peaking GT |  | 1*150 | PDB | 150 | 85 | 1849950 | Gas Shortage
35 | Hathazari peaking |  | 11*8.9 | PDB | 98 | 68 | 504240
36 | Dohazari-Kalaish peaking |  | 6*17 | PDB | 102 | 65 | 837003
37 | Juldah (Acorn) |  | 8*13.45 | QRPP | 100 | 102 | 2204040
38 | Shikalbaha (Energis) |  |  | RPP | 43 | 43 | 885120
39 | Barabkunda (regent) |  | 8*2.90 | SIPP, PDB | 22 | 21 | 482928
* | Malancha, Ctg EPZ(United) |  |  |  |  | 14 | 323040
| Chittagong Area Total |  |  |  | 1328 | 753 | 13636281
40a | Ashuganj ST: Unit- 1 & 2 |  | 1*64 | APSCL | 97 | 52 | 1249469
|  |  | 1*64 | APSCL |  | 0 |  | Under maint.
40b | Ashuganj ST: Unit- 3 |  | 1*150 | APSCL | 135 | 0 | 0
40c | Ashuganj ST: Unit- 4 |  | 1*150 | APSCL | 129 | 150 | 3562200
40d | Ashuganj ST: Unit- 5 |  | 1*150 | APSCL | 134 | 135 | 3245832
40e | Ashuganj : GT-2 |  | 1*56 | APSCL | 40 | 25 | 0 | Gas Shortage
41a | Ashuganj CCPP 225 MW |  | 1*142+1*75 | APSCL | 217 | 0 | 2627520 | Under maint.
41b | Ashuganj CCPP 450 MW |  |  | APSCL | 0 | 110 | 635233 | On test
42 | Ashuganj-Engines |  | 14*3.968 | APSCL | 45 | 12 | 281448 | Gas Shortage
43 | Ashugonj (Precision) |  | 15*4 | RPP | 55 | 57 | 1333440
44 | Ashuganj (Aggrekko) |  | 82*1.1 | RPP | 95 | 99 | 2327620
45 | Ashuganj (United) |  | 14*4 | RPP | 53 | 53 | 1272000
46 | Ashuganj Modular 200 MW |  | 20*9.7+1*16 | IPP | 195 | 170 | 3914182 | Engine problem
47 | Ashuganj (Midland) |  | 6*9.34 | IPP | 51 | 45 | 1003009
48 | Brahmanbaria (Aggreko) |  | 72*1.1 | QRPP | 85 | 86 | 2062000
49 | Titas (Daudkandi) Peaking |  | 6 * 8.92 | PDB | 52 | 49 | 550936
50 | Chandpur CCPP |  | 1*106+1*57 | PDB | 163 | 75 | 2049000 | Gas Shortage
51 | Feni(Doreen) |  | 8 *2.94 | SIPP, PDB | 22 | 19 | 433404
52 | Feni Mohipal (Doreen) |  | 4*2.9 | SIPP, REB | 11 | 11 | 249840
** | Tripura |  |  |  | 100 | 110 | 2160000
53 | Jangalia (Summit) |  | 4*8.73 | SIPP, PDB | 33 | 31 | 771700
54 | Lakdamavi-52 MW |  |  | IPP | 52 | 52 | 1066530
55 | Summit Power,Comilla |  | 3*3.67+2*6.9 | SIPP, REB | 25 | 21 | 466510
| Comilla Area Total |  |  |  | 1789 | 1362 | 31261873
56 | RPCL CCPP |  | 4*35+1*70 | IPP | 202 | 154 | 3567000 | Gas shortage
57 | Tangail (Doreen) |  | 8 *2.9 | SIPP,PDB | 22 | 14 | 348192
| Mymensingh Area Total |  |  |  | 224 | 168 | 3915192
58 | Fenchugonj CCPP-1 |  | 2*32+1*33 | PDB | 80 | 32 | 838000
59 | Fenchugonj CCPP-2 |  | 2*35+1*35 | PDB | 90 | 27 | 676000
60 | Fenchugonj RPP (51 MW) |  | 2.9*19 | RPP | 51 | 53 | 1217400
61 | Fenchuganj (Energyprima) |  | 12*3.3+5*2 | RPP | 44 | 43 | 1034000
62 | Hobiganj (Confidence-EP) |  | 4*2.9 | SIPP, REB | 11 | 0 | 234816
63 | Shahjibazar GT: Unit-8,9 |  | 32*2.9 | PDB | 66 | 30 | 693000 | # 9 under maint.
64 | Shahjibazar (Shahjibazar) |  | 32*2.9 | RPP | 86 | 86 | 2064000
65 | Shahjibazar (Energyprima) |  | 27*2.0 | RPP | 50 | 48 | 1042920
66 | Sylhet 150 MW GT |  | 1*142 | PDB | 142 | 118 | 2626360 | Gas shortage
67 | Sylhet 20 MW GT |  | 1*20 | PDB | 20 | 15 | 374000
68 | Sylhet (Energyprima) |  | 27 * 2.0 | RPP | 50 | 46 | 1066200
69 | Shahjahanulla 25MW |  | 3 * 9.34 | CIPP,REB | 25 | 8 | 247464 | Engine problem
70 | Summit Bibiana-2 |  | 1*222+1*119 | IPP | 341 | 352 | 7880300
71 | Sylhet (Desh) |  | 6*1.95 | RPP | 10 | 9 | 207360
| Sylhet Area Total |  |  |  | 1066 | 867 | 20201820
|  |  | 1*20 | PDB | 16 | 16 | 405568
72 | Bheramara GT: Unit-1,2,3 |  | 1*20 | PDB | 14 | 0
|  |  | 1*20 | PDB | 16 | 0
73 | Bheramara (Quantum) |  | 12*8.5+2*6+2*13 | RPP | 105 | 0 | 0 | All Engine problem, Long term maint
** | Bheramara Interconnector(HVDC) |  |  | Imported Power | 500 | 452 | 10897454
74a | Khulna ST 110 MW |  | 1*110 | PDB | 55 | 0 | 0 | Under maint
74b | Khulna ST 60 MW |  | 1*60 | PDB |  | 0 | 0 | Plant Retired in FY 2013-2014
75 | Khulna (KPCL-1) |  | 19*6.5 | IPP | 110 | 103 | 1978080 | Engine problem
76 | Khulna (KPCL-2) |  | 7*17 | QRPP | 115 | 99 | 2244480 | Engine problem
77 | Faridpur Peaking |  | 8*6.89 | PDB | 54 | 36 | 439200
78 | Khulna 150 MW GT |  | 1*150 | NWZPGCL | 158 | 150 | 2394240
79 | Gopalganj Peaking |  | 16*6.98 | PDB | 109 | 40 | 283700
80 | Noapara (Quantam) |  | 9.9*5+9.5*6+9.2*2 | RPP | 101 | 0 | 0 | All Engine problem, Long term maint
81 | Noapara (Khanjahan Ali) |  | 5*8.5 | QRPP | 40 | 40 | 947250
82 | Khulna (Aggreko) 55MW |  | 71*0.85 | QRPP | 55 | 46 | 645100
| Khulna Area Total |  |  |  | 1448 | 982 | 20235072
83 | Summit Barisal 110MW |  | 7*17.076 | IPP | 110 | 110 | 2615040
84 | Barisal GT: Unit-1,2 |  | 1*20 | PDB | 16 | 12 | 269450
|  |  | 1*20 | PDB | 14 | 12
85 | Bhola (Venture) |  | 1*34.5 | RPP | 33 | 17 | 379170 | Engine problem
86 | Bhola CCPP GT-1,2,ST |  | 2*63+1*68 | PDB | 194 | 60 | 1486800 | Gas shortage
| Barisal Area Total |  |  |  | 367 | 211 | 4750460
87a | Baghabari GT |  | 1*71 | PDB | 71 | 65 | 1525000
87b | Baghabari GT |  | 1*100 | PDB | 100 | 102 | 2346000
88 | Baghabari Peaking |  | 6*8.9 | PDB | 52 | 32 | 437000
89 | Bera Peaking |  | 9*8.29 | PDB | 71 | 50 | 427080
90 | Amnura |  | 7*7.79 | QRPP | 50 | 42 | 838230 | Engine problem
91 | Katakhali (Northern) |  | 6*8.92 | QRPP | 50 | 43 | 822796 | Engine problem
92 | Katakhali Peaking |  | 6*8.7 | PDB | 50 | 44 | 588842
93 | Sirajganj CCPP |  | 1*50+1*75 | NWPGCL | 210 | 0 | 0 | Under maint.
94 | Santahar Peaking |  | 6*8.7 | PDB | 50 | 42 | 460638
95 | Bogra (GBB) |  | 6*4 | RPP | 22 | 22 | 503510
96 | Bogra (Energyprima) |  | 5*3.3+5*2 | RPP | 20 | 12 | 272880 | Engine problem
97 | Ullapara (Summit) |  | 4 *2.90 | SIPP, REB | 11 | 11 | 237600
98 | Rajlanka 52 MW |  | 6*8.92 | IPP | 52 | 52 | 965280
| Rajshahi Area Total |  |  |  | 809 | 517 | 9424856
99a | Barapukuria ST: Unit-1 |  | 1*125 | PDB | 100 | 88 | 2057455
99b | Barapukuria ST: Unit-2 |  | 1*125 | PDB | 100 | 0 | 0 | Under maint.
100 | Rangpur GT |  | 1*20 | PDB | 20 | 8 | 47000
101 | Saidpur GT |  | 1*20 | PDB | 20 | 0 | 0 | Under maint.
102 | Thakurgaon (RZ) |  | 20*1.5+21*1.1 | RPP | 40 | 16 | 342220 | Engine problem
| Rangpur Area Total |  |  |  | 280 | 112 | 2446675
| Total |  |  |  | 11744 | 7927 | 171570570
| Eastern Grid Total |  |  |  | 8488 | 6105 | 134713507
| Western Grid Total |  |  |  | 2600 | 1822 | 36857063
| National Grid Total |  |  |  | 11088 | 7927 | 171570570
*Data collected from respective power station over telephone.

## P3
MAXIMUM LOAD SERVED BY DIFFERENT GRID SUB-STATIONS
Date: | 2016-05-10 | [5 empty] | QF-LDC-09
(a) ENTIRE EASTERN GRID : |  |  | 5336 | MW | (b) ENTIRE WESTERN GRID : |  |  | 2155 | MW
i) Dhaka area |  |  | 2964 | MW | i) Khulna area |  |  | 875 | MW
ii) Chittagong area |  |  | 962 | MW | ii) Rajshahi area |  |  | 800 | MW
iii) Comilla area |  |  | 670 | MW | iii) Barisal area |  |  | 165 | MW
iv) Mymensingh area |  |  | 460 | MW | iv) Rangpur area |  |  | 315 | MW
v) Sylhet area |  |  | 280 | MW
| SYSTEM TOTAL DEMAND ( a + b ) = |  |  | 7491 | MW
MAXIMUM LOAD SERVED BY DIFFERENT SUB-STATIONS
Sub-station | Load (MW) | Hour | Sub-station | Load (MW) | Hour | Sub-station | Load (MW) | Hour
Siddhirganj | 116 | 1200 | Kishorganj | 48 | 200 | Noapara | 47 | 2200
Munsiganj | 86 | 100 | Netrokona | 45 | 2200 | Jessore | 100 | 1900
Megnaghat | 44 | 2000 | Jamalpur | 63 | 2100 | Jhenida | 60 | 100
Shyampur | 148 | 1000 | Sherpur | 46 | 100 | Bottail | 80 | 2300
Bhulta | 122 | 1200 | Srimongal | 28 | 2300 | G.K Project | 34 | 100
Madanganj | 41 | 900 | Shahjibazar | 54 | 2300 | Faridpur | 100 | 100
Shitalakhya | 86 | 1600 | Fenchuganj | 34 | 1900 | Madaripur | 70 | 1930
Rahim steel | 5 | 1200 | Khulawara | 29 | 1830 | Gopalganj | 45 | 2200
Matuail | 68 | 2400 | Sylhet | 137 | 1830 | Bagerhat | 56 | 2100
Ghorasal | 88 | 2200 | Chatak | 40 | 2300 | Mongla | 25 | 1200
Narsingdi | 83 | 2400 | Comilla (S) | 108 | 1900 | Satkhira | 69 | 2200
Haripur (SBU) | 68 | 1100 | Comilla(N) | 112 | 2100 | Gallamari | 48 | 2100
Ullon | 82 | 2000 | Chandpur | 79 | 1300 | Magura | 30 | 2300
Hasnabad | 126 | 2000 | Feni | 81 | 2400 | Chuadanga | 48 | 100
Magbazar | 112 | 1600 | Chowmuhani | 154 | 2300 | Barisal | 88 | 100
Maniknagar | 60 | 1500 | Ashuganj | 62 | 2400 | Patuakhali | 52 | 100
Bangabhaban | 34 | 1200 | Daudkandi | 67 | 2300 | Bhandaria | 34 | 2100
Narinda | 74 | 1200 | B.Baria | 78 | 2300 | Ishurdi | 38 | 2000
Dhanmondi | 116 | 1300 | Madanhat | 61 | 2100 | Natore | 72 | 100
Lalbag | 64 | 1300 | Hathazari | 86 | 1900 | Bogra | 184 | 2000
Madartek | 32 | 2200 | Khulshi | 166 | 2300 | Noagaon | 82 | 1930
Mirpur | 82 | 2000 | Halishahar | 130 | 1500 | Rajshahi | 107 | 1930
Kalyanpur | 102 | 1900 | Baraulia | 117 | 1930 | C.Nawabganj | 55 | 2000
Gulshan | 116 | 1500 | Sikalbaha | 33 | 2000 | Amnura | 20 | 1900
Uttara | 81 | 1900 | Dohazari | 72 | 2200 | Pabna | 68 | 100
Kamrangirchar | 88 | 1900 | Cox'sbazar | 58 | 2200 | Shahjadpur | 60 | 2000
Savar | 87 | 1200 | Chandraghona | 28 | 2100 | Serajganj | 52 | 2000
Bhasantec | 83 | 2000 | Kaptai | 4 | 1930 | Niyamatpur | 40 | 2100
Agargaon | 32 | 2000 | A. Khaer Stl. | 14 | 1000 | Joypurhat | 29 | 1930
Satmosjid | 40 | 1500 | Bakulia | 106 | 2100 | Rangpur | 103 | 2100
Tongi | 99 | 900 | Julda | 18 | 1000 | Lalmonirhat | 62 | 2100
Kabirpur | 194 | 1800 | TK chemical | 0.6 | 1830 | Saidpur | 66 | 100
Basundhara | 120 | 1400 | Modern Steel | 8 | 1930 | Purbasadipur | 63 | 100
Manikganj | 82 | 2300 | Shahmirpur | 24 | 2400 | Thakurgaon | 43 | 100
Joydevpur | 232 | 2300 | Abul Khair 230 | 152 | 700 | Palashbari | 72 | 2100
New Tongi | 111 | 1900 | BSRM | 55 | 2400 | Barapukuria | 40 | 2100
Tangail | 112 | 2300 | Goalpara | 36 | 2100 | Panchagar | 20 | 1400
Mymensing | 156 | 2400 | Central s/s | 69 | 100
Page 4 of 7

## L.curve
Date | 2016-05-10 | [8 empty] | QF-LDC-11
TIME | E-W INT. | EAST GRID | WEST GRID | TOTAL |  | Demand | Hour
0:00 | -510 | 6095 | 1746 | 7841 | -510 | 7841 | 0:00 | DAILY LOAD CURVE | 2016-05-10
0:30 | -595 | 5999 | 1677 | 7676 | -680 | 7676 | 1:00
1:00 | -680 | 5903 | 1608 | 7511 | -720 | 7511 | 2:00
1:30 | -700 | 5826 | 1558.5 | 7384.5 | -700 | 7384.5 | 3:00
2:00 | -720 | 5749 | 1509 | 7258 | -700 | 7258 | 4:00
2:30 | -710 | 5721.5 | 1481.5 | 7203 | -680 | 7203 | 5:00
3:00 | -700 | 5694 | 1454 | 7148 | -640 | 7148 | 6:00
3:30 | -700 | 5644 | 1412.5 | 7056.5 | -640 | 7056.5 | 7:00
4:00 | -700 | 5594 | 1371 | 6965 | -520 | 6965 | 8:00
4:30 | -690 | 5543.5 | 1350.5 | 6894 | -500 | 6894 | 9:00
5:00 | -680 | 5493 | 1330 | 6823 | -430 | 6823 | 10:00
5:30 | -660 | 5291.5 | 1257 | 6548.5 | -360 | 6548.5 | 11:00
6:00 | -640 | 5090 | 1184 | 6274 | -320 | 6274 | 12:00
6:30 | -640 | 5025 | 1156.5 | 6181.5 | -300 | 6181.5 | 13:00
7:00 | -640 | 4960 | 1129 | 6089 | -320 | 6089 | 14:00 |  |  |  | 7927 | 21:00
7:30 | -580 | 4971.5 | 1154.5 | 6126 | -280 | 6126 | 15:00 |  |  |  | 7154 | 10:00
8:00 | -520 | 4983 | 1180 | 6163 | -380 | 6163 | 16:00
8:30 | -510 | 5214.5 | 1270 | 6484.5 | -360 | 6484.5 | 17:00
9:00 | -500 | 5446 | 1360 | 6806 | -340 | 6806 | 18:00
9:30 | -465 | 5584.5 | 1395.5 | 6980 | -400 | 6980 | 18:30
10:00 | -430 | 5723 | 1431 | 7154 | -470 | 7154 | 19:00
10:30 | -395 | 5659 | 1454.5 | 7113.5 | -590 | 7113.5 | 19:30
11:00 | -360 | 5595 | 1478 | 7073 | -570 | 7073 | 20:00
11:30 | -340 | 5584 | 1529 | 7113 | -520 | 7113 | 21:00
12:00 | -320 | 5573 | 1580 | 7153 | -440 | 7153 | 22:00
12:30 | -310 | 5553.5 | 1580 | 7133.5 | -190 | 7133.5 | 23:00
13:00 | -300 | 5534 | 1580 | 7114 | -270 | 7114 | 24:00
13:30 | -310 | 5547 | 1598.5 | 7145.5 |  | 7145.5
14:00 | -320 | 5560 | 1617 | 7177 | 128.92 | 7177
14:30 | -300 | 5536 | 1606.5 | 7142.5 | 86.5 | 7142.5
15:00 | -280 | 5512 | 1596 | 7108 |  | 7108
15:30 | -330 | 5512 | 1572 | 7084 | 7867500 | 7084
16:00 | -380 | 5512 | 1548 | 7060 |  | 7060
16:30 | -370 | 5525 | 1549 | 7074 |  | 7074
17:00 | -360 | 5538 | 1550 | 7088 | 700 | 7088
17:30 | -360 | 5621 | 1586 | 7207 | 1800 | 7207
18:00 | -360 | 5704 | 1622 | 7326 | 100 | 7326
18:30 | -400 | 5719 | 1690 | 7409 | 1400 | 7409
19:00 | -470 | 5992 | 1813 | 7805 | 100 | 8000
19:30 | -590 | 6019 | 1778 | 7797 | 1800 | 8075
20:00 | -570 | 6057 | 1822 | 7879 | 1800 | 8150
20:30 | -545 | 6081 | 1822 | 7903 | 1800 | 8175
21:00 | -520 | 6105 | 1822 | 7927 | 2100 | 8200
21:30 | -480 | 6076.5 | 1798 | 7874.5 | 1900 | 8100
22:00 | -440 | 6048 | 1774 | 7822 | 1900 | 8000
22:30 | -315 | 5984.5 | 1750.5 | 7735 |  | 7824
23:00 | -190 | 5921 | 1727 | 7648 |  | 7648
23:30 | -230 | 5936.5 | 1660.5 | 7597 |  | 7597
24:00 | -270 | 5952 | 1594 | 7546 |  | 7546
*MAX.GEN.(E.P.) |  | 7927 |  | 21:00
*MAX.GEN.(D.P.) |  | 7154 |  | 10:00
|  |  |  | min | max
|  | 3063.9 | 3349 | 8:00 | 1:00
|  | 2664.1 | 3286.1 | 13:00 | 11:00
|  | 2910.2 | 3139.4 | 18:30 | 24:00
|  | 2664.1 | 3349 | 13:00 | 1:00
|  | 282 |  | 4:00
|  | 276 |  | 18:00
|  | 348 |  | 21:00
|  | 348 |  | 21:00
| Deputy Manager |  |  | Manager |  |  | Deputy General Manager
| Load Despatch Division |  |  | Load Despatch Division |  |  | Load Despatch Circle
NATIONAL LOAD DESPATCH CENTER
3595 MW (09:00 )
4008 MW(05:00 )
.4MW (19:30)
7927 MW (21:00)
7154 MW (10:00)

## En.Curve
QF-LDC-12
Date | 2016-05-10 |  | Energy | 171570570 | 1195000
TIME | GAS | HVDC | P.GEN(GAS). | P.GEN(OIL). | COAL | HYDRO | OIL | SHORTAGE | Tripura |  | DAILY ENERGY CURVE |  | 2016-05-10
0:00 | 1232 | 453 | 3115 | 2076 | 87 | 34 | 479 | 0 | 90
0:30 | 1220.5 | 452.5 | 3117.5 | 1966.5 | 86 | 34 | 419 | 0 | 87
1:00 | 1209 | 452 | 3120 | 1857 | 85 | 34 | 359 | 0 | 84
1:30 | 1214 | 452 | 3148.5 | 1788 | 85.5 | 34 | 266.5 | 0 | 83 | [5 empty] | 171.5706
2:00 | 1219 | 452 | 3177 | 1719 | 86 | 34 | 174 | 0 | 82 | [5 empty] | 0.85512
2:30 | 1230 | 452 | 3179 | 1654.5 | 86.5 | 34 | 171.5 | 0 | 81 | [5 empty] | 172.4257
3:00 | 1241 | 452 | 3181 | 1590 | 87 | 34 | 169 | 0 | 80
3:30 | 1212 | 452 | 3205 | 1491 | 88 | 33 | 163.5 | 0 | 74
4:00 | 1183 | 452 | 3229 | 1392 | 89 | 32 | 158 | 0 | 68
4:30 | 1182.5 | 452 | 3188 | 1389 | 88 | 31.5 | 134.5 | 0 | 69
5:00 | 1182 | 452 | 3147 | 1386 | 87 | 31 | 111 | 0 | 70
5:30 | 1164.5 | 452 | 3116.5 | 1196 | 87 | 30.5 | 81.5 | 0 | 68
6:00 | 1147 | 452 | 3086 | 1006 | 87 | 30 | 52 | 0 | 66
6:30 | 1162.5 | 452 | 3014.5 | 980 | 88 | 30 | 47 | 0 | 63
7:00 | 1178 | 452 | 2943 | 954 | 89 | 30 | 42 | 0 | 60
7:30 | 1189 | 452 | 2912 | 1001 | 89 | 31 | 42 | 0 | 61
8:00 | 1200 | 452 | 2881 | 1048 | 89 | 32 | 42 | 0 | 62
8:30 | 1196.5 | 452 | 2911.5 | 1342.5 | 88.5 | 34.5 | 42 | 0 | 62
9:00 | 1193 | 452 | 2942 | 1637 | 88 | 37 | 42 | 0 | 62
9:30 | 1183.5 | 452.5 | 2965.5 | 1795 | 86 | 37.5 | 42 | 0 | 67
10:00 | 1174 | 453 | 2989 | 1953 | 84 | 38 | 42 | 0 | 72
10:30 | 1161 | 453 | 2963 | 1951.5 | 85.5 | 38 | 50.5 | 0 | 73
11:00 | 1148 | 453 | 2937 | 1950 | 87 | 38 | 59 | 0 | 74
11:30 | 1142 | 452.5 | 2927 | 1994 | 87 | 36.5 | 89.5 | 0 | 74
12:00 | 1136 | 452 | 2917 | 2038 | 87 | 35 | 120 | 0 | 74
12:30 | 1117.5 | 452 | 2912 | 2047 | 87 | 35 | 123 | 0 | 75
13:00 | 1099 | 452 | 2907 | 2056 | 87 | 35 | 126 | 0 | 76
13:30 | 1100 | 452 | 2901.5 | 2068.5 | 87 | 48 | 138.5 | 0 | 77
14:00 | 1101 | 452 | 2896 | 2081 | 87 | 61 | 151 | 0 | 78
14:30 | 1097 | 452.5 | 2898.5 | 2049 | 85.5 | 61 | 159.5 | 0 | 77
15:00 | 1093 | 453 | 2901 | 2017 | 84 | 61 | 168 | 0 | 76
15:30 | 1098 | 452.5 | 2881.5 | 2016 | 84.5 | 48 | 152 | 0 | 77
16:00 | 1103 | 452 | 2862 | 2015 | 85 | 35 | 136 | 0 | 78 | Max Temp. in Dhaka |  | 35.7° C
16:30 | 1111.5 | 452 | 2870.5 | 2003 | 87.5 | 26 | 161 | 0 | 75
17:00 | 1120 | 452 | 2879 | 1991 | 90 | 17 | 186 | 0 | 72
17:30 | 1101 | 452.5 | 2919 | 1993 | 89.5 | 23.5 | 270 | 0 | 73
18:00 | 1082 | 453 | 2959 | 1995 | 89 | 30 | 354 | 0 | 74
18:30 | 1067 | 454 | 2957 | 1974 | 88 | 30 | 462 | 0 | 92
19:00 | 1153 | 452 | 2982 | 2194 | 89 | 83 | 474 | 195 | 90
19:30 | 1170 | 452 | 2977 | 2152 | 89 | 81 | 488 | 278 | 92
20:00 | 1170 | 452 | 3006 | 2188 | 89 | 81 | 493 | 271 | 92
20:30 | 1176.5 | 452 | 3018 | 2201.5 | 88.5 | 81.5 | 491.5 | 272 | 92
21:00 | 1183 | 452 | 3030 | 2215 | 88 | 82 | 490 | 273 | 92
21:30 | 1156.5 | 452 | 3037.5 | 2188 | 88 | 81 | 479 | 225.5 | 91
22:00 | 1130 | 452 | 3045 | 2161 | 88 | 80 | 468 | 178 | 90
22:30 | 1133.5 | 452 | 3035.5 | 2102.5 | 88 | 57.5 | 467.5 | 89 | 87
23:00 | 1137 | 452 | 3026 | 2044 | 88 | 35 | 467 | 0 | 84
23:30 | 1137.5 | 452.5 | 3043 | 1989.5 | 88 | 35 | 453 | 0 | 81
24:00 | 1138 | 453 | 3060 | 1935 | 88 | 35 | 439 | 0 | 78
|  | 1490 |  |  |  |  | 2380 | 1781.5
|  | Deputy / Asstt. Manager |  |  | Manager
|  | Load Despatch Division |  |  | Load Despatch Division
NATIONAL LOAD DESPATCH CENTER
Tripura

## volt
MAXIMUM & MINIMUM VOLTAGES OF DIFFERENT GRID SUB-STATIONS.
Date: | 2016-05-10
Sub-Station | Maxm | Hour | Minm | Hour | Sub-Station | Maxm | Hour | Minm | Hour
| Voltage |  | Voltage |  |  | Voltage |  | Voltage
230 KV | KV |  | KV |  | 230 KV | KV |  | KV
Ghorasal | 228 | 4:00 | 220 | 10:00 | Tongi | 215 | 4:00 | 205 | 11:00
Ishurdi | 233 | 15:00 | 226 | 19:30 | Comilla (N) | 224 | 5:00 | 218 | 13:00
Ashuganj | 235 | 6:00 | 230 | 13:00 | Hathazari | 215 | 19:00 | 206 | 10:00
Serajganj | 227 | 24:00 | 218 | 1:00 | Megnaghat | 217 | 5:00 | 210 | 12:00
Baghabari | 224 | 15:00 | 219 | 18:30 | Fenchuganj | 233 | 6:00 | 228 | 17:00
Barapukuria | 234 | 24:00 | 220 | 8:00 | Siddhirganj | 228 | 4:00 | 214 | 12:00
Bogra | 228 | 23:00 | 214 | 19:30 | Maniknagar | 226 | 2:00 | 212 | 11:00
Khulna South | 237 | 15:00 | 227 | 23:00 | Old Airport | 213 | 5:00 | 202 | 13:00
Rampura | 216 | 5:00 | 208 | 12:00 | Barisal | 239 | 15:00 | 229 | 13:00
Haripur | 213 | 3:00 | 210 | 8:00 | AKSML | 214 | 21:00 | 204 | 13:00
Hasnabad | 215 | 4:00 | 205 | 11:00 | BSRM | 217 | 19:00 | 205 | 10:00
Aminbazar | 213 | 3:00 | 203 | 13:00
132 kV | KV |  | KV |  | 132 kV | KV |  | KV
Siddhirganj | 136 | 100 | 130 | 1300 | Madanhat | 132 | 500 | 126 | 1000
Munsiganj | 135 | 100 | 131 | 800 | Hathazari | 130 | 1930 | 125 | 900
Megnaghat | 133 | 100 | 128 | 1300 | Khulshi | 135 | 1900 | 128 | 1000
Shyampur | 131 | 500 | 125 | 1000 | Halishahar | 130 | 700 | 124 | 1000
Bhulta | 125 | 1900 | 120 | 1000 | Baraulia | 129 | 1900 | 123 | 2400
Madanganj | 132 | 1800 | 129 | 800 | Sikalbaha | 130 | 1900 | 125 | 900
Shitalakhya | 137 | 500 | 129 | 1000 | Dohazari | 129 | 1900 | 125 | 2300
Rahim steal | 134 | 100 | 129 | 1200 | Cox'sbazar | 130 | 1900 | 120 | 2300
Matuail | 133 | 500 | 128 | 1400 | Chandraghona | 132 | 1900 | 125 | 1500
Ghorasal | 136 | 100 | 132 | 1800 | Kaptai | 131 | 1930 | 126 | 1200
Narsinghdi | 131 | 300 | 126 | 900 | A. Khaer Stl. | 128 | 2000 | 124 | 900
Haripur (SBU) | 133 | 100 | 129 | 800 | Bakulia | 129 | 1900 | 122 | 1000
Ullon | 134 | 600 | 130 | 1200 | Julda | 130 | 1900 | 124 | 2300
Hasnabad | 132 | 600 | 124 | 1200 | TK Chemical | 133 | 1900 | 126 | 1000
Magbazar | 128 | 600 | 120 | 1200 | Modern Steel | 129 | 2100 | 123 | 1000
Maniknagar | 133 | 600 | 128 | 1200 | Shahmirpur | 129 | 1900 | 124 | 900
Bangabhaban | 133 | 600 | 128 | 1200 | Goalpara | 138 | 1500 | 132 | 2300
Narinda | 133 | 600 | 128 | 1200 | Central s/s | 138 | 1500 | 133 | 1700
Dhanmondi | 134 | 600 | 130 | 1200 | Noapara | 135 | 600 | 129 | 2300
Lalbag | 126 | 600 | 118 | 1200 | Jessore | 128 | 900 | 122 | 1200
Madartek | 127 | 600 | 120 | 1200 | Jhenida | 129 | 900 | 119 | 2300
Mirpur | 127 | 300 | 120 | 1300 | Bottail | 135 | 1500 | 130 | 800
Kalyanpur | 131 | 600 | 126 | 1500 | G.K.Project | 135 | 1400 | 130 | 200
Gulshan | 127 | 500 | 119 | 1200 | Faridpur | 131 | 100 | 122 | 1700
Uttara | 127 | 500 | 119 | 1200 | Madaripur | 131 | 300 | 122 | 1700
Kamrangirchar | 124 | 100 | 120 | 1300 | Gopalganj | 138 | 300 | 122 | 1700
Savar | 130 | 600 | 123 | 1300 | Bagerhat | 135 | 900 | 131 | 700
Bhasantec | 128 | 500 | 123 | 1300 | Mongla | 132 | 600 | 129 | 200
Agargaon | 129 | 400 | 124 | 1300 | Satkhira | 136 | 1500 | 129 | 1830
Satmosjid | 128 | 500 | 123 | 1400 | Gallamari | 137 | 500 | 131 | 700
Tongi | 136 | 700 | 129 | 1100 | Magura | 127 | 600 | 120 | 1200
Kabirpur | 134 | 1900 | 125 | 1800 | Chuadanga | 129 | 1500 | 120 | 100
Basundhara | 129 | 800 | 120 | 1100 | Barisal | 138 | 1000 | 133 | 800
Manikganj | 135 | 600 | 126 | 2400 | Patuakhali | 135 | 400 | 130 | 100
Joydevpur | 135 | 1900 | 126 | 1000 | Bhandaria | 136 | 1500 | 125 | 1900
New Tongi | 134 | 500 | 125 | 1800 | Ishurdi | 135 | 1500 | 130 | 300
Tangail | 130 | 600 | 116 | 1800 | Natore | 134 | 1000 | 128 | 800
Mymensing | 124 | 500 | 115 | 2200 | Bogra | 132 | 600 | 125 | 1930
Kishorganj | 130 | 400 | 123 | 1930 | Noagaon | 120 | 600 | 132 | 1900
Netrokona | 123 | 300 | 116 | 2200 | Rajshahi | 136 | 1800 | 127 | 500
Jamalpur | 120 | 600 | 110 | 2200 | C.Nawabganj | 134 | 1800 | 132 | 800
Sherpur | 120 | 600 | 107 | 2200 | Amnura | 137 | 1000 | 130 | 1900
Srimongal | 141 | 500 | 137 | 1300 | Pabna | 130 | 1500 | 125 | 1930
Shahjibazar | 140 | 600 | 136 | 100 | Shahjadpur | 136 | 1400 | 132 | 1930
Fenchuganj | 139 | 500 | 136 | 2300 | Serajganj | 132 | 1500 | 128 | 800
Khulawara | 139 | 600 | 135 | 2300 | Niyamatpur | 129 | 1400 | 121 | 100
Sylhet | 137 | 600 | 133 | 2300 | Joypurhat | 132 | 1500 | 123 | 1930
Chatak | 136 | 300 | 133 | 2300 | Rangpur | 124 | 500 | 117 | 1900
Comilla(s) | 134 | 500 | 126 | 1900 | Lalmonirhat | 122 | 500 | 114 | 2000
Comilla(n) | 132 | 1200 | 131 | 1900 | Saidpur | 125 | 600 | 114 | 1900
Chandpur | 128 | 700 | 121 | 2300 | Purbasadipur | 127 | 400 | 120 | 800
Feni | 120 | 700 | 114 | 2300 | Thakurgaon | 126 | 2100 | 116 | 1900
Chowmuhani | 125 | 700 | 118 | 2300 | Palashbari | 127 | 600 | 120 | 100
Ashuganj | 140 | 600 | 135 | 100 | Barapukuria | 132 | 400 | 120 | 800
Daudkandi | 133 | 2200 | 128 | 1200 | Panchagar | 126 | 2100 | 112 | 1800
B.Baria | 138 | 500 | 133 | 2300
Page 7 of 7